- Section 1:

NPRR695 – Posting and Notice Requirements for Notifications of Suspension of Operations and Notifications of Change of Generation Resource Designation

This Nodal Protocol Revision Request (NPRR) requires ERCOT to post all Notifications of Suspension of Operations (except those for units on Forced Outage) and all Notifications of Change of Generation Resource Designation to the MIS Secure Area and to issue a Market Notice within five Business Days of receipt; clarifies that retirements of Generation Resources are subject to the modeling timelines in Section 3.10.1, Time Line for Network Operations Model Changes; proposes revisions to address the Protected Information status of information concerning Mothballed Generation Resources; and clarifies the definitions of Decommissioned Generation Resource and Mothballed Generation Resource.

Revised Subsection:	1.3.1.1

NPRR703 – Clarification of Disclosure Requirements for GINR Study Information

This Nodal Protocol Revision Request (NPRR) clarifies ERCOT’s disclosure obligations concerning Full Interconnection Study (FIS) studies, allowing disclosure of all FIS studies except stability studies and sub-synchronous oscillation studies via the MIS Public Area.

Revised Subsections:	1.3.1.1, 1.3.1.2, and 1.3.3 [effective upon system implementation of Planning Guide Revision Request (PGRR) 044, MIS Classification of GINR Study Information]

- Section 2:

NPRR695 – Posting and Notice Requirements for Notifications of Suspension of Operations and Notifications of Change of Generation Resource Designation

See Section 1 above.

Revised Subsection:	2.1

NPRR700 – Utilizing Actual Fuel Costs in Startup Offer Caps

This Nodal Protocol Revision Request (NPRR) incorporates actual fuel costs into the DAM and RUC procurement process and DAM Make-Whole Payment calculation.

Revised Subsection:	2.1 [effective upon system implementation]

NPRR701 – As-Built Clarification of NPRR589, Ancillary Service Offers in the Supplemental Ancillary Services Market

This Nodal Protocol Revision Request (NPRR) adds additional billing determinants to clarify the Settlement calculations and to show distinction between the subscript (m), which denotes a Supplemental Ancillary Services Market (SASM) and subscript (rs) used to describe a Reconfiguration SASM (RSASM).

Revised Subsection:	2.2

NPRR703 – Clarification of Disclosure Requirements for GINR Study Information

See Section 1 above.

Revised Subsections:	2.1 and 2.2 [effective upon system implementation of Planning Guide Revision Request (PGRR) 044, MIS Classification of GINR Study Information]

NPRR706 – Restore the ability to use Physical Responsive Reserve Capability as an Indicator of Available Frequency-Responsive Capacity

This Nodal Protocol Revision Request (NPRR) revises the calculation of Physical Responsive Capability (PRC) to more accurately indicate the amount of capacity that is available to respond to a frequency disturbance, as discussed during the Energy Emergency Alert (EEA) Workshop.

Revised Subsection:	2.1 [effective upon system implementation]

NPRR710 – Removal of ORDC Phase 2 Language and Modification to HASL Calculation

This Nodal Protocol Revision Request (NPRR) removes Operating Reserve Demand Curve (ORDC) Phase 2; changes the High Ancillary Service Limit (HASL) calculation to remove Non-Frequency Responsive Capacity (NFRC) included in a Generation Resource’s High Sustained Limit (HSL), thereby creating the opportunity for an ORDC payment for the NFRC capacity through Ancillary Service imbalance Settlement; and clarifies the HASL definition between use in the Resource limit calculator, RUC optimization, and the capacity shortfall ratio share.

Revised Subsection:	2.1 [effective upon system implementation]

- Section 3:

NPRR693 – Incorporation of “Threshold Values for Competitive Constraint Test” into the Protocols

This Nodal Protocol Revision Request (NPRR) incorporates the OBD “Threshold Values for Competitive Constraint Test” into the Protocols.

Revised Subsection:	3.19.1 [effective upon system implementation]

NPRR695 – Posting and Notice Requirements for Notifications of Suspension of Operations and Notifications of Change of Generation Resource Designation

See Section 1 above.

Revised Subsection:	3.14.1.9

NPRR710 – Removal of ORDC Phase 2 Language and Modification to HASL Calculation

See Section 2 above.

Revised Subsection:	3.9

- Section 4:

NPRR692 – Removal of MIS Posting Requirement of DAM Credit Parameters

This Nodal Protocol Revision Request (NPRR) removes the posting requirement for Day-Ahead Market (DAM) Credit Parameters to the Market Information System (MIS) Public Area.

Revised Subsection:	4.4.10 [effective upon system implementation]

NPRR699 – Energy Offer Curve Caps for Make-Whole Calculations for Resource Type Other

This Nodal Protocol Revision Request (NPRR) sets the Energy Offer Curve Caps for make-whole calculations for “Other” Resources to the System-Wide Offer Cap (SWCAP), and creates Energy Offer Curve Caps for make-whole calculations for Wind Generation Resources and Photovoltaic Generation Resources (PVGRs) set at $0.00/MWh.

Revised Subsection:	4.4.9.3.3 [effective upon system implementation]

NPRR700 – Utilizing Actual Fuel Costs in Startup Offer Caps

See Section 2 above.

Revised Subsection:	4.4.9.2 [effective upon system implementation]

- Section 5:

NPRR684 – Annual RUC Impact Report Requirements

This Nodal Protocol Revision Request (NPRR) clarifies the requirement for ERCOT to report to the Technical Advisory Committee (TAC) every January on the market impacts of Reliability Unit Commitment (RUC).

Revised Subsection:	5.8 (new)

NPRR700 – Utilizing Actual Fuel Costs in Startup Offer Caps

See Section 2 above.

Revised Subsections:	5.7.1.1 and 5.7.3 [effective upon system implementation]

- Section 6:

NPRR684 – Annual RUC Impact Report Requirements

See Section 5 above.

Revised Subsection:	6.4.4.1

NPRR694 – Non-Spin Schedule Requirements

This Nodal Protocol Revision Request (NPRR) defines the Real- Time Inter-Control Center Communications Protocol (ICCP) scheduling requirements for Off-Line Non-Spinning Reserve (Non-Spin), On-Line Non-Spin, and On-Line Non-Spin using Off-Line power augmentation technology.

Revised Subsection:	6.5.5.2

NPRR701 – As-Built Clarification of NPRR589, Ancillary Service Offers in the Supplemental Ancillary Services Market

See Section 2 above.

Revised Subsections:	6.4.9.2, 6.7.1, 6.7.2, and 6.7.3

NPRR706 – Restore the ability to use Physical Responsive Reserve Capability as an Indicator of Available Frequency-Responsive Capacity

See Section 2 above.

Revised Subsection:	6.5.7.5 [effective upon system implementation]

NPRR710 – Removal of ORDC Phase 2 Language and Modification to HASL Calculation

See Section 2 above.

Revised Subsections:	6.5.5.2, 6.5.7.2, and 6.7.4 [effective upon system implementation, with the exception of the removal of NPRR568 grey-boxes, which is effective September 1, 2015]

- Section 8:

NPRR710 – Removal of ORDC Phase 2 Language and Modification to HASL Calculation

See Section 2 above.

Revised Subsections:	8.1.1, 8.1.1.1, 8.1.1.2, 8.1.1.2.1, 8.1.1.2.1.6 (deleted), 8.1.1.2.1.7 (deleted), 8.1.1.4.4 (deleted), and 8.1.1.4.5 (deleted)

- Administrative Changes:

- Non-substantive administrative changes were made such as spelling corrections, formatting, and correcting Section numbering and references.

- Revised Subsections:	3.2.6.2.2, 3.9.2, 3.14.1, 3.14.2, 3.15.3, 6.5.1.1, 7.4.1.2, 8.1, 8.1.1.4.1, 8.1.1.4.2, 8.5.1.1, 22 Attachment H