## Slide 1
High Impact Transmission Elements (HITEs)
Alex Lee
OCITF
ERCOT Public
December 1, 2015

## Slide 2: Proposed Development of HITE List
Leverage existing analyses of outage impacts to minimize budget impact of NPRR
Include outages that have been attributed as causing significant congestion in the past
  Based on analyses produced for the ROS report
Add outages that might have caused significant congestion under different conditions
  Based on previous outage coordination studies
Vet resulting list with stakeholders to identify any outages that should be excluded due to upgrades or other changes
Approval by appropriate subcommittee of TAC

## Slide 3: Historic Congestion due to Outages – By Occurrences
Identifies transmission constraints that are active or binding three or more times within a calendar month.
  Attributes these constraints to outages if appropriate
From Nov 2014 to Oct 2015:
  245 constraints are attributed to 107 outages (some are duplicate).
  For constraints with over $1 million congestion rent, outages on 43 distinct transmission elements are identified.
Type | 69 kV | 138 kV | 345 kV | Total
BUS |  | 2 | 2 | 4
CB |  | 2 | 1 | 3
LN | 2 | 23 | 8 | 33
XF |  | 2 | 1 | 3
Total | 2 | 29 | 12 | 43

## Slide 4: Historic Congestion due to Outages – By Area
Links Real-Time Congestion to related outage(s).
  Analyzes top three or four congestion per Load Zone.
  Criteria: Over $1 million Congestion Rent.
From Nov 2014 to Oct 2015:
  76 constraints are linked to 59 outages (some are duplicate).
  For constraints with over $1 million congestion rent, outages on 46 distinct transmission elements are identified.
Type | 69 kV | 138 kV | 345 kV | Total
BUS |  | 4 | 2 | 6
CB |  | 1 | 1 | 2
LN | 2 | 28 | 5 | 35
XF |  | 2 | 1 | 3
Total | 2 | 35 | 9 | 46

## Slide 5: Outages Potentially Causing Congestion from Historic OC Studies
When ERCOT outage coordination studies indicate that a significant amount of resources must be re-dispatched to accommodate a requested outage, ERCOT sends the requestor a Market Impact Questionnaire.
These Questionnaires provide an indication of outages that might cause significant congestion
  Although these outages may not ultimately result in congestion if they are moved in time or if conditions are different than studied
From Jan 2014 – Dec 2014:
  Market Impact Questionnaire was sent out for 57 distinct transmission elements.
Type | 69 kV | 138 kV | 345 kV | Total
BUS | 1 | 10 | 3 | 14
LN | 1 | 19 | 15 | 35
XF |  |  | 8 | 8
Total | 2 | 29 | 26 | 57

## Slide 6: HITEs Summary
Type | 69 kV | 138 kV | 345 kV | Total
BUS | 1 | 14 | 5 | 20
CB |  | 2 | 1 | 3
LN | 3 | 53 | 22 | 78
XF |  | 2 | 9 | 11
Total | 4 | 71 | 37 | 112
TDSP | # HITEs
AEN | 8
AEN/LCRA | 1
AEP | 22
AEP/Sharyland | 1
AEP/STEC | 1
Brazos | 1
CNP | 9
CNP/TNMP | 1
CPS | 3
LCRA | 7
ONCOR | 45
ONCOR/Brazos | 1
STEC | 4
TMPA | 1
TNMP | 6
WETT | 1
Total | 112
From OC Studies
By Area
1
27
3
12
51
2
16
No related Transmission outage OR Congestion Rent < $1 mil
No related Transmission outage
By Occurrences

## Slide 7: HITEs (Page 1)
HITE | Type | kV | TDSP | Source |  | HITE | Type | kV | TDSP | Source
Hamilton AEN HM_950 | CB | 138 | AEN | R,C |  | Whitney Bus | BUS | 138 | Brazos | M
AEN Dunlap - Decker | LN | 138 | AEN | C |  | Chambers - King | LN | 345 | CNP | M
AEN Dunlap - Techridge | LN | 138 | AEN | C,M |  | Kings - Kuykendahl | LN | 345 | CNP | M
Austrop - Daffin | LN | 138 | AEN | R,M |  | Kuykendahl - Roans Prairie | LN | 345 | CNP | M
DCKT Dessau - Sprinkle | LN | 138 | AEN | C |  | Kuykendahl - Tomball | LN | 345 | CNP | M
Decker - McNeil AEN | LN | 138 | AEN | R,C |  | Exxon - Lynch | LN | 138 | CNP | M
Decker - Sprinkle | LN | 138 | AEN | M |  | Fort Bend - … - Orchard | LN | 138 | CNP | M
Kingsbery - Ed Bluestein | LN | 138 | AEN | R,C |  | Fort Bend - Reading | LN | 138 | CNP | R
McNeil AEN - McNeil LCRA | LN | 138 | AEN/LCRA | R |  | Ph Robinson Auto #1 | XF | 345 | CNP | M
Rio Hondo Bus | BUS | 345 | AEP | C |  | Ph Robinson Auto #2 | XF | 345 | CNP | M
Lane City Bus | BUS | 138 | AEP | M |  | West Columbia - West Columbia Main Tnp | LN | 138 | CNP/TNMP | M
North Edinburg Bus | BUS | 138 | AEP | C |  | Ballpark - … - Olmos | LN | 138 | CPS | R,C
Rio Hondo Bus | BUS | 138 | AEP | M |  | Cibolocr - ... - Green_Mt | LN | 138 | CPS | R
San Diego Bus | BUS | 69 | AEP | M |  | Laredo 1 - Five Pts | LN | 138 | CPS | R,C
Ajo - Rio Hondo | LN | 345 | AEP | M |  | Schulenburg Bus | BUS | 138 | LCRA | M
La Palma - Rio Hondo | LN | 345 | AEP | R,C,M |  | Fayette Plant 1 - Fayetteville | LN | 345 | LCRA | R,C
Lon Hill - North Edinburg | LN | 345 | AEP | M |  | Hays Energy - Kendall | LN | 345 | LCRA | M
Lon Hill - Pawnne Sw | LN | 345 | AEP | M |  | Benedum - Upton | LN | 138 | LCRA | M
Azteca - SE Edinburg | LN | 138 | AEP | R,C |  | Boerne - Welfare | LN | 138 | LCRA | M
Bates - … - Garza | LN | 138 | AEP | M |  | Gilleland - McNeil LCRA | LN | 138 | LCRA | C,M
La Palma - Laureles | LN | 138 | AEP | C |  | Bevo Auto #1 | XF | 138 | LCRA | R,C
Laureles - Port Isabel | LN | 138 | AEP | R |  | Carrollton NW - Lewisville Sw | LN | 345 | ONCOR/Brazos | R
Polk Ave - North Pharr | LN | 138 | AEP | R,C |  | Choate - Four Corners | LN | 138 | STEC | M
Rio Bravo - … - Wormser Rd | LN | 138 | AEP | R,C |  | Choate - Pawnee Sw | LN | 138 | STEC | M
San Angelo Power - … - San Angelo Concho | LN | 138 | AEP | R,C |  | East Rio Hondo - ... - Central Ave | LN | 138 | STEC | R,C
Spur - Aspermont | LN | 138 | AEP | C |  | George West - George West Sw | LN | 138 | STEC | M
Lon Hill - Smith | LN | 69 | AEP | R,C |  | North Denton - Denton Arco | LN | 138 | TMPA | R,C
Sinton - … - Beeville | LN | 69 | AEP | R,C |  | Brazoria Bus | BUS | 138 | TNMP | M
North Edinburg Auto #1 | XF | 345 | AEP | M |  | West Columbia Main Tnp Bus | BUS | 138 | TNMP | M
North Edinburg Auto #2 | XF | 345 | AEP | M |  | Brazoria Tnp - Clemons Tap Tnp | LN | 138 | TNMP | M
San Angelo Concho Auto | XF | 138 | AEP | R,C |  | Commanche Switch Tnp - Tejas Tnp | LN | 138 | TNMP | R,C
Taylor Sharyland - Sharyland | LN | 138 | AEP/Sharyland | C |  | Dickinson - Freeway Park | LN | 138 | TNMP | R,C
Victoria - Loop 463 Sub | LN | 138 | AEP/STEC | M |  | West Tnp - Ti Tnp | LN | 138 | TNMP | R
 |  |  |  |  |  | Wett Faraday Bus | BUS | 345 | WETT | C
Sources: R = By Occurrences
C = By Area
M = Historic OC Studies

## Slide 8: HITEs (Page 2)
HITE | Type | kV | TDSP | Source |  | HITE | Type | kV | TDSP | Source
Carrollton Northwest Bus | BUS | 345 | ONCOR | R,M |  | Calmont Sw - Western Hills | LN | 138 | ONCOR | C
Forney Sw Bus | BUS | 345 | ONCOR | R,M |  | Cedar Hill Sw - Mountain Creek | LN | 138 | ONCOR | R,C
Martin Lake Bus | BUS | 345 | ONCOR | M |  | Colony - Austin Ranch | LN | 138 | ONCOR | C
Allen Sw Bus | BUS | 138 | ONCOR | M |  | Eagle Mountain - … - Calmont Sw | LN | 138 | ONCOR | R
Andrew North Bus | BUS | 138 | ONCOR | C |  | East Levee Sw - West Netowrk | LN | 138 | ONCOR | R,C
Kirkland Park Bus | BUS | 138 | ONCOR | M |  | Jim Payne - Lamesa | LN | 138 | ONCOR | C
Lake Creek Bus | BUS | 138 | ONCOR | R,C |  | Key Sub - Lamesa | LN | 138 | ONCOR | M
Moss Sw Bus | BUS | 138 | ONCOR | R,C |  | Lufkin - Nacogdoches South Tap | LN | 138 | ONCOR | M
Odess Ehv Sw Bus | BUS | 138 | ONCOR | M |  | Morgan Creek - Cosden | LN | 138 | ONCOR | R,C
Stryker Creek Bus | BUS | 138 | ONCOR | M |  | Morgan Creek - Sun Sw | LN | 138 | ONCOR | C
Norwood Sw CB 325 | CB | 345 | ONCOR | R,C |  | Moss Sw - Odessa Southwest | LN | 138 | ONCOR | M
Andrew North CB 12365 | CB | 138 | ONCOR | R |  | Odessa - Odessa North | LN | 138 | ONCOR | M
Allen Sw - Monticello | LN | 345 | ONCOR | M |  | Permian Basin - Wink Sub | LN | 138 | ONCOR | R
Lufkin Sw - Stryker Creek | LN | 345 | ONCOR | R,C |  | Sansom - Eagle Mountain | LN | 138 | ONCOR | C
Midland East - Moss Sw | LN | 345 | ONCOR | M |  | Snyder - Sacroc | LN | 138 | ONCOR | C
Midland East - Odessa Ehv Sw | LN | 345 | ONCOR | M |  | Wink Sub - Wink Gulf Tap | LN | 138 | ONCOR | R
Monticello - Paris Sw | LN | 345 | ONCOR | M |  | Odessa Basin Sw - Odessa North | LN | 69 | ONCOR | M
Morgan Creek Auto #4 | LN | 345 | ONCOR | M |  | Carrollton Northwest Auto #1 | XF | 345 | ONCOR | M
Moss Sw - Odessa Ehv Sw | LN | 345 | ONCOR | M |  | Everman Sw Auto #3 | XF | 345 | ONCOR | M
Stryker Creek - Watermill Sw | LN | 345 | ONCOR | M |  | Lufkin Sw Auto #1 | XF | 345 | ONCOR | C
Temple Sw - Bell County East Sw | LN | 345 | ONCOR | R |  | Odessa Ehv Sw Auto #3 | XF | 345 | ONCOR | M
Watermill Sw - Sargent Road | LN | 345 | ONCOR | R,C |  | Royse Sw Auto #1 | XF | 345 | ONCOR | R
Watermill Sw - West Levee Sw | LN | 345 | ONCOR | R,C |  |  |  |  |  | 
Sources: R = By Occurrences
C = By Area
M = Historic OC Studies

## Slide 9: Discussion Points
Outages for Bus or open-ended-line.
Congestion related to multiple outages.
HITEs verification/expiration.