DWG Report to ROS, December 3, 2015

- 2015 revisions and updates to DWG Procedure Manual

  - Migration from PSS/E V32 to PSS/E V33.

  - Clarification on permissible DWG meeting attendees: TSP employees, ERCOT staff, and TRE staff are DWG members.  A Designated Agent(s) of a TSP may participate in DWG meetings on behalf of that TSP.

  - Clarification on DWG email exploder list: TSP employees, ERCOT staff, TRE staff, and Designated Agents of TSPs.  A Designated Agent(s) representing a TSP may be included on the exploder list at the discretion of the sponsoring TSP only if a non-disclosure agreement is in place between the represented TSP and the Agent, and between ERCOT and the Agent.

  - Clarification on confidentiality of DWG dynamic data and cases.  Non-disclosure agreement is required between the TSP and the recipient of DWG data or study cases who is not a TSP employee, ERCOT staff, or TRE staff.  The DWG data and study cases may be used only for the TSP’s own studies.

  - Removed “gray box” section of manual following associated ERCOT Planning Guide (Section 4) revisions last year.  Other supplementary material on certain TPL-001-4 fill-in-the-blank requirements (identification of voltage instability, cascading, uncontrolled islanding, and generator protection) retained.

- Flatstart dynamics base cases completed in 2015

FY2021 long-term planning horizon (summer peak load condition) completed on 3-31-2015.

NT2017 near-term planning horizon (summer peak load condition) completed on 6-05-2015.

HWLL2018 near-term planning horizon (high wind, low load) completed on 9-04-2015.

- 2016 DWG Chair and Vice Chair

Chair: Juan Santos, GPL

Vice Chair: Jason Hulbert, CNP

End of Report