| NPRR Number | 739 | NPRR Title | Prohibiting Load Resources in Participating as Dynamically Scheduled Resources |
| --- | --- | --- | --- |
| Date Posted |  | October 21, 2015 |  |
| Requested Resolution |  | Normal |  |
| Nodal Protocol Sections Requiring Revision |  | 3.6.1, Load Resource Participation |  |
| Related Documents Requiring Revision/Related Revision Requests |  | None |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) closes a gap in the Protocols to prohibit participation by sites associated with Dynamically Scheduled Resources (DSRs) as a Load Resource. This language is similar to that approved for Emergency Response Service (ERS) Resources in NPRR564, Thirty-Minute Emergency Response Service (ERS) and Other ERS Revisions. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | If a Load Resource were to contain any DSRs, the Load drop attributable to the DSR will be matched with a corresponding reduction in the generation serving the DSR thereby nullifying any system benefit of the Load drop. By ensuring that DSRs are not included in Load Resources, including Aggregate Load Resources (ALRs), as proposed by this NPRR, this potential problem is averted. Very limited, if any, due to the lack of DSRs. Potential positive impact to ERCOT System reliability by ensuring DSRs do not participate as Load Resources. |  |

| Sponsor |  |
| --- | --- |
| Name | Tim Carter |
| E-mail Address | tim.carter@mp2energy.com |
| Company | MP2 Energy LLC |
| Phone Number | 832-510-1061 |
| Cell Number |  |
| Market Segment | Independent Retail Electric Provider (IREP) |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Brian Manning |
| E-Mail Address | Brian.manning@ercot.com |
| Phone Number | 512-248-3937 |

Proposed Protocol Language Revision

- 3.6.1	Load Resource Participation

(1)	A Load Resource may participate by providing:

(a)	Ancillary Service:

(i)	Regulation Up (Reg-Up) Service as a Controllable Load Resource capable of providing Primary Frequency Response;

(ii)	Regulation Down (Reg-Down) Service as a Controllable Load Resource capable of providing Primary Frequency Response;

(iii)	Responsive Reserve (RRS) Service as a Controllable Load Resource qualified for Security-Constrained Economic Dispatch (SCED) Dispatch and capable of providing Primary Frequency Response, or as a Load Resource controlled by high-set under-frequency relay; and

(iv)	Non-Spinning Reserve (Non-Spin) Service as a Controllable Load Resource qualified for SCED Dispatch;

(b)	Energy in the form of Demand response from a Controllable Load Resource in Real-Time via SCED;

(c)	Emergency Response Service (ERS) for hours in which the Load Resource does not have an Ancillary Service Resource Responsibility; and

(d)	Voluntary Load response in Real-Time.

(2)	Except for voluntary Load response and ERS, loads participating in any ERCOT market must be registered as a Load Resource and are subject to qualification testing administered by ERCOT.

(3)	All ERCOT Settlements resulting from Load Resource participation are made only with the Qualified Scheduling Entity (QSE) representing the Load Resource.

(4)	A QSE representing a Load Resource and submitting a bid to buy for participation in SCED, as described in Section 6.4.3.1, Real-Time Market (RTM) Energy Bids, must represent the Load Serving Entity (LSE) serving the Load of the Load Resource.  If the Load Resource is an Aggregate Load Resource (ALR), the QSE must represent the LSE serving the Load of all sites within the ALR.

(5)	The Settlement Point for a Controllable Load Resource with an RTM Energy Bid is its Load Zone Settlement Point.

(6)	Sites associated with a Dynamically Scheduled Resource (DSR) may not participate as a Load Resource.  Offers for Load Resources containing sites associated with a DSR will be rejected by ERCOT.  If ERCOT determines that any participating site in an ALR is associated with a DSR, that site will be treated as removed from the ALR on the date the determination was made.  A Load Resource’s obligation will not change as a result of any such site removal.