## Slide 1: DSWG Update to WMS
12/2/2015

## Slide 2: NPRR738 ERS Performance Calculations During TDSP Outages
A utility outage can prevent ERS Generators from exporting to the grid causing compliance failure
Intent of NPRR was to not punish Resources for events beyond their control
As written, would not reduce payment to the Resource, inconsistent with how other Resources are handled in similar situations
Suggest remand to DSWG to allow payment reduction but avoid possible PUCT Notice of Violation

## Slide 3: NPRR739 Prohibiting Load Resources Associated with a Dynamically Scheduled Resource
Demand response associated with a DSR would not be value to grid as generators would automatically reduce output to compensate
Prohibition of ERS Resources participating in DSRs is already in Protocols; this NPRR gives consistent treatment to LRs
DSWG reached consensus support
Recommendation is for WMS support

## Slide 4: ERS Update
New Time Periods Go in Effect
New Risk Weighting Factors
Results in Different Costs per Period

## Slide 5: NPRR745 Change ERS Availability from an Hourly to 15-minute Interval Evaluation plus Other Minor Changes
Change ERS availability from an hourly to 15 minute evaluation. This will result in a more accurate evaluation of a resource’s availability
Change deadlines from 5 business days to 3 calendar days for the following:
  planned maintenance and self-test schedules for ERS Generators
  notice of unavailability
Change testing requirement from 365 days to 330 days – this will provide ERCOT some flexibility in scheduling tests