## Slide 1: RMS/COPS Workshop VI: NPRR 711- IDR Meter Protocol Requirement Threshold Update to RMS
Tuesday, October 6, 2015 (following RMS)
http://www.ercot.com/calendar/2015/10/6/75334-COPS-RMS-WORKSHOPS

## Slide 2: NPRR711 Background
NPRR711, Increase the Interval Data Recorder Meter Mandatory Install Requirement from 700 kW/kVA to 1.5 MW/MVA (Vote)
  Workshops:
      October 20, 2014: RMS/COPS IDR Required Workshop I
      December 2, 2014: RMS/COPS IDR Required Workshop II
      January 30, 2015: RMS/COPS IDR Required Workshop III
      February 24, 2015: RMS/COPS IDR Required Workshop IV
      May 5, 2015: RMS/COPS IDR Required Workshop V
    06/02/15 RMS : RMS unanimously directed Workshop leadership to submit “Draft” NPRR to PRS Revision Request Listserv for number assignment and 21 day comment period.
    07/16/15 COPS: COPS voted to endorse NPRR 711. The COPS collaborated with RMS during the IDR Meter Protocol Requirements Threshold Workshops. COPS supports the increase of the Interval Data Recorder (IDR) Meter Mandatory Install Requirement from 700 kW/kVA to 1.5 MW/MVA implemented by NPRR711.
    08/04/15 RMS: RMS unanimously voted to endorse NPRR711as submitted. Additionally, RMS recommended that RMS and COPS should continue to work on meter data flow issues in order to use the most appropriate technology as possible. For example, RMS desires that 15-minute data be in the same data flow regardless of the origination of the data.
    09/10/15 PRS: Following three months of discussions, comments and PRS voting to continue ‘Tabling “ NPRR711 to resolve MPs’ concerns, therefore, RMS leadership agreed that another “NPRR 711 RMS-COPS IDR Workshop” was necessary and should be scheduled as soon as possible.

## Slide 3: 10.06.15 IDR Workshop VI
IDR Meter Required Workshop VI held on 10/6/15 :
  53 MPs were in attendance either at the Met Center or via the Web Conference, the attendance included:
    CRs, TDSPs, PUCT and ERCOT Staff Members along with 3rd Parties.
The Workshop attendees mainly discussed:
  TDSP’s Processes and Prior Workshop Responses to:
    Applying 4CP, whether assignment is based upon Load Profile Assignment, Premise Loads or if Customer Requested.
    Can Customer’s Request an IDR Meter Installation?
    Grandfathering existing IDR Required Population
    TIEC and Pioneer “NPRR 711” Formal Comments

## Slide 4: 10.06.15 IDR Workshop VI
Based upon Workshop VI’s Market discussions,
  Market Conclusion: The market needs additional time and recommends that PRS continue to “Table NPRR711” to determine if there are viable options available that allows:
    TDSPs to continue to apply 4CP Rate/Invoicing based upon a “BUSIDRRQ” Load Profile for ESIIDs with a threshold of 700 kW/kVa or higher; and
    TDSPs’ flexibility to leave AMS Meter on site without ERCOT requiring an 867_03 TX SET EDI transaction for RTM Settlements; and
    ERCOT to receive AMS Meter data for BUSIDRRQ Profiles based upon daily usage received from the TDSPs via the ERCOT Specified file format. Permitting the AMS usage data to be available for initial settlements; and
    Customers to continue to receive their daily AMS Usage Data on Smart Meter Texas; and
    Competitive Retailers’ consistency across all TDSP’s Service Territory in the application of any Protocol revisions or process changes.

## Slide 5: 10.06.15 IDR Workshop VI
Workshop VI Action Items:
  K. Scott and ERCOT: Investigate to determine if there are additional options other than only changing threshold limit, if yes, provide those options to the Market through another RMS-COPS IDR Meter Required Threshold Workshop
  K. Scott: Schedule IDR Meter Required Threshold Workshop VII (Maybe Lucky 7)
      Note:
        Date “To Be Determined” may be around the 1st Quarter of 2016 due to the number of Market meetings already scheduled along with Thanksgiving, Christmas and New Years’ holidays attendance would be a concern.

## Slide 6: Questions?