Sample Test Script for ERS-10 and ERS-30 Test Portfolio

Deployment

This is Thelma Garza with ERCOT System Operations.

Can you please state your full name __________________?

Today we are conducting an actual load interruption test on the {QSE Name} ERS Test Portfolio which contains both 10 and 30 ERS Resources.

Do you understand that this is a test deployment and not a system wide event deployment of ERS?

Are you familiar with the Resources in the ERS Test Portfolio?

(Start of instruction)

At _______________ ERCOT is issuing a deployment instruction to {QSE Name} for you to deploy the ERS Test Portfolio. (End of instruction)

Please repeat the instruction.  (Operator only needs to repeat the portion between start and stop of instruction)

Your resources have 10 or 30 minutes to respond to this instruction based on the program they are being tested for and must continue complying with the instruction until recalled by ERCOT.

Do you have any questions?

Recall

First Call

(Start of instruction)

At ______________ ERCOT is issuing an instruction to recall the {QSE Name} ERS-10 Resources.  ERS-30 resources should remain deployed until recalled. (End of instruction)

Please repeat the instruction.

Second Call

(Start of instruction)

At ______________ ERCOT is issuing an instruction to recall the {QSE Name} ERS-30 Resources.  (End of instruction)

Please repeat the instruction.

You are now cleared to restore the Load associated with this ERS Test Portfolio.

Do you have any questions?