| NPRR Number | XXX | NPRR Title | Updates to Nodal Protocol Section 18, Load Profiling, to Align with Current Market Processes |
| --- | --- | --- | --- |
| Date Posted |  |  |  |
| Requested Resolution |  | Normal |  |
| Nodal Protocol Sections Requiring Revision |  | 18.1, Overview 18.2, Methodology 18.2.1, Guidelines for Development of Load Profiles 18.2.4, Generic Load Profiles for Interval Data Recorders 18.2.5, Identification of Weather Zones and Load Profile Types 18.2.7, Maintenance of Samples and Load Profile Models 18.2.7.1, Sample Maintenance (delete) 18.2.7.2, Model Maintenance (delete) 18.2.8, Adjustments and Changes to Load Profile Development 18.2.9, Special Requirement for Profiling Sample Points (delete) 18.2.10, Responsibilities for Sampling in Support of Load Profiling 18.2.10.1, ERCOT Sampling Responsibilities 18.2.10.2, Transmission Service Provider and/or Distribution Service Provider Sampling Responsibilities (delete) 18.3, Posting 18.3.1, Methodology Information 18.3.2, Load Profiling Models 18.3.3, Load Profiles 18.4, Assignment of Load Profile ID 18.4.1, Development of Load Profile ID Assignment Table 18.4.2, Load Profile ID Assignment 18.4.3, Validation of Load Profile Type and Weather Zone Assignments 18.4.3.1, Validation Tests 18.4.3.2, Correction Procedure 18.5, Additional Responsibilities 18.5.1, ERCOT Responsibilities 18.5.2, Transmission Service Provider and/or Distribution Service Provider Responsibilities (delete) 18.5.3, Competitive Retailer Responsibilities 18.6.1, Interval Data Recorder Meter Mandatory Installation Requirements 18.6.2, Interval Data Recorder Administration Issues 18.6.2, Interval Data Recorder Meter Optional Removal (new) 18.6.3, Adherence to Interval Data Recorder Requirements 18.6.4, Technical Requirements 18.6.5, Peak Demand Determination for Non-Interval Data Recorder Premises 18.6.6, Interval Data Recorder Meter Optional Removal (delete) 18.7, Supplemental Load Profiling 18.7.1, Load Profiling of Time of Use Metered Electric Service Identifier (delete) 18.7.1.1, Overview (delete) 18.7.1.2, Methodology for Load Profiling of Time Of Use (delete) 18.7.1.3, Collection of Time Of Use Meter Data (delete) 18.7.1.4, Availability of Time Of Use Schedules (delete) 18.7.1.5, Post Market Evaluation (delete) 18.7.2, Other Load Profiling (delete) |  |
| Related Documents Requiring Revision/Related Revision Requests |  | None |  |
| Revision Description |  | With the proliferation of Advanced Metering Systems (AMS) in the ERCOT Market, this Nodal Protocol Revision Request (NPRR) updates the Load Profiling Protocol language to clarify purpose and definitions, update current processes and methodologies, and remove outdated processes and practices. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (please select all that apply) |  |
| Business Case |  | Load Profiles still serve a vital role in the market as a means for estimating and allocating 15 minute load for Electronic Service Identifiers (ESI IDs) during the Settlement process when interval consumption data is not available. At a high level, the revisions are summarized below: - Advanced Meters are included under Interval Data Recorders (IDRs), along with the IDR Meters for which Load Profiles are developed. - Removal of language and references to: - Load Profiles for Time of Use (TOU) Metering (no longer applicable.) - Samples and Sampling Load research samples, sample maintenance, sampling responsibilities. (ERCOT has confirmed the sampling process, as defined currently, is no longer utilized for the maintenance of Load Profiles.) - Updating the following processes: - Adjustments to Load Profile development - Load Profile assignment - Validation testing of Load Profile assignments - Clarity around IDR Meter mandatory installation requirements and optional removal eligibility - General organization and streamlining of content. |  |

| Sponsor |  |
| --- | --- |
| Name | Jim Lee on behalf of AEP TX |
| E-mail Address | jclee@aep.com |
| Company | AEP Texas |
| Phone Number | 512-391-2972 |
| Market Segment | Investor Owned Utility (IOU) |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Lindsay Butterfield |
| E-Mail Address | Lindsay.Butterfield@ercot.com |
| Phone Number | 512-248-6521 |

Proposed Protocol Language Revision

- 18.1	Overview

(1)		The ERCOT retail market requires a 15-minute Settlement Interval.  Load Profiling provides a cost-effective way of estimating and allocating 15-minute Load for Electric Service Identifiers (ESI IDs).  This Section details how Load Profiling will be implemented in ERCOT when ERCOT does not receive 15-minute Settlement Interval consumption data and enables the accounting of energy usage in the market Settlement process.

- 18.2	Methodology

(1)	A Load Profiling Methodology is the fundamental basis on which Load Profiles are created.  The implementation of a Load Profiling Methodology may require statistical Sampling, engineering methods, econometric modeling, or other approaches.  All Load Profiles shall conform to the ERCOT-defined Settlement Interval length.

(2) 	ERCOT has developed Load Profiles for:

(a)	Non-interval metered Loads;

(b)	Non-Metered Loads; and

(c)        Interval Data Recorders (IDRs) including:

(i) 	Advanced Meters; and

(ii) 	IDR Meters.

(3)	The following Load Profiling Methodologies are used:

| Type of Load | Load Profiling Methodology |
| --- | --- |
| Non-interval metered | Adjusted Static Models |
| Non-interval metered with Distributed Generation (DG) | Adjusted Static Models and engineering estimates |
| Non-metered | Engineering estimates |

- 18.2.1	Guidelines for Development of Load Profiles

(1)	In developing Load Profiles, ERCOT shall strive to achieve an optimal combination of the following:

(a)	Give no unfair advantage to any Entity;

(b)	Maximize usability by minimizing the total number of Load Profiles without compromising accuracy and cost effectiveness;

(c)	Minimize the Load Profiles’ contribution to Unaccounted For Energy (UFE) over all Settlement Intervals, paying particular attention to higher cost periods;

(d)	Reflect reasonably homogenous groups, with respect to Load shape and likely supply costs;

(e)	Develop Load Profiles that are distinctly different;

(f)	Develop Load Profiles for areas with incomplete Load data utilizing data from other sources, taking into account similarities and differences in Load;

(g)	Accommodate development of unique rate classes;

(h)	Use the most accurate Load research data available; and

(i)	Develop Load Profiles based on readily identifiable parameters that are not subject to frequent change.

- 18.2.2	Default Load Profiles for Interval Data Recorders

(1)	Default Load Profiles for IDRs will only be used when no historic Customer-specific interval data is available for Settlements.  The Adjusted Static Model methodology will be used to create these Load Profiles.

(2)	For details on the method to estimate IDR data for Settlement purposes, refer to Section 11, Data Acquisition and Aggregation.

- 18.2.3	Identification of Weather Zones and Load Profile Types

(1)	ERCOT, in coordination with the appropriate TAC subcommittee, will identify Weather Zones and Load Profile Types based on an analysis of Load data, weather data, and sunrise/sunset data.

- 18.2.4	Maintenance of the Load Profile Models

(1)	Upon request from the appropriate TAC Subcommittee, ERCOT shall review the validity and accuracy of the Load Profile Models.  ERCOT shall make the necessary recommendation to alleviate any situations whereby Load Profiles are no longer representative.

- 18.2.5	Adjustments and Changes to Load Profile Development

(1)	Upon request from the appropriate TAC subcommittee, ERCOT will conduct an evaluation of the current Load Profiling Methodology to determine whether appropriate changes to the methodology should be made.   Any Market Participant may request a review of the Load Profiling Methodology.  Adoption of a new methodology requires approval of the Technical Advisory Committee (TAC).  The TAC shall establish the implementation date for approved changes.

(2)	Any Market Participant may petition ERCOT for adjustments to the existing Load Profiles and for development of new Load Profiles.  The Market Participant making the request shall submit their proposal in writing to ERCOT.  ERCOT will post to the Market Information System (MIS) Public Area the request and respond to such requests within 60 days.  ERCOT shall coordinate with the appropriate TAC subcommittee for each change request.

(3)	ERCOT, in coordination with the appropriate TAC subcommittee, may make changes to existing Load Profiles and establish additional Load Profiles.  When additional Load Profiles are established, ERCOT shall evaluate the impact on existing Load Profiles.

(4)	A Market Participant may submit a request to ERCOT for a new Load Profile Segment by following the process as specified in the Load Profiling Guide Section 12, Request for Load Profile Segment Changes, Additions, or Removals.

(5)	Section 9.18, Profile Development Cost Recovery Fee for a Non-ERCOT Sponsored Load Profile Segment, describes the process for compensating the originator of a Load Profile Segment change request by Retail Electric Providers (REPs) wishing to subscribe to the Load Profile Segment.

(6)	ERCOT shall give at least 150 days Notice to all Market Participants prior to market implementation of any change to the Load Profiling Methodology, existing Load Profiles, or when any additional Load Profiles are developed.  This Notice shall include a Load Profile change implementation timeline, which specifies dates on which key events during the Load Profile change process will take place.  Upon any change in Load Profile Types, Transmission Service Providers (TSPs) and/or Distribution Service Providers (DSPs) shall send any revised Load Profile ID assignments required by the change to the registration system within the implementation timeline.  After the new Load Profile(s) becomes available, changes to Load Profile Types will be effective on the next meter read date for each ESI ID.

(7)	If one or more Load Profiles require changes to reduce excessive UFE, as determined by the appropriate TAC subcommittee, TAC may provide a shorter Notice period and implementation date, than otherwise provided herein, for such required changes to Load Profiles.  If the Load Profiling Methodology requires changes to reduce excessive UFE, as determined by the appropriate TAC subcommittee, TAC may provide an expedited Notice period and implementation date.  TAC may require the standard Load Profile revision process follow such expedited revisions for long-term resolution.

- 18.2.6	ERCOT Responsibilities in Support of Load Profiling

- (1)

- ERCOT is responsible for the development and maintenance of Load Profiles used in the ERCOT market.  ERCOT shall follow the Load Profiling and Load research rules and procedures as specified in the Public Utility Commission of Texas (PUCT) rules.

- 18.3	Posting

(1)	ERCOT will make available to Market Participants the following information in a timely manner, subject to confidentiality agreements, proprietary arrangements, and Public Utility Commission of Texas (PUCT) rules and regulations.

- 18.3.1	Methodology Information

(1)	Upon request, ERCOT will provide a complete description of all supporting Load Profile Models, documentation and data used in preparation of Load Profiles, including:

(a)	The historic Load data used to create the Load Profiles;

(b)	Average interval accuracy of each Load Profile Model;

(c)	Weather information;

(d)	Sunrise/sunset information

; and

(e)	Any other data used for Load Profile development.

- 18.3.2	Load Profiling Models

(1)	ERCOT will make available the Load Profile Models used to produce the forecast and backcast profiles for the Settlement process.  The Load Profile Models shall be accessible via the Market Information System (MIS) Public Area in a downloadable format.

- 18.3.3	Load Profiles

(1)	ERCOT will publish Load Profile data from the Load Profile creation process, in accordance with Section 18.2.6, Daily Profile Creation Process, to the MIS Public Area and through the common application programming interface.  Load Profile data will be made available to Market Participants for a period of two years.

(2)	ERCOT will post to the MIS Public Area by 1000 Central Prevailing Time (CPT) each Business Day, forecasted Load Profiles for the three following days for each Load Profile Type and Weather Zone.  Backcast profiles for each Load Profile Type and Weather Zone will be available by 1000 CPT of the second Business Day following the backcast day.  No data will be provided that will allow identification of individual Customers.

- 18.4	Assignment of Load Profile ID

(1)	Each Electric Service Identifier (ESI ID) is required to be associated with an appropriate Load Profile ID.  Upon request, ERCOT and the appropriate Technical Advisory Committee (TAC) subcommittee shall review the Load Profile ID assignment process, make recommendations for enhancements, and evaluate the integration of the validation and assignment processes.  This Section details the process of assigning a Load Profile ID to each ESI ID.

- 18.4.1	Development of Load Profile ID Assignment Table

(1)	ERCOT shall develop a cross-reference table of all Load Profile IDs used in the ERCOT market.  The table shall clearly state class relationship to Load Profile Type.  This information shall be made accessible on the Market Information System (MIS) Public Area.  The cross-reference information shall be compiled and expressed in clear, unambiguous language, and in a manner that will minimize Load Profile ID assignment disputes.

- 18.4.2	Load Profile ID Assignment

(1)	All Load Profile ID assignments shall conform with the valid combinations within the Load Profiling Guide Appendix D, Profile Decision Tree.

(2)	Should there be any change in Load Profile ID assignment to any ESI ID, it will be the responsibility of the Transmission Service Provider (TSP) and/or Distribution Service Provider (DSP) to submit those changes to ERCOT.

(3)       Competitive Retailers (CRs) may dispute a Load Profile ID assignment through the  process described in Load Profiling Guide Section 14, Load Profile ID Dispute Procedure.

(4)       TSPs and/or DSPs shall change the assignment of a Load Profile ID based on a dispute outcome finding in favor of a CR.  If required to change an assignment, TSPs and/or DSPs must correct the assignment in their system and the ERCOT Customer registration system within three Business Days.

- 18.4.3	Validation of Load Profile Type and Weather Zone Assignments

(1)	In this Section validation shall mean performing checks to ensure correct assignment of Load Profile Types and Weather Zones to ESI IDs.

- 18.4.3.1	Validation Tests

(1)	Validation tests of Load Profile Type and Weather Zone assignments, at a minimum, will be performed as follows:

(a)	Initial Load Profile ID assignment for opt-in Entities;

(b)	When a change is made in the Load Profile Type or Weather Zone assignment; and

(c)	At least one time per year during the annual validation process.

(2)	Details of all validation tests will be specified in the Load Profiling Guide Section 11, Validation of Load Profile ID.

(3)	Any Market Participant may request temporary changes to the yearly process for validating Load Profile IDs to address unusual circumstances.  Such requests shall be submitted to the appropriate TAC subcommittee.  If the request is approved by the TAC subcommittee, it shall then be submitted to the TAC.  Change requests as a result of an extreme event such as a hurricane or ice storm may be submitted directly to TAC.  Such requests, if approved by the TAC, shall be in effect only for the requested year.

- 18.4.3.2	Correction Procedure

(1)		TSPs and/or DSPs are responsible for investigating each ESI ID identified by ERCOT or a Market Participant as having a potentially incorrect Load Profile ID assignment.

Market Participants may dispute an assignment of a Load Profile ID as described in Load Profiling Guide Section 14, Load Profile ID Dispute Procedure.

- 18.5	Additional Responsibilities

(1)	This Section addresses responsibilities for Load Profiling not specified in other sections of the Protocols.

- 18.5.1	ERCOT Responsibilities

(1)	ERCOT will develop, administer, and maintain Load Profiles in accordance with these Protocols.  Disputes related to the accuracy or appropriateness of Load Profiles shall be handled in accordance with Section 9.14, Settlement and Billing Dispute Process.

- 18.5.2	Market Participant Responsibilities

(1)	Market Participants shall use the appropriate Technical Advisor Committee (TAC) subcommittee as a forum for their input in the development and refinement of Load Profiles.

(2)	Competitive Retailers (CRs) shall be responsible for reviewing any assignment of Load Profiles to Electric Service Identifiers (ESI IDs) they represent.

- 18.6.1	Interval Data Recorder Meter Mandatory Installation Requirements

(1)	Interval Data Recorder (IDR) Meters are required and shall be installed and utilized for Settlement of Premises having either:

(a)	A peak Demand greater than 700 kW (or 700 kVA in CenterPoint Energy’s service territory); or

(b)	Service provided at transmission voltage (above 60 kV).

(2)	For the IDR Meter installation process, refer to the Retail Market Guide Section 7.13.2.2, Mandatory Interval Data Recorder Installation Process.

(3)	In accordance with a TDSP’s tariff, a Competitive Retailer (CR), upon a Customer’s request or with a Customer’s authorization, may have an IDR Meter installed and used for Settlement purposes at any associated Premise.  Except as stated in paragraph (5) below, IDR Meters in place or installed after September 1, 1999, shall be used for Settlement.  Once an IDR Meter is installed at a Premise and used for Settlement purposes, the given Premise shall continue to be settled with its interval data, except as stated in Section 18.6.6, Interval Data Recorder Meter Optional Removal.  If a Customer or CR requests installation of an IDR Meter, the same Customer may not request removal of the IDR Meter for a period of 12 consecutive months following such installation.

(4)	All non-metered Loads such as street lighting, regardless of the aggregation level, shall not be required to install IDR Meters under the IDR Meter Mandatory Installation Requirements.  These Loads shall be settled using Load Profiles.

(5)	IDR Meters previously used specifically for separating Non-Opt-In Entity (NOIE) Load from competitive Load shall be exempt from the requirement to use an IDR Meter for Settlement purposes, provided that the IDR Meter has been removed within 120 consecutive days after the NOIE has fully implemented Customer Choice.  IDR Meters used for NOIE separation that do not meet the IDR Meter Mandatory Installation Requirements shall not be used for Settlement purposes.

(6)	TSPs and/or DSPs responsible for any Load transfer schemes between the ERCOT Region and non-ERCOT Regions shall install an IDR Meter capable of measuring the Load served during the period the Load transfer is implemented.

- 18.6.2	Interval Data Recorder Meter Optional Removal

(1)	The CR, upon a Customer’s request or with a Customer’s authorization, may request, in accordance with Public Utility Commission of Texas (PUCT) rules and regulations, removal of an IDR Meter at the Customer’s Premise unless an IDR Meter is required by Section 18.6.1, Interval Data Recorder Meter Mandatory Installation Requirements.

(2)	An IDR Meter may not be removed if the existing Customer requested or authorized installation of an IDR Meter pursuant to paragraph (2) of Section 18.6.1, in which case the existing Customer may not request removal of the IDR Meter for a period of 12 consecutive months following such installation.

(3)		Once an IDR Meter has been removed from a Premise by request, an IDR Meter may not be reinstalled at that Premise for a period of 12 consecutive months following such removal, unless a change in Customer(s) has taken place at that Premise during that 12 month period or unless the IDR Meter Mandatory Installation Requirements pursuant to paragraph (1) of Section 18.6.1 has been met.

- 18.6.3	Interval Data Recorder Administration Issues

(1)	ERCOT shall produce a report, in accordance with Retail Market Guide Section 7.13.2.1, Interval Data Recorder Meter Requirement Report, informing the appropriate Market Participants of Premises that have become subject to the provisions of paragraph (1) of Section 18.6.1, Interval Data Recorder Meter Mandatory Installation Requirements.  This report shall track Market Participants’ timely adherence to this requirement and will be posted to the Market Information System (MIS) Certified Area.

- 18.6.4	MOU/EC Adherence to Interval Data Recorder Requirements

(1)	Municipally Owner Utilities (MOUs) and Electric Cooperatives (ECs) that opt-in to Customer Choice must install IDR Meters at all Premises subject to the IDR Meter Mandatory Installation Requirements for metering prior to the effective date of their participation in the testing and integration requirements of ERCOT systems for Customer Choice.

- 18.6.5	Technical Requirements

(1)	Regardless of data retrieval method, interval data shall be provided on a schedule that supports the requirements of final Settlement (typical monthly billing cycle).

(2)	Interval data that is provided for Settlement shall be consistent with the ERCOT defined Settlement Interval.

- 18.6.6	Peak Demand Determination for Non-Interval Data Recorder Premises

(1)	For the purpose of determining the peak Demand level for the IDR Meter Mandatory Installation Requirements in Section 18.6.1, Interval Data Recorder Meter Mandatory Installation Requirements, the Demand will be determined in accordance with PUCT rulemaking or through a consensus process with ERCOT and Market Participants.  In the absence of a clear definition of peak Demand in the PUCT rulemaking, the following application shall be used in determining the peak Demand level for IDR Meter Mandatory Installation Requirements in Section 18.6.1.  A Premise (Electric Service Identifier (ESI ID)) has a peak Demand greater than the applicable level in Section 18.6.1 when measured in any two billing months of the most recent 12 month period.

(2)	CRs may dispute an IDR Meter assignment through the ERCOT Settlement dispute process, described in Section 9.14, Settlement and Billing Dispute Process.

(3)	ERCOT shall be responsible for receiving and storing Demand information necessary for determining mandatory IDR Meter installations.

18.7	Supplemental Load Profiling

(1)	ERCOT and the appropriate Technical Advisory Committee (TAC) subcommittee recognize the possible need to develop Load Profiles for particular Customer segments that require special Load Profiling methods.