## Totals
Option | Energy and Time Weighted Average RTORPA($/MWh) | Energy and Time Weighted Average System Lambda + RTORPA($/MWh) | Sum of Estimated PNM without ORDC | Sum of Estimated Additional PNM with ORDC | # of Hours RTORPA > 100 $/MWh | # of Hours RTORPA > 500 $/MWh | # of Hours RTORPA > 1000 $/MWh | # of Hours RTORPA > 3000 $/MWh | # of Hours RTORPA > 5000 $/MWh | # of Hours RTORPA > 7000 $/MWh | Max PBMCL on August 3, 2011 by SCED Interval
0: Base Case | 29.1998 | 82.1743 | 130793.6363 | 178959.3096 | 271.6556 | 79.7211 | 36.6686 | 8.5828 | 7.4056 | 0.29083 | 34.84%
1: Base Case Price Response | 15.5338 | 68.5083 |  | 83623.9189 | 92.7319 | 45.1936 | 19.6069 | 2.0031 | 2.0031 | 0 | 34.84%
3: RDF=0.98 | 16.3658 | 69.3404 |  | 88157.0966 | 95.3142 | 47.3022 | 21.3583 | 2.1697 | 2.1697 | 0 | 35.62%
4: If PRC<2500 RTOFFCAP=0 | 15.6188 | 68.5933 |  | 84066.6346 | 92.9008 | 45.5267 | 20.2728 | 2.0031 | 2.0031 | 0 | 34.84%
6: X=RRS+URS VOLL=18000 | 129.2287 | 182.2032 |  | 692719.9748 | 211.5819 | 163.5239 | 133.28 | 84.5531 | 59.7217 | 23.6919 | 100%
7: X=RRS+URS Price Floor | 98.3771 | 151.3516 |  | 538780.8176 | 194.6489 | 138.2133 | 108.5656 | 59.6186 | 43.2903 | 15.3431 | 100%
8: X=2300 VOLL=12000 | 31.0526 | 84.0271 |  | 166573.8146 | 122.7411 | 74.1706 | 50.5306 | 8.1517 | 4.5006 | 0.083333 | 100%
9: X=2750 VOLL=18000 | 74.6129 | 127.5874 |  | 399382.0992 | 172.4617 | 117.5675 | 92.3747 | 50.7411 | 24.2358 | 2.1681 | 100%
10: X=1708 VOLL=18000 | 19.7032 | 72.6778 |  | 105018.1976 | 93.355 | 51.4083 | 29.5167 | 6.1758 | 1.3369 | 0 | 25.36%

## RTORPA Sensitivity
Option | No Price Response | Price Response @ $75 | Price Response @ $75 only when Price > $75 for 2+ Hours | Price Response @ $250 | Price Response @ $250 only when Price > $250 for 2+ Hours
1: Base Case | 29.1998 | 15.5338 | 17.0585 | 18.739 | 20.4403
3: RDF=0.98 | 30.7341 | 16.3658 | 18.0287 | 19.8246 | 21.6343
4: If PRC<2500 RTOFFCAP=0 | 29.5007 | 15.6188 | 17.2644 | 18.8257 | 20.6651
6: X=RRS+URS VOLL=18000 | 318.4016 | 129.2287 | 140.2379 | 152.5565 | 171.5472
7: X=RRS+URS Price Floor | 196.2341 | 98.3771 | 105.0032 | 116.6349 | 128.5946
8: X=2300 VOLL=12000 | 57.8368 | 31.0526 | 34.1251 | 37.3386 | 41.8937
9: X=2750 VOLL=18000 | 154.387 | 74.6129 | 80.3386 | 87.9664 | 99.2288
10: X=1708 VOLL=18000 | 34.8582 | 19.7032 | 21.5991 | 22.7332 | 24.7817

## PNM Sensitivity
Option | No Price Response | Price Response @ $75 | Price Response @ $75 only when Price > $75 for 2+ Hours | Price Response @ $250 | Price Response @ $250 only when Price > $250 for 2+ Hours
1: Base Case | 178959.3096 | 83623.9189 | 97350.7962 | 109674.2763 | 124043.8903
3: RDF=0.98 | 188855.4228 | 88157.0966 | 103104.2677 | 116363.8216 | 131866.9874
4: If PRC<2500 RTOFFCAP=0 | 181385.0497 | 84066.6346 | 99010.4072 | 110134.024 | 125865.8239
6: X=RRS+URS VOLL=18000 | 2234961.822 | 692719.9748 | 791496.4806 | 894689.1325 | 1065525.6478
7: X=RRS+URS Price Floor | 1315720.4496 | 538780.8176 | 598214.4037 | 696304.422 | 804706.8132
8: X=2300 VOLL=12000 | 363466.4216 | 166573.8146 | 195036.0789 | 219345.7694 | 259280.0893
9: X=2750 VOLL=18000 | 1024588.1749 | 399382.0992 | 451969.6265 | 514522.4395 | 616612.5652
10: X=1708 VOLL=18000 | 209985.0402 | 105018.1976 | 122115.4177 | 129587.8101 | 147093.727

## RTORPA
Month | 0: Base Case No Response | 1: Base Case | 3: RDF=0.98 | 4: RTOFFCAP=0 PRC<2500 | 6: X=RRS+URS VOLL=18000 | 7: X=RRS+URS Price Floor | 8: X=2300 VOLL=12000 | 9: X=2750 VOLL=18000 | 10: X=1708 VOLL=18000
1/2011 | 14.7317 | 3.8001 | 4.0228 | 3.8001 | 12.9192 | 13.8146 | 5.8062 | 9.2908 | 3.416
2/2011 | 106.8913 | 15.4365 | 16.3598 | 15.4694 | 151.2609 | 159.3428 | 32.2968 | 87.9547 | 21.0446
3/2011 | 18.4072 | 5.0253 | 5.3771 | 5.0253 | 20.4707 | 23.0747 | 8.4029 | 14.2508 | 4.4292
4/2011 | 11.5833 | 1.5165 | 1.6209 | 1.5165 | 9.1469 | 8.9194 | 2.5784 | 5.1308 | 1.3409
5/2011 | 10.6899 | 2.4518 | 2.5984 | 2.4518 | 10.6083 | 14.1607 | 3.7952 | 6.6738 | 2.1886
6/2011 | 10.3578 | 0.85538 | 0.93459 | 0.86034 | 11.2737 | 14.6379 | 1.6778 | 4.8153 | 0.76242
7/2011 | 15.0037 | 11.6199 | 12.539 | 11.6251 | 202.8026 | 109.3233 | 27.5929 | 89.4986 | 12.739
8/2011 | 118.4188 | 103.011 | 107.9769 | 103.7139 | 773.9657 | 582.8358 | 204.895 | 473.6193 | 136.4016
9/2011 | 2.8129 | 0.73765 | 0.81806 | 0.73801 | 15.0362 | 10.0496 | 1.673 | 5.2293 | 0.63271
10/2011 | 5.5446 | 1.7466 | 1.8665 | 1.7488 | 9.4762 | 8.9611 | 2.8705 | 5.5335 | 1.5164
11/2011 | 5.1327 | 1.1154 | 1.1861 | 1.1154 | 5.6187 | 4.5448 | 1.7609 | 3.2748 | 0.98448
12/2011 | 4.2743 | 1.5825 | 1.724 | 1.599 | 9.0802 | 12.1628 | 2.8796 | 5.6329 | 1.4352

## PNM Additional
Month | 0: Base Case No Response | 1: Base Case | 3: RDF=0.98 | 4: RTOFFCAP=0 PRC<2500 | 6: X=RRS+URS VOLL=18000 | 7: X=RRS+URS Price Floor | 8: X=2300 VOLL=12000 | 9: X=2750 VOLL=18000 | 10: X=1708 VOLL=18000
1/2011 | 10334.2349 | 2018.6565 | 2132.7021 | 2018.6565 | 6823.954 | 8201.1629 | 3110.082 | 4984.7 | 1830.9232
2/2011 | 49866.6518 | 7203.4439 | 7636.474 | 7218.8664 | 68705.1159 | 73194.7719 | 14978.5699 | 40319.2359 | 9736.4579
3/2011 | 10994.7269 | 2471.1982 | 2643.7705 | 2471.1982 | 10778.66 | 12369.9375 | 4250.6325 | 7390.8761 | 2202.1557
4/2011 | 6570.7872 | 770.8821 | 820.1961 | 770.8821 | 4579.6435 | 4579.079 | 1292.4813 | 2599.9968 | 692.5274
5/2011 | 7224.0596 | 1388.1643 | 1463.9154 | 1388.1643 | 5923.1522 | 9437.6134 | 2105.565 | 3703.4733 | 1255.3343
6/2011 | 5726.6596 | 441.7558 | 483.9505 | 444.4297 | 6060.62 | 7881.9117 | 882.6451 | 2571.4999 | 393.9253
7/2011 | 8620.5595 | 6654.0026 | 7181.3769 | 6656.9753 | 116650.8448 | 62867.7098 | 15820.4071 | 51369.1026 | 7289.5165
8/2011 | 68702.3189 | 59659.3313 | 62546.1433 | 60067.8455 | 451069.3946 | 338934.9476 | 118802.1235 | 275088.9109 | 78944.5618
9/2011 | 1445.1721 | 391.6277 | 434.0659 | 391.8993 | 7660.9779 | 5391.393 | 882.1854 | 2733.6787 | 334.2072
10/2011 | 3311.2554 | 1017.6643 | 1085.7181 | 1019.4671 | 5642.1598 | 5424.9288 | 1679.6763 | 3276.2953 | 887.0183
11/2011 | 3254.25 | 673.9465 | 713.1494 | 673.9465 | 3204.5442 | 2587.4999 | 1041.6196 | 1898.718 | 601.4108
12/2011 | 2908.6336 | 933.2456 | 1015.6342 | 944.3036 | 5620.9079 | 7909.862 | 1727.8268 | 3445.6117 | 850.1591

## # Hrs RTORPA>100
Month | 0: Base Case No Response | 1: Base Case | 3: RDF=0.98 | 4: RTOFFCAP=0 PRC<2500 | 6: X=RRS+URS VOLL=18000 | 7: X=RRS+URS Price Floor | 8: X=2300 VOLL=12000 | 9: X=2750 VOLL=18000 | 10: X=1708 VOLL=18000
1/2011 | 31.4683 | 0 | 0 | 0 | 0 | 0.49917 | 0 | 0 | 0
2/2011 | 32.6583 | 10.7194 | 11.1347 | 10.805 | 24.1656 | 22.3397 | 15.8464 | 21.2336 | 11.4431
3/2011 | 28.9003 | 0 | 0 | 0 | 0 | 0.44028 | 0 | 0 | 0
4/2011 | 13.6042 | 0 | 0 | 0 | 0 | 0.22583 | 0 | 0 | 0
5/2011 | 19.4853 | 0 | 0 | 0 | 0 | 1.0072 | 0 | 0 | 0
6/2011 | 9.4069 | 0 | 0 | 0 | 6.5547 | 6.0319 | 0 | 4.2508 | 0
7/2011 | 21.84 | 15.6681 | 16.1672 | 15.6681 | 53.0172 | 46.2817 | 24.1564 | 40.4769 | 15.2536
8/2011 | 80.6764 | 66.3444 | 68.0122 | 66.4278 | 122.595 | 113.5797 | 81.6572 | 104.005 | 66.6583
9/2011 | 3.8325 | 0 | 0 | 0 | 5.2494 | 3.4117 | 1.0811 | 2.4953 | 0
10/2011 | 11.2725 | 0 | 0 | 0 | 0 | 0.16528 | 0 | 0 | 0
11/2011 | 11.8469 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12/2011 | 6.6639 | 0 | 0 | 0 | 0 | 0.66639 | 0 | 0 | 0

## # Hrs RTORPA>500
Month | 0: Base Case No Response | 1: Base Case | 3: RDF=0.98 | 4: RTOFFCAP=0 PRC<2500 | 6: X=RRS+URS VOLL=18000 | 7: X=RRS+URS Price Floor | 8: X=2300 VOLL=12000 | 9: X=2750 VOLL=18000 | 10: X=1708 VOLL=18000
1/2011 | 3.1831 | 0 | 0 | 0 | 0 | 0.49917 | 0 | 0 | 0
2/2011 | 11.0706 | 4.79 | 4.9078 | 4.79 | 19.4156 | 16.6494 | 7.9653 | 14.8386 | 6.0944
3/2011 | 4.6389 | 0 | 0 | 0 | 0 | 0.44028 | 0 | 0 | 0
4/2011 | 4.1711 | 0 | 0 | 0 | 0 | 0.22583 | 0 | 0 | 0
5/2011 | 2.2906 | 0 | 0 | 0 | 0 | 1.0072 | 0 | 0 | 0
6/2011 | 4.0175 | 0 | 0 | 0 | 2.4931 | 1.4747 | 0 | 0 | 0
7/2011 | 4.7489 | 3.2489 | 4.3281 | 3.2489 | 37.9706 | 27.1783 | 11.0853 | 23.0794 | 4.9161
8/2011 | 43.9 | 37.1547 | 38.0664 | 37.4878 | 100.9814 | 87.4953 | 55.12 | 78.8189 | 40.3978
9/2011 | 0.084444 | 0 | 0 | 0 | 2.6633 | 2.4114 | 0 | 0.83056 | 0
10/2011 | 0.083333 | 0 | 0 | 0 | 0 | 0.16528 | 0 | 0 | 0
11/2011 | 0.53194 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12/2011 | 1.0008 | 0 | 0 | 0 | 0 | 0.66639 | 0 | 0 | 0

## # Hrs RTORPA>1000
Month | 0: Base Case No Response | 1: Base Case | 3: RDF=0.98 | 4: RTOFFCAP=0 PRC<2500 | 6: X=RRS+URS VOLL=18000 | 7: X=RRS+URS Price Floor | 8: X=2300 VOLL=12000 | 9: X=2750 VOLL=18000 | 10: X=1708 VOLL=18000
1/2011 | 0.083056 | 0 | 0 | 0 | 0 | 0.49917 | 0 | 0 | 0
2/2011 | 8.6056 | 0.90472 | 1.4047 | 0.90472 | 16.2742 | 12.7378 | 5.2192 | 10.4467 | 3.3619
3/2011 | 0.50194 | 0 | 0 | 0 | 0 | 0.44028 | 0 | 0 | 0
4/2011 | 1.3581 | 0 | 0 | 0 | 0 | 0.22583 | 0 | 0 | 0
5/2011 | 0.48444 | 0 | 0 | 0 | 0 | 1.0072 | 0 | 0 | 0
6/2011 | 1.4819 | 0 | 0 | 0 | 0 | 1.4747 | 0 | 0 | 0
7/2011 | 0 | 0 | 0 | 0 | 27.2642 | 18.0817 | 5.2489 | 15.5 | 0.3325
8/2011 | 23.9036 | 18.7022 | 19.9536 | 19.3681 | 87.4953 | 72.3525 | 40.0625 | 66.3447 | 25.8222
9/2011 | 0 | 0 | 0 | 0 | 2.2464 | 0.91472 | 0 | 0.083333 | 0
10/2011 | 0 | 0 | 0 | 0 | 0 | 0.16528 | 0 | 0 | 0
11/2011 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12/2011 | 0.25 | 0 | 0 | 0 | 0 | 0.66639 | 0 | 0 | 0

## # Hrs RTORPA>3000
Month | 0: Base Case No Response | 1: Base Case | 3: RDF=0.98 | 4: RTOFFCAP=0 PRC<2500 | 6: X=RRS+URS VOLL=18000 | 7: X=RRS+URS Price Floor | 8: X=2300 VOLL=12000 | 9: X=2750 VOLL=18000 | 10: X=1708 VOLL=18000
1/2011 | 0 | 0 | 0 | 0 | 0 | 0.49917 | 0 | 0 | 0
2/2011 | 6.4961 | 0 | 0 | 0 | 8.8731 | 8.7803 | 0 | 4.9292 | 0
3/2011 | 0 | 0 | 0 | 0 | 0 | 0.35778 | 0 | 0 | 0
4/2011 | 0 | 0 | 0 | 0 | 0 | 0.1675 | 0 | 0 | 0
5/2011 | 0.083611 | 0 | 0 | 0 | 0 | 0.84083 | 0 | 0 | 0
6/2011 | 0 | 0 | 0 | 0 | 0 | 0.74944 | 0 | 0 | 0
7/2011 | 0 | 0 | 0 | 0 | 13.4194 | 4.8281 | 0 | 5.4989 | 0
8/2011 | 2.0031 | 2.0031 | 2.1697 | 2.0031 | 62.1772 | 42.3989 | 8.1517 | 40.3131 | 6.1758
9/2011 | 0 | 0 | 0 | 0 | 0.083333 | 0.165 | 0 | 0 | 0
10/2011 | 0 | 0 | 0 | 0 | 0 | 0.16528 | 0 | 0 | 0
11/2011 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12/2011 | 0 | 0 | 0 | 0 | 0 | 0.66639 | 0 | 0 | 0

## # Hrs RTORPA>5000
Month | 0: Base Case No Response | 1: Base Case | 3: RDF=0.98 | 4: RTOFFCAP=0 PRC<2500 | 6: X=RRS+URS VOLL=18000 | 7: X=RRS+URS Price Floor | 8: X=2300 VOLL=12000 | 9: X=2750 VOLL=18000 | 10: X=1708 VOLL=18000
1/2011 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2/2011 | 5.4025 | 0 | 0 | 0 | 5.5633 | 8.0492 | 0 | 1.1683 | 0
3/2011 | 0 | 0 | 0 | 0 | 0 | 0.25056 | 0 | 0 | 0
4/2011 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5/2011 | 0 | 0 | 0 | 0 | 0 | 0.083611 | 0 | 0 | 0
6/2011 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7/2011 | 0 | 0 | 0 | 0 | 7.7486 | 1.8339 | 0 | 0.083611 | 0
8/2011 | 2.0031 | 2.0031 | 2.1697 | 2.0031 | 46.4097 | 32.9906 | 4.5006 | 22.9839 | 1.3369
9/2011 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10/2011 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11/2011 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12/2011 | 0 | 0 | 0 | 0 | 0 | 0.0825 | 0 | 0 | 0

## # Hrs RTORPA>7000
Month | 0: Base Case No Response | 1: Base Case | 3: RDF=0.98 | 4: RTOFFCAP=0 PRC<2500 | 6: X=RRS+URS VOLL=18000 | 7: X=RRS+URS Price Floor | 8: X=2300 VOLL=12000 | 9: X=2750 VOLL=18000 | 10: X=1708 VOLL=18000
1/2011 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2/2011 | 0.29083 | 0 | 0 | 0 | 0.58167 | 2.5636 | 0 | 0 | 0
3/2011 | 0 | 0 | 0 | 0 | 0 | 0.25056 | 0 | 0 | 0
4/2011 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5/2011 | 0 | 0 | 0 | 0 | 0 | 0.083611 | 0 | 0 | 0
6/2011 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7/2011 | 0 | 0 | 0 | 0 | 3.7369 | 0.4125 | 0 | 0 | 0
8/2011 | 0 | 0 | 0 | 0 | 19.3733 | 11.9503 | 0.083333 | 2.1681 | 0
9/2011 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10/2011 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11/2011 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12/2011 | 0 | 0 | 0 | 0 | 0 | 0.0825 | 0 | 0 | 0