## Totals
Option | Energy and Time Weighted Average RTORPA($/MWh) | Energy and Time Weighted Average System Lambda + RTORPA($/MWh) | Sum of Estimated PNM without ORDC | Sum of Estimated Additional PNM with ORDC | # of Hours RTORPA > 100 $/MWh | # of Hours RTORPA > 500 $/MWh | # of Hours RTORPA > 1000 $/MWh | # of Hours RTORPA > 3000 $/MWh | # of Hours RTORPA > 5000 $/MWh | # of Hours RTORPA > 7000 $/MWh | Max PBMCL on August 13, 2015 by SCED Interval
0: Base Case | 1.0548 | 31.2502 | 42731.4925 | 8818.3939 | 18.0483 | 2.2478 | 0 | 0 | 0 | 0 | 6.221%
1: Base Case Price Response | 0.6568 | 30.8522 |  | 5254.4606 | 12.0028 | 0.58278 | 0 | 0 | 0 | 0 | 5.762%
3: RDF=0.98 | 0.7261 | 30.9215 |  | 5830.6618 | 12.3372 | 1.3314 | 0 | 0 | 0 | 0 | 6.164%
4: RTOFFCAP=0 PRC<2500 | 0.6646 | 30.86 |  | 5314.0131 | 12.0028 | 0.75 | 0 | 0 | 0 | 0 | 7.048%
6: X=RRS+URS VOLL=18000 | 10.7091 | 40.9045 |  | 89522.4068 | 36.6711 | 23.54 | 17.005 | 7.4169 | 1.4158 | 0.16639 | 29.25%
7: X=RRS+URS Price Floor | 6.441 | 36.6364 |  | 55021.5411 | 31.965 | 16.8378 | 11.3325 | 1.7483 | 0 | 0 | 29.25%
8: X=2300 VOLL=12000 | 1.6621 | 31.8575 |  | 13517.1451 | 18.4217 | 7.1669 | 1.9994 | 0 | 0 | 0 | 9.591%
9: X=2750 VOLL=18000 | 5.7232 | 35.9186 |  | 47056.2416 | 29.8764 | 16.5078 | 11.5839 | 2.2486 | 0 | 0 | 18.84%
10: X=1708 VOLL=18000 | 0.6687 | 30.8641 |  | 5259.9112 | 12.0861 | 1.7514 | 0 | 0 | 0 | 0 | 3.373%

## RTORPA Sensitivity
Option | No Price Response | Price Response @ $75 | Price Response @ $75 only when Price > $75 for 2+ Hours | Price Response @ $250 | Price Response @ $250 only when Price > $250 for 2+ Hours
1: Base Case | 1.0548 | 0.6568 | 0.7799 | 0.8514 | 0.9386
3: RDF=0.98 | 1.1685 | 0.7261 | 0.8566 | 0.9446 | 1.0417
4: If PRC<2500 RTOFFCAP=0 | 1.063 | 0.6646 | 0.7877 | 0.8592 | 0.9464
6: X=RRS+URS VOLL=18000 | 28.0789 | 10.7091 | 13.4745 | 16.8081 | 20.5033
7: X=RRS+URS Price Floor | 14.326 | 6.441 | 8.2642 | 10.2031 | 12.0726
8: X=2300 VOLL=12000 | 2.8113 | 1.6621 | 2.0176 | 2.2204 | 2.4254
9: X=2750 VOLL=18000 | 11.3661 | 5.7232 | 6.9029 | 8.0798 | 9.2879
10: X=1708 VOLL=18000 | 1.0663 | 0.6687 | 0.77 | 0.8364 | 0.9307

## PNM Sensitivity
Option | No Price Response | Price Response @ $75 | Price Response @ $75 only when Price > $75 for 2+ Hours | Price Response @ $250 | Price Response @ $250 only when Price > $250 for 2+ Hours
1: Base Case | 8818.3939 | 5254.4606 | 6457.2174 | 7089.4386 | 7881.6184
3: RDF=0.98 | 9810.1495 | 5830.6618 | 7088.9437 | 7902.2393 | 8786.5493
4: If PRC<2500 RTOFFCAP=0 | 8880.9843 | 5314.0131 | 6516.7698 | 7148.991 | 7941.1708
6: X=RRS+URS VOLL=18000 | 265834.3797 | 89522.4068 | 120568.9453 | 154169.9026 | 194370.9063
7: X=RRS+URS Price Floor | 134481.4675 | 55021.5411 | 74886.3559 | 94421.9604 | 114050.9057
8: X=2300 VOLL=12000 | 24072.5347 | 13517.1451 | 17054.7295 | 18960.9516 | 20997.1191
9: X=2750 VOLL=18000 | 101310.7268 | 47056.2416 | 59453.5925 | 71126.5035 | 83079.5501
10: X=1708 VOLL=18000 | 8752.5373 | 5259.9112 | 6243.16 | 6828.7723 | 7666.1103

## RTORPA
Month | 0: Base Case No Response | 1: Base Case | 3: RDF=0.98 | 4: RTOFFCAP=0 PRC<2500 | 6: X=RRS+URS VOLL=18000 | 7: X=RRS+URS Price Floor | 8: X=2300 VOLL=12000 | 9: X=2750 VOLL=18000 | 10: X=1708 VOLL=18000
6/2014 | 0.026629 | 0.013692 | 0.016574 | 0.013692 | 0.56114 | 0.39815 | 0.052343 | 0.23515 | 0.0090862
7/2014 | 0.12561 | 0.052895 | 0.064198 | 0.052895 | 1.7741 | 1.2571 | 0.18663 | 0.73463 | 0.034892
8/2014 | 0.798 | 0.2668 | 0.29407 | 0.2668 | 3.1083 | 2.3378 | 0.55061 | 1.4962 | 0.22794
9/2014 | 0.13379 | 0.036353 | 0.043442 | 0.036353 | 1.5626 | 1.1173 | 0.12617 | 0.58494 | 0.023992
10/2014 | 0.34938 | 0.057611 | 0.070201 | 0.057611 | 2.4301 | 1.8437 | 0.21719 | 0.95931 | 0.034247
11/2014 | 0.15326 | 0.031826 | 0.03894 | 0.031826 | 1.9672 | 1.4423 | 0.12882 | 0.72985 | 0.019154
12/2014 | 0.11215 | 0.086705 | 0.1005 | 0.086705 | 2.2034 | 1.5093 | 0.2331 | 0.8198 | 0.067345
1/2015 | 0.097254 | 0.051563 | 0.058728 | 0.051563 | 1.0987 | 0.77039 | 0.12628 | 0.42071 | 0.04239
2/2015 | 0.6574 | 0.075465 | 0.088692 | 0.075465 | 2.623 | 1.8851 | 0.2414 | 1.0801 | 0.056188
3/2015 | 0.4941 | 0.23985 | 0.28693 | 0.23985 | 7.6815 | 5.7498 | 0.81738 | 3.4836 | 0.16502
4/2015 | 0.95905 | 0.31988 | 0.36642 | 0.31988 | 4.5059 | 3.4714 | 0.85882 | 2.4083 | 0.24874
5/2015 | 0.78671 | 0.23908 | 0.28256 | 0.23908 | 4.8265 | 3.7768 | 0.77322 | 2.598 | 0.1762
6/2015 | 0.1394 | 0.098195 | 0.11855 | 0.098195 | 3.5621 | 2.5389 | 0.34188 | 1.6169 | 0.060994
7/2015 | 2.1216 | 1.2258 | 1.356 | 1.2258 | 23.6487 | 12.0765 | 3.0383 | 11.1195 | 1.2749
8/2015 | 8.3206 | 6.3876 | 6.9716 | 6.4955 | 89.283 | 50.6973 | 15.5416 | 51.7333 | 6.8925
9/2015 | 0.42733 | 0.23138 | 0.27279 | 0.23138 | 4.4912 | 3.6848 | 0.74531 | 2.4833 | 0.15295
10/2015 | 0.04949 | 0.037876 | 0.047662 | 0.037876 | 2.6123 | 1.9561 | 0.18017 | 1.1218 | 0.01995

## PNM Additional
Month | 0: Base Case No Response | 1: Base Case | 3: RDF=0.98 | 4: RTOFFCAP=0 PRC<2500 | 6: X=RRS+URS VOLL=18000 | 7: X=RRS+URS Price Floor | 8: X=2300 VOLL=12000 | 9: X=2750 VOLL=18000 | 10: X=1708 VOLL=18000
6/2014 | 14.863 | 7.3627 | 8.8724 | 7.3627 | 305.9734 | 217.2712 | 28.1743 | 128.834 | 4.9229
7/2014 | 69.7512 | 29.2791 | 35.5224 | 29.2791 | 998.8191 | 699.812 | 104.3304 | 413.4406 | 19.2668
8/2014 | 473.7101 | 157.5206 | 173.7154 | 157.5206 | 1846.5678 | 1389.0509 | 326.5352 | 888.9289 | 134.3675
9/2014 | 76.1349 | 21.3382 | 25.477 | 21.3382 | 900.3926 | 644.8612 | 73.8695 | 340.7849 | 14.1016
10/2014 | 214.8603 | 35.7832 | 43.579 | 35.7832 | 1521.7526 | 1153.0855 | 135.4732 | 596.8902 | 21.3085
11/2014 | 86.2025 | 16.5369 | 20.1964 | 16.5369 | 1164.1893 | 851.8737 | 70.1791 | 431.1798 | 9.9855
12/2014 | 62.6662 | 44.8419 | 51.8797 | 44.8419 | 1201.2417 | 798.0031 | 118.6156 | 419.4534 | 35.5875
1/2015 | 54.004 | 26.8581 | 30.5666 | 26.8581 | 628.0387 | 430.3442 | 66.1634 | 226.7435 | 22.2767
2/2015 | 343.7828 | 39.2323 | 46.2649 | 39.2323 | 1520.8855 | 1081.9136 | 132.5891 | 617.9348 | 28.8396
3/2015 | 300.4408 | 143.7118 | 172.2824 | 143.7118 | 5084.2422 | 3767.303 | 505.3782 | 2259.1514 | 99.1203
4/2015 | 583.1062 | 202.0947 | 231.7934 | 202.0947 | 2909.5062 | 2232.0321 | 547.7487 | 1545.4734 | 156.8278
5/2015 | 454.1254 | 145.2877 | 171.83 | 145.2877 | 3060.3023 | 2382.4737 | 477.5043 | 1630.1474 | 107.4939
6/2015 | 76.9979 | 54.518 | 65.97 | 54.518 | 2055.3418 | 1462.6449 | 193.7502 | 930.7684 | 33.67
7/2015 | 1186.301 | 682.2366 | 754.9631 | 682.2366 | 13244.3679 | 6772.5711 | 1693.0337 | 6209.9794 | 708.8134
8/2015 | 4543.8449 | 3489.5909 | 3809.4166 | 3549.1434 | 48845.7395 | 27783.4683 | 8498.7228 | 28290.8307 | 3761.9336
9/2015 | 245.868 | 134.4253 | 158.3351 | 134.4253 | 2578.6215 | 2111.6054 | 431.3761 | 1417.9144 | 88.8481
10/2015 | 31.7348 | 23.8427 | 29.9973 | 23.8427 | 1656.4247 | 1243.2273 | 113.7015 | 707.7864 | 12.5476

## # Hrs RTORPA>100
Month | 0: Base Case No Response | 1: Base Case | 3: RDF=0.98 | 4: RTOFFCAP=0 PRC<2500 | 6: X=RRS+URS VOLL=18000 | 7: X=RRS+URS Price Floor | 8: X=2300 VOLL=12000 | 9: X=2750 VOLL=18000 | 10: X=1708 VOLL=18000
6/2014 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7/2014 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8/2014 | 0.41833 | 0 | 0 | 0 | 0.083611 | 0 | 0 | 0 | 0
9/2014 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10/2014 | 0.083889 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11/2014 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12/2014 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1/2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2/2015 | 1.1675 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3/2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4/2015 | 1.0875 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5/2015 | 1.3342 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6/2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7/2015 | 3.0367 | 2.1675 | 2.2508 | 2.1675 | 12.7517 | 10.2872 | 3.7497 | 9.1186 | 2.2508
8/2015 | 10.8364 | 9.8353 | 10.0864 | 9.8353 | 23.8358 | 21.6778 | 14.6719 | 20.7578 | 9.8353
9/2015 | 0.083889 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10/2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## # Hrs RTORPA>500
Month | 0: Base Case No Response | 1: Base Case | 3: RDF=0.98 | 4: RTOFFCAP=0 PRC<2500 | 6: X=RRS+URS VOLL=18000 | 7: X=RRS+URS Price Floor | 8: X=2300 VOLL=12000 | 9: X=2750 VOLL=18000 | 10: X=1708 VOLL=18000
6/2014 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7/2014 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8/2014 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9/2014 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10/2014 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11/2014 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12/2014 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1/2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2/2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3/2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4/2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5/2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6/2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7/2015 | 0 | 0 | 0 | 0 | 6.2881 | 3.7508 | 0.83194 | 3.3358 | 0
8/2015 | 2.2478 | 0.58278 | 1.3314 | 0.75 | 17.2519 | 13.0869 | 6.335 | 13.1719 | 1.7514
9/2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10/2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## # Hrs RTORPA>1000
Month | 0: Base Case No Response | 1: Base Case | 3: RDF=0.98 | 4: RTOFFCAP=0 PRC<2500 | 6: X=RRS+URS VOLL=18000 | 7: X=RRS+URS Price Floor | 8: X=2300 VOLL=12000 | 9: X=2750 VOLL=18000 | 10: X=1708 VOLL=18000
6/2014 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7/2014 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8/2014 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9/2014 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10/2014 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11/2014 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12/2014 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1/2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2/2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3/2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4/2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5/2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6/2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7/2015 | 0 | 0 | 0 | 0 | 3.8344 | 1.9992 | 0 | 2.0822 | 0
8/2015 | 0 | 0 | 0 | 0 | 13.1706 | 9.3333 | 1.9994 | 9.5017 | 0
9/2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10/2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## # Hrs RTORPA>3000
Month | 0: Base Case No Response | 1: Base Case | 3: RDF=0.98 | 4: RTOFFCAP=0 PRC<2500 | 6: X=RRS+URS VOLL=18000 | 7: X=RRS+URS Price Floor | 8: X=2300 VOLL=12000 | 9: X=2750 VOLL=18000 | 10: X=1708 VOLL=18000
6/2014 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7/2014 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8/2014 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9/2014 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10/2014 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11/2014 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12/2014 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1/2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2/2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3/2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4/2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5/2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6/2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7/2015 | 0 | 0 | 0 | 0 | 0.91556 | 0 | 0 | 0 | 0
8/2015 | 0 | 0 | 0 | 0 | 6.5014 | 1.7483 | 0 | 2.2486 | 0
9/2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10/2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## # Hrs RTORPA>5000
Month | 0: Base Case No Response | 1: Base Case | 3: RDF=0.98 | 4: RTOFFCAP=0 PRC<2500 | 6: X=RRS+URS VOLL=18000 | 7: X=RRS+URS Price Floor | 8: X=2300 VOLL=12000 | 9: X=2750 VOLL=18000 | 10: X=1708 VOLL=18000
6/2014 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7/2014 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8/2014 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9/2014 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10/2014 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11/2014 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12/2014 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1/2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2/2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3/2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4/2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5/2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6/2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7/2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8/2015 | 0 | 0 | 0 | 0 | 1.4158 | 0 | 0 | 0 | 0
9/2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10/2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## # Hrs RTORPA>7000
Month | 0: Base Case No Response | 1: Base Case | 3: RDF=0.98 | 4: RTOFFCAP=0 PRC<2500 | 6: X=RRS+URS VOLL=18000 | 7: X=RRS+URS Price Floor | 8: X=2300 VOLL=12000 | 9: X=2750 VOLL=18000 | 10: X=1708 VOLL=18000
6/2014 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7/2014 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8/2014 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9/2014 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10/2014 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11/2014 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12/2014 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1/2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2/2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3/2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4/2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5/2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6/2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7/2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8/2015 | 0 | 0 | 0 | 0 | 0.16639 | 0 | 0 | 0 | 0
9/2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10/2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Online Curve
Price of AS Demand Curve for last MW of AS requirement in DAM using August 13, 2015 HE17 as an example
Ancillary Service Type |  | RTOLCAP (Last MW) | Options 0,1,3,4 X=2000 VOLL=9000 | Option 6 X=RRS+URS VOLL=18000 | Option 7 X=RRS+URS VOLL=9000 | Option 8 X=2300 VOLL=12000 | Option 9 X=2750 VOLL=18000 | Option 10 X=1708 VOLL=18000
URS |  | 345 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000
RRS=2300 | RRS | 2645 | 2318.4869 | N/A | N/A | 4577.119 | N/A | 2897.7119
| NSRS | 4645 | 13.0829 | N/A | N/A | 51.4761 | N/A | 8.1872
RRS=2750 | RRS | 3095 | N/A | 9000 | 4857.0547 | N/A | 6865.6786 | N/A
| NSRS | 5095 | N/A | 233.5067 | 116.7533 | N/A | 77.2141 | N/A
Parameters
|  | Mu | 171.25 | 171.25 | 171.25 | 171.25 | 171.25 | 171.25
|  | Sigma | 1215.67 | 1215.67 | 1215.67 | 1215.67 | 1215.67 | 1215.67
|  | Mu' | 85.625 | 85.625 | 85.625 | 85.625 | 85.625 | 85.625
|  | Sigma' | 859.6085 | 859.6085 | 859.6085 | 859.6085 | 859.6085 | 859.6085
|  | VOLL | 9000 | 18000 | 9000 | 12000 | 18000 | 18000
|  | X | 2000 | 3095 | 3095 | 2300 | 2750 | 1708
|  | RRS | 2300 | 2750 | 2750 | 2300 | 2750 | 2300
|  | Load RRS | 1150 | 1375 | 1375 | 1150 | 1375 | 1150
|  | Gen RRS | 1150 | 1375 | 1375 | 1150 | 1375 | 1150
|  | Gen Regup | 345 | 345 | 345 | 345 | 345 | 345
|  | Gen NSRS | 2000 | 2000 | 2000 | 2000 | 2000 | 2000

## Offline Curve
Price of AS Demand Curve for last MW of AS requirement in DAM using August 13, 2015 HE17 as an example
Ancillary Service Type |  | RTOLCAP | Options 0,1,3,4 X=2000 VOLL=9000 | Option 6 X=RRS+URS VOLL=18000 | Option 7 X=RRS+URS VOLL=9000 | Option 8 X=2300 VOLL=12000 | Option 9 X=2750 VOLL=18000 | Option 10 X=1708 VOLL=18000
URS |  | 345 | 9000 | 9000 | 9000 | 9000 | 9000 | 9000
RRS=2300 | RRS | 2645 | 3135.4035 | N/A | N/A | 5318.0951 | N/A | 4758.8427
| NSRS | 4645 | 13.0829 | N/A | N/A | 442.5509 | N/A | 206.1086
RRS=2750 | RRS | 3095 | N/A | 9000 | 5004.1189 | N/A | 7977.1426 | N/A
| NSRS | 5095 | N/A | 1192.5037 | 596.2518 | N/A | 663.8264 | N/A
Parameters
|  | Mu | 171.25 | 171.25 | 171.25 | 171.25 | 171.25 | 171.25
|  | Sigma | 1215.67 | 1215.67 | 1215.67 | 1215.67 | 1215.67 | 1215.67
|  | Mu' | 85.625 | 85.625 | 85.625 | 85.625 | 85.625 | 85.625
|  | Sigma' | 859.6085 | 859.6085 | 859.6085 | 859.6085 | 859.6085 | 859.6085
|  | VOLL | 9000 | 18000 | 9000 | 12000 | 18000 | 18000
|  | X | 2000 | 3095 | 3095 | 2300 | 2750 | 1708
|  | RRS | 2300 | 2750 | 2750 | 2300 | 2750 | 2300
|  | Load RRS | 1150 | 1375 | 1375 | 1150 | 1375 | 1150
|  | Gen RRS | 1150 | 1375 | 1375 | 1150 | 1375 | 1150
|  | Gen Regup | 345 | 345 | 345 | 345 | 345 | 345
|  | Gen NSRS | 2000 | 2000 | 2000 | 2000 | 2000 | 2000

## URS+RRS Requirements
URS+RRS with 2750 MW RRS Floor |  |  |  | 2016
HE | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct (*) | Nov (*) | Dec (*) | (*) are estimated numbers for the months which will need to be recalculated.
1 | 3088.3333 | 3273 | 3282 | 3380 | 3361 | 3133 | 3056 | 3115 | 3110 | 3367 | 3255 | 3069 | Jan-Sept values are not expected to change once the proposed 2016 AS Methodology changes are approved. The values will be published by December 20th 2015 officially pending TAC and BOD approval.
2 | 3030.3333 | 3245 | 3239 | 3277 | 3261 | 3085 | 3020 | 3002 | 2994 | 3270 | 3222 | 3006
3 | 3008.3333 | 3252 | 3234 | 3228 | 3250 | 2995 | 2980 | 3000 | 2975 | 3227 | 3352 | 3195
4 | 3042.3333 | 3253 | 3241 | 3247 | 3253 | 2952 | 2955 | 2957 | 2957 | 3224 | 3342 | 3211
5 | 3149.3333 | 3326 | 3297 | 3319 | 3267 | 2993 | 2995 | 2975 | 2992 | 3250 | 3420 | 3285
6 | 3332.3333 | 3524 | 3474 | 3452 | 3433 | 3146 | 3101 | 3095 | 3172 | 3415 | 3617 | 3505
7 | 3342.6522 | 3501.3333 | 3382.3333 | 3429.3333 | 3404.3333 | 3290 | 3202 | 3261 | 3370 | 3384 | 3634 | 3394
8 | 3061.6522 | 3157.3333 | 3216.3333 | 3117.3333 | 3150.3333 | 3156 | 3153 | 3117 | 3045 | 3137 | 3275 | 3091
9 | 3033.6522 | 3111.3333 | 3159.3333 | 3203.3333 | 3188.3333 | 3221 | 3245 | 3225 | 3210 | 3151 | 3315 | 3081
10 | 3021.6522 | 3115.3333 | 3102.3333 | 3091.3333 | 3135.3333 | 3206 | 3241 | 3235 | 3179 | 3169 | 3258 | 3098
11 | 3017.6522 | 3137.3333 | 3079.3333 | 3064 | 3115 | 3250 | 3284 | 3273 | 3216 | 3074 | 3043 | 3092
12 | 2973.6522 | 3104.3333 | 3096.3333 | 3040 | 3086 | 3154 | 3239 | 3249 | 3221 | 3113 | 3088 | 3059
13 | 2940.6522 | 3089.3333 | 3083.3333 | 3046 | 3042 | 3113 | 3152 | 3167 | 3167 | 3107 | 3036 | 3097
14 | 2948.6522 | 3066.3333 | 3095.3333 | 3044 | 3048 | 3055 | 3096 | 3126 | 3094 | 3063 | 3033 | 3082
15 | 3043.3333 | 3061.3333 | 3056.3333 | 3008 | 3045 | 3016 | 3046 | 3039 | 3045 | 3011 | 2996 | 3048
16 | 3011.3333 | 3046.3333 | 3047.3333 | 3004 | 3022 | 3019 | 3030 | 3030 | 3017 | 2985 | 3012 | 3035
17 | 3066.3333 | 3062.3333 | 3049.3333 | 3009 | 3023 | 2992 | 3037 | 3020 | 3027 | 3040 | 3078 | 3054
18 | 3323.3333 | 3168.3333 | 3079.3333 | 3051 | 3025 | 2993 | 3044 | 3040 | 2988 | 3015 | 3238 | 3327
19 | 3079.6522 | 3271.3333 | 3172.3333 | 3077.3333 | 3041 | 3009 | 3055 | 3076 | 3025 | 3049 | 3014 | 3015
20 | 2948.6522 | 3018.3333 | 3223.3333 | 3153.3333 | 3105 | 3028 | 3102 | 3106 | 3066 | 3053 | 3004 | 3004
21 | 2952.6522 | 3057.3333 | 3086.3333 | 3203.3333 | 3105 | 3013 | 3058 | 3030 | 3001 | 2955 | 3039 | 3012
22 | 2971.6522 | 3108.3333 | 3070.3333 | 3147.3333 | 3075 | 3111 | 3138 | 3110 | 3118 | 3024 | 3110 | 3056
23 | 3128.3333 | 3334 | 3351 | 3407 | 3479 | 3217 | 3156 | 3120 | 3172 | 3330 | 3356 | 3178
24 | 3058.3333 | 3282 | 3329 | 3384 | 3446 | 3175 | 3120 | 3101 | 3140 | 3380 | 3305 | 3137
URS Requirements | 2016 Apr: 2016
HE | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct (*) | Nov (*) | Dec (*)
1 | 280 | 273 | 282 | 380 | 361 | 383 | 306 | 365 | 360 | 365 | 253 | 261
2 | 222 | 245 | 239 | 277 | 261 | 335 | 270 | 252 | 244 | 268 | 220 | 198
3 | 200 | 252 | 234 | 228 | 250 | 245 | 230 | 250 | 225 | 225 | 220 | 193
4 | 234 | 253 | 241 | 247 | 253 | 202 | 205 | 207 | 207 | 222 | 210 | 209
5 | 341 | 326 | 297 | 319 | 267 | 243 | 245 | 225 | 242 | 248 | 288 | 283
6 | 524 | 524 | 474 | 452 | 433 | 396 | 351 | 345 | 422 | 413 | 485 | 503
7 | 647 | 693 | 574 | 621 | 596 | 540 | 452 | 511 | 620 | 576 | 632 | 586
8 | 366 | 349 | 408 | 309 | 342 | 406 | 403 | 367 | 295 | 329 | 273 | 283
9 | 338 | 303 | 351 | 395 | 380 | 471 | 495 | 475 | 460 | 343 | 313 | 273
10 | 326 | 307 | 294 | 283 | 327 | 456 | 491 | 485 | 429 | 361 | 256 | 290
11 | 322 | 329 | 271 | 314 | 365 | 500 | 534 | 523 | 466 | 324 | 235 | 284
12 | 278 | 296 | 288 | 290 | 336 | 404 | 489 | 499 | 471 | 363 | 280 | 251
13 | 245 | 281 | 275 | 296 | 292 | 363 | 402 | 417 | 417 | 357 | 228 | 289
14 | 253 | 258 | 287 | 294 | 298 | 305 | 346 | 376 | 344 | 313 | 225 | 274
15 | 235 | 253 | 248 | 258 | 295 | 266 | 296 | 289 | 295 | 261 | 188 | 240
16 | 203 | 238 | 239 | 254 | 272 | 269 | 280 | 280 | 267 | 235 | 204 | 227
17 | 258 | 254 | 241 | 259 | 273 | 242 | 287 | 270 | 277 | 290 | 270 | 246
18 | 515 | 360 | 271 | 301 | 275 | 243 | 294 | 290 | 238 | 265 | 430 | 519
19 | 384 | 463 | 364 | 269 | 291 | 259 | 305 | 326 | 275 | 299 | 206 | 207
20 | 253 | 210 | 415 | 345 | 355 | 278 | 352 | 356 | 316 | 303 | 196 | 196
21 | 257 | 249 | 278 | 395 | 355 | 263 | 308 | 280 | 251 | 205 | 231 | 204
22 | 276 | 300 | 262 | 339 | 325 | 361 | 388 | 360 | 368 | 274 | 302 | 248
23 | 320 | 334 | 351 | 407 | 479 | 467 | 406 | 370 | 422 | 328 | 354 | 370
24 | 250 | 282 | 329 | 384 | 446 | 425 | 370 | 351 | 390 | 378 | 303 | 329
RRS Requirements | 2016 Apr: 2016
HE | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct (*) | Nov (*) | Dec (*)
1 | 2808.3333 | 3000 | 3000 | 3000 | 3000 | 2695.6522 | 2702.2222 | 2702.2222 | 2695.6522 | 3002 | 3002 | 2808
2 | 2808.3333 | 3000 | 3000 | 3000 | 3000 | 2695.6522 | 2702.2222 | 2702.2222 | 2695.6522 | 3002 | 3002 | 2808
3 | 2808.3333 | 3000 | 3000 | 3000 | 3000 | 2695.6522 | 2702.2222 | 2702.2222 | 2695.6522 | 3002 | 3132 | 3002
4 | 2808.3333 | 3000 | 3000 | 3000 | 3000 | 2695.6522 | 2702.2222 | 2702.2222 | 2695.6522 | 3002 | 3132 | 3002
5 | 2808.3333 | 3000 | 3000 | 3000 | 3000 | 2695.6522 | 2702.2222 | 2702.2222 | 2695.6522 | 3002 | 3132 | 3002
6 | 2808.3333 | 3000 | 3000 | 3000 | 3000 | 2695.6522 | 2702.2222 | 2702.2222 | 2695.6522 | 3002 | 3132 | 3002
7 | 2695.6522 | 2808.3333 | 2808.3333 | 2808.3333 | 2808.3333 | 2702.2222 | 2478.8732 | 2478.8732 | 2702.2222 | 2808 | 3002 | 2808
8 | 2695.6522 | 2808.3333 | 2808.3333 | 2808.3333 | 2808.3333 | 2702.2222 | 2478.8732 | 2478.8732 | 2702.2222 | 2808 | 3002 | 2808
9 | 2695.6522 | 2808.3333 | 2808.3333 | 2808.3333 | 2808.3333 | 2702.2222 | 2478.8732 | 2478.8732 | 2702.2222 | 2808 | 3002 | 2808
10 | 2695.6522 | 2808.3333 | 2808.3333 | 2808.3333 | 2808.3333 | 2702.2222 | 2478.8732 | 2478.8732 | 2702.2222 | 2808 | 3002 | 2808
11 | 2695.6522 | 2808.3333 | 2808.3333 | 2695.6522 | 2695.6522 | 2538.4615 | 2538.4615 | 2300 | 2478.8732 | 2696 | 2808 | 2808
12 | 2695.6522 | 2808.3333 | 2808.3333 | 2695.6522 | 2695.6522 | 2538.4615 | 2538.4615 | 2300 | 2478.8732 | 2696 | 2808 | 2808
13 | 2695.6522 | 2808.3333 | 2808.3333 | 2695.6522 | 2695.6522 | 2538.4615 | 2538.4615 | 2300 | 2478.8732 | 2696 | 2808 | 2808
14 | 2695.6522 | 2808.3333 | 2808.3333 | 2695.6522 | 2695.6522 | 2538.4615 | 2538.4615 | 2300 | 2478.8732 | 2696 | 2808 | 2808
15 | 2808.3333 | 2808.3333 | 2808.3333 | 2695.6522 | 2702.2222 | 2538.4615 | 2300 | 2300 | 2538.4615 | 2696 | 2808 | 2808
16 | 2808.3333 | 2808.3333 | 2808.3333 | 2695.6522 | 2702.2222 | 2538.4615 | 2300 | 2300 | 2538.4615 | 2696 | 2808 | 2808
17 | 2808.3333 | 2808.3333 | 2808.3333 | 2695.6522 | 2702.2222 | 2538.4615 | 2300 | 2300 | 2538.4615 | 2696 | 2808 | 2808
18 | 2808.3333 | 2808.3333 | 2808.3333 | 2695.6522 | 2702.2222 | 2538.4615 | 2300 | 2300 | 2538.4615 | 2696 | 2808 | 2808
19 | 2695.6522 | 2808.3333 | 2808.3333 | 2808.3333 | 2695.6522 | 2478.8732 | 2538.4615 | 2538.4615 | 2478.8732 | 2696 | 2808 | 2808
20 | 2695.6522 | 2808.3333 | 2808.3333 | 2808.3333 | 2695.6522 | 2478.8732 | 2538.4615 | 2538.4615 | 2478.8732 | 2696 | 2808 | 2808
21 | 2695.6522 | 2808.3333 | 2808.3333 | 2808.3333 | 2695.6522 | 2478.8732 | 2538.4615 | 2538.4615 | 2478.8732 | 2696 | 2808 | 2808
22 | 2695.6522 | 2808.3333 | 2808.3333 | 2808.3333 | 2695.6522 | 2478.8732 | 2538.4615 | 2538.4615 | 2478.8732 | 2696 | 2808 | 2808
23 | 2808.3333 | 3000 | 3000 | 3000 | 3000 | 2695.6522 | 2702.2222 | 2702.2222 | 2695.6522 | 3002 | 3002 | 2808
24 | 2808.3333 | 3000 | 3000 | 3000 | 3000 | 2695.6522 | 2702.2222 | 2702.2222 | 2695.6522 | 3002 | 3002 | 2808