| RRGRR Number | 008 | RRGRR Title | Alignment with NPRR705, Provides Consistency for References to the End Date of the Generation Interconnection Process |
| --- | --- | --- | --- |
| Date of Decision |  | December 16, 2015 |  |
| Action |  | Approved |  |
| Timeline |  | Normal |  |
| Effective Date |  | Upon system implementation |  |
| Priority and Rank Assigned |  | Not applicable |  |
| Guide Sections Requiring Revision |  | Section 2, Resource Registration Glossary |  |
| Related Documents Requiring Revision/Revision Requests |  | Nodal Protocol Revision Request (NPRR) 705, Provides Consistency for References to the End Date of the Generation Interconnection Process Nodal Operating Guide Revision Request (NOGRR) 145, Alignment with NPRR705, Provides Consistency for References to the End Date of the Generation Interconnection Process Planning Guide Revision Request (PGRR) 045, Alignment with NPRR705, Provides Consistency for References to the End Date of the Generation Interconnection Process |  |
| Revision Description |  | In the Resource Interconnection Handbook, the term “commercial operations” has a different meaning to Resource Entities and financial institutions involved in construction and financing of Generation Resources than it does in the context of performance testing by ERCOT for new Generation Resources. This Recourse Registration Glossary Revision Request (RRGRR) aligns the Resource Registration Glossary with NPRR705 by replacing various terms used to refer to the date on which Generation Resources complete the Resource interconnection process with the proposed defined terms “Commercial Operations Date” and “Resource Commissioning Date” to provide consistency for references to the end of the generation interconnection process. |  |
| Reason for Revision |  | Addresses current operational issues Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | Clears up confusion regarding various terms used to describe the end of the generation interconnection process and prevents potential schedule delays in bringing new Resources online. |  |
| RDWG Decision |  | On 7/14/15, the Resource Data Working Group (RDWG) was in consensus to recommend approval of RRGRR008 as revised by RDWG. On 8/18/15, RDWG was in consensus to endorse and forward to ROS the 7/14/15 RDWG Report and Impact Analysis for RRGRR008. |  |
| Summary of RDWG Discussion |  | On 7/14/15, participants discussed the reference to Protocol Section 4.4.9.4.1, Mitigated Offer Cap, in cell H73 of the Resource Registration Glossary. Participants recommended removing the reference as it is not necessary and only creates an opportunity for misalignment with the Protocols in the future. On 8/18/15, participants discussed the associated Revision Requests and decided to move this RRGRR forward; noting changes to any of the four associated requests may require parallel changes at ROS. |  |
| ROS Decision |  | On 9/3/15, ROS unanimously voted to table RRGRR008. All Market Segments were present for the vote. On 10/8/15, ROS unanimously voted to recommend approval of RRGRR008 as recommended by RDWG in the 8/18/15 RDWG Report. All Market Segments were present for the vote. |  |
| Summary of ROS Discussion |  | On 9/3/15, participants agreed to table RRGRR008 to allow for review of the associated Revision Requests. On 10/8/15, there was no discussion. |  |
| TAC Decision |  | On 10/29/15, TAC unanimously voted to table RRGRR008. All Market Segments were present for the vote. On 12/16/15, TAC unanimously voted via e-mail vote to approve RRGRR008 as recommended by ROS in the 10/8/15 ROS Report. All Market Segments were present for the vote. |  |
| Summary of TAC Discussion |  | On 10/29/15, participants noted that RRGRR008 is related to NPRR705 and that a TAC review of NPRR705 is necessary before a recommendation can be provided regarding RRGRR008. On 12/16/15, there was no discussion. |  |

| Sponsor |  |
| --- | --- |
| Name | Ted Hailu |
| E-mail Address | thailu@ercot.com |
| Company | ERCOT |
| Phone Number | (512) 248-3873 |
| Cell Number | (512) 431-8494 |
| Market Segment | Not applicable. |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Lindsay Butterfield |
| E-Mail Address | Lindsay.Butterfield@ercot.com |
| Phone Number | 512-248-6521 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None |  |

Market Rules Notes

The proposed changes to Section 2, Resource Registration Glossary, are included in the spreadsheet 008RRGRR-10a TAC Report 121615.

Please note that the baseline Resource Registration Glossary language in Section 2 has been updated to reflect the incorporation of RRGRR006, Clarification of Descriptions and Alignment with Resource Asset Registration Forms, into the November 1, 2015 Resource Registration Glossary.

Please also note the following RRGRR also proposes revisions to Section 2:

- RRGRR007, Adding Solar Resource Registration Inputs

Proposed Guide Language Revision

# 2	Resource Registration Glossary

See electronic Microsoft Office Excel© file on the ERCOT website posted with the Resource Registration Glossary.