| COPMGRR Number | 040 | COPMGRR Title | Alignment with NPRR719, Removal of Trigger and Requirement to Reduce the Distributed Generation (DG) Registration Threshold |
| --- | --- | --- | --- |
| Date of Decision |  | December 16, 2015 |  |
| Action |  | Approved |  |
| Timeline |  | Normal |  |
| Effective Date |  | Upon system implementation |  |
| Priority and Rank Assigned |  | Not applicable |  |
| Commercial Operations Market Guide Sections Requiring Revision |  | 10.3.1, Reporting Requirements for Non Opt-In Entities 10.3.2, Reporting Requirements for Competitive Areas 10.3.3, Reporting Requirements for ERCOT |  |
| Related Documents Requiring Revision/Related Revision Requests |  | Nodal Protocol Revision Request (NPRR) 719, Removal of Trigger and Requirement to Reduce the Distributed Generation (DG) Registration Threshold |  |
| Revision Description |  | This Commercial Operations Market Guide Revision Request (COPMGRR) aligns language with the Nodal Protocols by removing the inclusion of the new proposed threshold for DG registration threshold as defined in Protocol Section 16.5, Registration of a Resource Entity, in the ERCOT Unregistered Distributed Generation Report, which is published on the Market Information System (MIS) Public Area. NPRR719 removes the trigger and requirement to reduce the DG registration threshold from Protocol Section 16.5, eliminating the new proposed threshold for DG registration. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | The Commercial Operations Market Guide (COPMG) and the Nodal Protocols need to be aligned with one another to provide consistency and eliminate confusion. Protocol changes proposed by NPRR719 remove the requirement for ERCOT to report on the new proposed threshold for DG registration threshold.as defined in Protocol Section 16.5. |  |
| CSWG Decision |  | On 8/24/15, the Communications and Settlements Working Group (CSWG) was in consensus to recommend approval of COPMGRR040 as amended by the 7/28/15 Reliant Energy comments and revised by CSWG. On 9/14/15, CSWG was in consensus to endorse and forward to COPS the 8/24/15 CSWG Report and the Impact Analysis for COPMGRR040. |  |
| Summary of CSWG Discussion |  | On 8/24/15, participants discussed the 7/28/15 Reliant Energy comments and updated the ERCOT email address in Section 10.3.1. On 9/14/15, there was no discussion. |  |
| COPS Decision |  | On 10/14/15, COPS unanimously voted to recommend approval of COPMGRR040 as recommended by CSWG in the 9/14/15 CSWG Report. The Consumer and Independent Retail Electric Provider (IREP) Market Segments were not present for the vote. |  |
| Summary of COPS Discussion |  | On 10/14/15, there was no discussion. |  |
| TAC Decision |  | On 10/29/15, TAC unanimously voted to table COPMGRR040. All Market Segments were present for the vote. On 12/16/15, TAC unanimously voted via e-mail vote to approve COPMGRR040 as recommended by COPS in the 10/14/15 COPS Report. All Market Segments were present for the vote. |  |
| Summary of TAC Discussion |  | On 10/29/15, participants noted that COPMGRR040 is related to NPRR719 and that a TAC review of NPRR719 is necessary before a recommendation can be provided regarding COPMGRR040. On 12/16/15, there was no discussion. |  |

| Sponsor |  |
| --- | --- |
| Name | Michelle Trenary on behalf of the Commercial Operations Subcommittee (COPS) |
| E-mail Address | mtrenary@tnsk.com |
| Company | Tenaska Power Services Co. |
| Phone Number | 817-303-3613 |
| Cell Number | 682-551-3044 |
| Market Segment | Not applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Lindsay Butterfield |
| E-Mail Address | Lindsay.Butterfield@ercot.com |
| Phone Number | 512-248-6521 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| Reliant 072815 | Recommended additional changes to expand unregistered DG reporting requirements for competitive territories. |

Revised Proposed Guide Language

10.3.1	Reporting Requirements for Non Opt-In Entities

(1)	This Section describes the data that shall be submitted to ERCOT for the unregistered Distributed Generation (DG) behind Non-Opt-In Entity (NOIE) boundary metering points as required by paragraph (2)(e) of Protocol Section 10.2.2, TSP and DSP Metered Entities.

(2)	Within ten Business Days after the end of each quarter, the NOIE shall submit to ERCOT electronically, the required data described below as of the last day of the prior quarter.  The data shall be submitted using the generic form developed by ERCOT and e-mailed to ERCOTLoadProfilingDepartment@ercot.com.  The Non-Opt-In-Entity Distributed Generation Reporting Form is located on the ERCOT website under Services/Registration and Qualification/Resource Entities.  The report shall include the total NOIE’s unregistered DG MW capacity above 50 kW and equal to or below the DG registration threshold by Load Zone and by primary fuel type as follows:

(a)	Solar

(b)	Wind

(c) 	Other renewable; and

(d) 	Other non-renewable.

10.3.2	Reporting Requirements for Competitive Areas

The data for competitive areas will be compiled from the reports submitted to ERCOT as found in the Load Profiling Guide, Appendix D, Load Profiling Decision Tree, DG Tab.

10.3.3	Reporting Requirements for ERCOT

(1)	Within 30 days after the end of each quarter, ERCOT shall publish the Unregistered Distributed Generation Report on the Market Information System (MIS) Public area.  This report shall include the aggregated data compiled for NOIE and competitive areas.  This report shall include the total unregistered DG MW capacity, as provided in accordance with Section 10.3.1, Reporting Requirements for Non Opt-In Entities, and Section 10.3.2, Reporting Requirements for Competitive Areas, above, by Load Zone and by primary fuel type as follows:

(a)	Solar

(b)	Wind

(c)	Other renewable; and

(d)	Other non-renewable.

(2)	ERCOT shall update the Commercial Operations Subcommittee (COPS) on an as needed basis on the Unregistered Distributed Generation Report.