## Sheet1
| comments | Contact | Responses
1 | I did not see a discussion on how ERCOT plans to manage the situation when solar and wind exceeds the maximum allowable, what I call extreme renewables. Aren't you going to need a smart controller at each home installation to throttle back the total solar power? This ability is going to be important and I think both Ideal Power and Elon Musks system can be made smart enough to allow ERCOT to control an over production of solar power. To see how extreme this can become, take a look at what happens when you extreme renewables in this graph below which was created using actual hourly wind and solar at six locations in ERCOT: Emacs! I recommend you use actual historical solar and wind data rather than spending a lot of time on forecasting because a forecast of extreme renewable power does not tell you how to manage that situation. If you know how to manage extreme renewables in real time the forecast becomes less important. | Gene Preston | The ERCOT grid may have excess renewable production from wind or solar occasionally and this excess power will have to be curtailed due to the over-supply of generation or congestion problem. While this is very important to be addressed or explored further, it is out of the scope of work discussed in this white paper.
2 | 1. Suggestion for future expansion of white paper "Solar Generation Integration Whitepaper." Impacts of greater numbers of rooftop solar installations. Currently about 15-20K across ERCOT, but how about when reach 250K installations (as in California today) and 1.4M installations (as in Australia today). How does the distributed nature of these installations impact reliability and reduce transmission losses at (or near) peak demand periods. 2. While cloud movements can effect solar production on a real-time or near real-time basis, what are the broader impacts of the correlation of daily solar production with the grid's daily energy consumption on bright sunny summer days (peak demand periods) vs cloudy rainy cooler days in the summer. For example on Aug 18 this year, the ERCOT daily peak was 65,291 MW, while two days later on Aug 20, the ERCOT daily peak was 43,452 MW | Larry Howe | The modelling of distributed solar resources has been briefly discussed in Section 7. A high penetration of rooftop PVs could require more analysis and examination of the technical issues that may arise. A forum was established to facilitate the discussion of these aspects by DISTRIBUTED RESOURCE ENERGY AND ANCILLARIES MARKET TASK FORCE. http://www.ercot.com/committees/board/tac/dreamtf
3 | Have dynamic department to look atsome discussion on Solar Dynamic Modeling | Brad Woods | The white paper has been reviewed by dynamic department and the comments have been incorporated into the revision of the whitepaper.
4 | These are the points CIASO has and there are some that are required for some types of solar and not others. Look at 3.2.2 http://www.caiso.com/Documents/AppendixQ_EligibleIntermittentResourcesProtocolEIRP_Aug1_2014.pdf | John D. Varnell | Thanks for pointing to this reference. First, the solar meteorological data is very critical to the acuccary of the PV solar forecast. The solar meteorological datarequirement at ERCOT was determined based on the feedbacks from the solar forecasting vendor and the PVGRs. Since PV is the only technology in existence and in the planned queue for the ERCOT grid, the solar meteorological data requirement proposed only considers PVGRs.
5 | One of the other issues is the rapid drop of of solar compared to the load profile. I've seen Ercot estimates showing the need for 17,000mw of generation needing to ramp quickly after 4pm until 7 or 8 when the wind ramps up. That's going to require a lot of storage; quick start turbines or the new GE style Combined cycle that acts like a CT and a standard combined cycle. | David Power <dpower@CITIZEN.ORG> | The integration of renewable resources would require more ramping flexibility to maintain the reliability. This is outside of the scope of work discussed in this whitepaper.
6 | Check out Figure 59: Summer Renewable Production and the accompanying text (report page 70-71) of this filed report to the Texas Public Utility Commission project # 34677 - "2014 ERCOT State of the Market Report". http://interchange.puc.texas.gov/WebApp/Interchange/application/dbapps/filings/pgSearch_Results.asp?TXT_CNTR_NO=34677&TXT_ITEM_NO=10 <https://groups.yahoo.com/neo/groups/NTREG/photos/albums/642861637/lightbox/1319678885?orderBy=ordinal&sortOrder=asc&photoFilter=ALL#> This seems to be pointing to the potential for a good combination of solar and coastal winds (vs non-coastal wind) for correlating to summer demand alignment. Regards, Larry | Richard "Larry" Howe <rlhowejr@GMAIL.COM> | There will be a good potential for the solar production to be aligned with the summer peak demand for the ERCOT grid. A further analysis to validate this can be performaned in the future when the level of the PV power production reaches a point comparable to the load demand.
7 | it would help to provide citations to the data given in the paper, so that the reader can obtain more context if desired; and there also appears to be some internal inconsistency on how accurate the PV forecast is or can be. | Townsend, Aaron <Aaron.Townsend@austinenergy.com> | The comments were well received, and these have been corrected.
8 | [1]Citation? What accuracy would ERCOT considere low, medium, or high? The error metrics presented later have MAPE values of 6-8% which is similar in magnitude to the load forecast error. |  | The comments have been fully addressed in the revision of the paper.
[2] The webpage at this url is no longer available
[3] Apparent contradiction with earlier statement about solar forecast accuracy being low. Are wind forecasts also considered to be have low accuracy?