## Slide 1
OCITF Update
Dan Woodfin
Director, System Operations
ROS
ERCOT Public
January 7, 2016

## Slide 2: Update
ERCOT drafted NPRR language for OCITF review and comment
  The draft NPRR was structured around the resolution of issues previously voted on by ROS and WMS
  This language includes the creation of a high impact outage list, the rescheduled outage concept, and also includes the posting of high impact outages submitted with <90 days notice
OCITF met on December 1, 2015 and reviewed the draft language at its meeting
  Changes were incorporated into the draft NPRR language based on meeting participants’ input
  ERCOT also shared a potential process for developing the High Impact Transmission Element list and the results of that process
The following slides provide an overview of some of the concepts and definitions in the draft NPRR

## Slide 3: Draft NPRR Concepts
High Impact Transmission Element (HITE)
  Transmission Element whose outage may result in increased risk of congestion under certain conditions
  Identification of HITEs is discussed on next slide
Rescheduled Outage
  Planned Outage on a HITE that is submitted with >90 days notice, is originally approved but that approval later needs to be withdrawn, but is successfully rescheduled instead of withdrawn
High Impact Outage
  Planned Outage on a HITE

## Slide 4: Identification of HITEs
HITEs are identified through an annual process:
  ERCOT develops a list of Transmission Elements(TEs) whose outage has resulted in significant congestion in the past
  Stakeholders review list through a formal process and make any adjustments to add or subtract TEs from the list based on known facts (e.g. completed transmission upgrades or new generators)
  TAC reviews the modified list and approves it as the HITE list
  ERCOT posts the HITE list

## Slide 5: MIS Postings
The most updated list of HITEs
A High Impact Outage list containing each High Impact Outage that was submitted with ≤ 90 days notice and was approved
  Updated daily

## Slide 6
Questions or Comments?