## Slide 1: January 14, 2016 MWG Meeting EPS Meter Communications Information (Phone vs. IP Comms Type)

## Slide 3
Communications Notices Issued in Accordance with SMOG, Appendix C, for 2015
- Meter Population by Comm Type
Percentage
Phone 1073 77.9%
IP 304 22.1%
TOTAL Meters 1377
- Notices Issued
Percentage
Phone 1591 96.5%
IP 58 3.5%
TOTAL Issued 1649
6-Hour Notices Issued 88 5.3%
12-Hour Notices Issued 744 45.1%
5-Day Notices Issued 817 49.6%

## Slide 4
Communications Notices Issued in Accordance with SMOG, Appendix C, for 2015
- Notices per Meter (by Comm Type)
#Meters #Notices #Notices per Meter/2015
Phone 1073 1591 1.48
IP 304 58 0.19
TOTAL Meters 1377 1649 1.20
- Additional Observations
  At 0.19 notices per IP meter, if all meters were on IP only 262 total notices would have been issued from current level (1377 x 0.19 = 262)
  262 notices would represent an approx. 84% drop from current level (262/1649 = 0.16, or approx. 84%)
  There has NEVER been a 6-Hour notice issued for an IP Meter.