| NPRR Number | 562 | NPRR Title | Subsynchronous Resonance |
| --- | --- | --- | --- |
| Date |  | April 03, 2015 |  |
| Submitter’s Information |  |  |  |
| Name |  | Dylan Preas |  |
| E-mail Address |  | dylan.preas@lcra.org |  |
| Company |  | LCRA TSC |  |
| Phone Number |  | 512-578-4514 |  |
| Cell Number |  |  |  |
| Market Segment |  | Cooperative Market Segment |  |

Comments

On March 13, 2015, ERCOT held a workshop with stakeholders to discuss assessment approaches on Subsynchronous Resonance (SSR) in preparation for the continuation of detail development of NPRR562.  ERCOT solicited stakeholder comments by April 3, 2015. Below are LCRA TSC comments focusing on two (2) administrative items related to SSR/SSO assessments.  It is LCRA TSC’s request that these comments be considered in light of future NPRR562 revisions.

Item 1

While in many instances transmission planning is inherently a collaborative effort among stakeholders, it is important that the party with lead responsibility for the SSR/SSO assessment at various stages be clearly identified in the Protocols.  In particular, the “designated TSP” responsible for the SSR/SSO assessment needs to be clearly identified for various initiating conditions.

LCRA TSC recommends that a matrix similar to the one below be utilized for assigning the responsibility for the SSR/SSO assessment.

| Triggering Condition | Study responsibility | Study cost responsibility |
| --- | --- | --- |
| One-time post-CREZ assessment | ERCOT | ERCOT |
| Annual review | ERCOT (e.g., as part of the RTP development or other means) | ERCOT |
| Assessment of new generation interconnection | TSP assigned the GINR (e.g., as part of the FIS process) | Interconnecting Entity (IE) |
| Assessment of new series capacitor(s) impact on existing generation | TSP owning the new series capacitor(s) (e.g., as part of RPG project review) | TSP owning the series capacitor(s) |
| Assessment of new or re-configuration of transmission element on existing generation | TSP owning the new transmission element(s) (e.g., as part of RPG project review) | TSP owning the new transmission element(s) |

Item 2

At the March 13 workshop, there was some concern expressed regarding the limitations for conducting an SSR/SSO assessment during the Full Interconnect Study (FIS) time frame. In particular, some concern was voiced about being unable to complete an SSR/SSO assessment within 180 days.  However, it should be noted that the 180 day timeframe is the timeframe required for executing an Interconnect Agreement post-FIS study completion.  Per the ERCOT Resource Interconnection Handbook, as well as Section 5.7.5 of the Planning Guide, there is no explicit time requirement for completion of an FIS study or SSR/SSO assessment.

LCRA TSC recommends a general review of the study sequencing and recommended study timeframes referenced in the present ERCOT Resource Interconnection Handbook and in Section 5.7.5 of the Planning Guide be conducted and be revised as appropriate to: 1) allow adequate flexibility to complete the SSR/SSO assessment requirements either during the FIS or within a suitable timeframe prior to commercial operation; and 2) align with the SSR/SSO assessment requirements to be developed in NPRR562.

Revised Proposed Protocol Language

None at this time.