| NPRR Number | 711 | NPRR Title | Increase the Interval Data Recorder Meter Mandatory Install Requirement from 700 kW/kVA to 1.5 MW/MVA |
| --- | --- | --- | --- |
| Date |  | October 13, 2015 |  |
| Submitter’s Information |  |  |  |
| Name |  | John Varnell |  |
| E-mail Address |  | jvarnell@tnsk.com |  |
| Company |  | Tenaska Power Services Co. |  |
| Phone Number |  | 817-462-1037 |  |
| Cell Number |  | 817-312-7261 |  |
| Market Segment |  | Independent Power Marketer (IPM) |  |

Comments

The workshops for Nodal Protocol Revision Request (NPRR) 711 have made it clear there are many moving parts in the data path for Interval Data Recorder (IDR) and Advanced Metering System (AMS) meters.  To improve the meter data availability for Initial Settlements for IDR meters, two steps can be taken.

First, a System Change Request (SCR) needs to be written to make a change in the meter data input process, so data entered by the AMS process and meter data entered by the IDR process can both be used like the traditional IDR  meter data.  AMS data should be populated for these Electric Service Identifiers (ESIDs) as received, then when, and if, IDR meter data is received it should replace the AMS data for that same time period.

Second, when a request comes in, as allowed by Protocol Section 18.6.1(1)(3), to the Transmission Service Provider (TSP) and Distribution Service Provider (DSP), they will install an IDR meter in parallel with the existing AMS meter, if one exists and an AMS meter is not being used as an IDR meter for ERCOT.

Revised Cover Page Language

None

Revised Proposed Protocol Language

18.6.1	Interval Data Recorder Meter Mandatory Installation Requirements

(1)	Interval Data Recorder (IDR) Meters are required and shall be installed and utilized for Settlement of Premises having either:

(a)	A peak Demand greater than 1.5 MW (or 1.5 MVA in CenterPoint Energy’s service territory); or

(b)	Service provided at transmission voltage (above 60 kV).

(2)	For the IDR Meter installation process, refer to the Retail Market Guide Section 7.13.2.2, Mandatory Interval Data Recorder Installation Process.

(3)	A Competitive Retailer (CR), upon a Customer’s request or with a Customer’s authorization, may have an IDR Meter installed in parallel with an Advanced Metering System (AMS) meter if one exists and used for Settlement purposes at any associated Premise.  Except as stated in paragraph (5) below, IDR Meters in place or installed after September 1, 1999 shall be used for Settlement.  Once an IDR Meter is installed at a Premise and used for Settlement purposes, the given Premise shall continue to be settled with its interval data, except as stated in Section 18.6.6, Interval Data Recorder Meter Optional Removal.  If a Customer or CR requests installation of an IDR Meter, the same Customer may not request removal of the IDR Meter for a period of 12 consecutive months following such installation.

(4)	All non-metered Loads such as street lighting, regardless of the aggregation level, shall not be required to install IDR Meters under the IDR Meter Mandatory Installation Requirements.  These Loads shall be settled using Load Profiles.

(5)	For Premises not subject to the IDR Meter Mandatory Installation Requirements in paragraph (1) above:

(a)	IDR Meters installed at the request of ERCOT, a Transmission Service Provider (TSP) and/or Distribution Service Provider (DSP), a Municipally Owned Utility (MOU), or an Electric Cooperative (EC) for Load research, rate/tariff design calculation, coincident Demand calculation, or Load Profiling purposes shall be exempt from the requirement to use an IDR Meter for Settlement purposes; or

(b)	IDR Meters previously used specifically for separating Non-Opt-In Entity (NOIE) Load from competitive Load shall be exempt from the requirement to use an IDR Meter for retail Customer Settlement purposes, provided that the IDR Meter has been removed within 120 consecutive days after the NOIE has fully implemented Customer Choice.  IDR Meters used for NOIE separation that do not meet the IDR Meter Mandatory Installation Requirements shall not be used for retail Customer Settlement purposes.

(6)	For IDR Meter installation procedures reference Section 10.3.3, TSP or DSP Metered Entities.

(7)	TSPs and/or DSPs responsible for any Load transfer schemes between the ERCOT Region and non-ERCOT Regions shall install IDR metering capable of measuring the Load served during the period the Load transfer is implemented.