## Slide 1
Item 7: PRS Report
Amanda Frazier
2016 PRS Chair
Technical Advisory Committee (TAC) Meeting
ERCOT Public
January 28, 2016
Notes: <number>

## Slide 2: Summary of PRS Update
Revision Requests Recommended for Approval by PRS – Unopposed (Vote):
NPRR691, Alignment of Protocols with NERC Reliability Standard, BAL-001-TRE-1*
NPRR713, Reactive Power Testing Requirements*
NPRR720, Update to Settlement Stability Reporting Requirements*
NPRR734, Digital Attestation Signature Authority Expansion*
NPRR739, Prohibiting Load Resources in Participating as Dynamically Scheduled Resources*
NPRR740, Retail Clarification and Cleanup*
NPRR742, CRR Balancing Account Invoice Data Cuts
NPRR743, Revision to MCE to Have a Floor For Load Exposure
(* denotes no impact)
Notes: <number>

## Slide 3: Additional PRS Items
Next Steps for NPRR667, Ancillary Service Redesign
NPRR667 Workshop scheduled for Monday, February 1st, to review Market Participant comments.
As noted in the preamble to the NPRR, ERCOT proposes an implementation date three years from the date of NPRR approval by the ERCOT Board.
PRS requests feedback from TAC on the expected timeline and next steps for NPRR667
Notes: <number>

## Slide 4: Appendix

## Slide 5: NPRR691, Alignment of Protocols with NERC Reliability Standard, BAL-001-TRE-1
Revision Description: This NPRR aligns Protocol language with NERC Reliability Standard, BAL-001-TRE-1.
Proposed Effective Date: Upon system implementation of Nodal Operating Guide Revision Request (NOGRR) 143, Alignment of Nodal Operating Guides with North American Electric Reliability Corporation (NERC) Reliability Standard, BAL-001-TRE-1, Primary Frequency Response in the ERCOT Region.
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. (impacts captured in Impact Analysis for NOGRR143)
PRS Decision: On 11/12/15, PRS voted to recommend approval of NPRR691 as amended by the 11/10/15 PDCWG comments. There were two abstentions from the Independent Generator and Consumer Market Segments. On 12/10/15, PRS unanimously voted to endorse and forward to TAC the 11/12/15 PRS Report as amended by the 12/4/15 ERCOT comments and the Impact Analysis for NPRR691. The Consumer Market Segment was not present for the vote.

## Slide 6: NPRR713, Reactive Power Testing Requirements
Revision Description: This NPRR revises the language in Section 8.1.1.2.1.4, Voltage Support Service Qualification, to reference the Reactive Power testing requirements in the Nodal Operating Guides and reflect the revisions to harmonize the Nodal Protocol requirements with recently approved NERC Reliability Standards.
Proposed Effective Date: Upon system implementation of NOGRR147, Reactive Power Testing Requirements
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. (impacts captured in Impact Analysis for NOGRR147)
PRS Decision: On 10/15/15, PRS unanimously voted to recommend approval of NPRR713 as amended by the 9/14/15 NRG comments. On 12/10/15, PRS unanimously voted to endorse and forward to TAC the 11/12/15 PRS Report and the Impact Analysis for NPRR713. The Consumer Market Segment was not present for the vote.

## Slide 7: NPRR720, Update to Settlement Stability Reporting Requirements
Revision Description: This NPRR updates and clarifies the Settlement stability reporting requirements included in Section 8.2, ERCOT Performance Monitoring.
Proposed Effective Date: March 1, 2016
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.
PRS Decision: On 12/10/15, PRS unanimously voted to recommend approval of NPRR720 as amended by the 12/9/15 Communications and Settlement Working Group (CSWG) comments. On 1/14/16, PRS unanimously voted to endorse and forward to TAC the 12/10/15 PRS Report and the Impact Analysis for NPRR720.

## Slide 8: NPRR734, Digital Attestation Signature Authority Expansion
Revision Description: This NPRR clarifies the list of authorized Market Participant employees capable of providing the required annual attestation related to Digital Certificates.
Proposed Effective Date: March 1, 2016
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.
PRS Decision: On 12/10/15, PRS unanimously voted to recommend approval of NPRR734 as amended by the 12/7/15 ERCOT comments. On 1/14/16, PRS unanimously voted to endorse and forward to TAC the 12/10/15 PRS Report and the Impact Analysis for NPRR734.

## Slide 9: NPRR739, Prohibiting Load Resources in Participating as Dynamically Scheduled Resources
Revision Description: This NPRR closes a gap in the Protocols to prohibit participation by sites associated with Dynamically Scheduled Resources (DSRs) as a Load Resource.
Proposed Effective Date: March 1, 2016
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.
PRS Decision: On 11/12/15, PRS unanimously voted to recommend approval of NPRR739 as amended by the 11/2/15 ERCOT comments and as revised by PRS. On 12/10/15, PRS unanimously voted to endorse and forward to TAC the 11/12/15 PRS Report and the Impact Analysis for NPRR739.

## Slide 10: NPRR740, Retail Clarification and Cleanup
Revision Description: This NPRR updates Section 15, Customer Registration, to clarify 867_02, 867_03 and 867_04 transactions are forwarded by ERCOT to the Competitive Retailer (CR) Data Universal Numbering System (DUNS) provided in the 867_02, 867_03 or 867_04 transactions received from the Transmission and/or Distribution Service Provider (TDSP).
Proposed Effective Date: March 1, 2016
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.
PRS Decision: On 12/10/15, PRS unanimously voted to recommend approval of NPRR740 as submitted. On 1/14/16, PRS unanimously voted to endorse and forward to TAC the 12/10/15 PRS Report and the Impact Analysis for NPRR740.

## Slide 11: NPRR742, CRR Balancing Account Invoice Data Cuts
Revision Description: This NPRR adds the prior month account fund balance CRRBAFBBAL as a new determinant to represent CRRBAF (m-1).
Proposed Effective Date: Upon system implementation
ERCOT Impact Analysis: Less than $10k (O&M); no impacts to ERCOT staffing; impacts to Market Information System (MIS), Settlements and Billing (S&B), and Enterprise Information Services (EIS); no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.
PRS Decision: On 12/10/15, PRS unanimously voted to recommend approval of NPRR742 as submitted. On 1/14/16, PRS unanimously voted to endorse and forward to TAC the 12/10/15 PRS Report and the Impact Analysis for NPRR742.

## Slide 12: NPRR743, Revision to MCE to Have a Floor For Load Exposure
Revision Description: This NPRR updates the Ancillary Service Capacity Monitor display on the ERCOT website with additional information by adding the On-Line and Off-Line Reserves used for the Operating Reserve Demand Curve (ORDC), High Dispatch Limit (HDL), and Low Dispatch Limit (LDL) as new items to the display.
Proposed Effective Date: Upon system implementation - Priority 2016; Rank 870
ERCOT Impact Analysis: Between $45k and $55k; no impacts to ERCOT staffing; impacts to Credit Monitoring and Management (CMM), Commercial Systems Integration (CSI), and EIS; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.
PRS Decision: On 12/10/15, PRS unanimously voted to recommend approval of NPRR743 as submitted. On 1/14/16, PRS unanimously voted to endorse and forward to TAC the 12/10/15 PRS Report and the Impact Analysis for NPRR743 with a recommended priority of 2016 and a rank of 1560.
Credit WG Review: See 12/16/15 Credit WG comments