|  |  |  |  |  | System Planning |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | Monthly Status Report December 2015 |  |  |
|  |  |  | Report Highlights |  |  |  |  |  |  |
|  |  | - ERCOT is currently reviewing proposed transmission improvements with a total cost of $1.0 Billion. - Transmission Projects endorsed in 2015 total $477.6 Million. - All projects (in engineering, routing, licensing and construction) total approximately $6.74 Billion. - Transmission Projects energized in 2015 total about $652.9 Million. |  |  |  |  |  |  |  |

Regional Planning Group Project Reviews

- AEPSC has submitted the LRGV Area Transmission Improvements project. This is a Tier 1 project that is estimated to cost $621.5 million. This project is currently under ERCOT independent review.

- Oncor has submitted the Big Brown – Navarro 345 kV double-circuit upgrade project. This is a Tier 3 project that is estimated to cost $10.2 million. This project has been submitted for RPG comments.

- AEPSC has submitted the Hidalgo-Starr Transmission project. This is a Tier 1 project that is estimated to cost $151.1 million. This project is currently under ERCOT independent review.

- Lone Star has submitted the North Central 345 kV transmission project. This is a Tier 1 project that is estimated to cost $83.1 million. This project is currently under ERCOT independent review.

- CPS Energy and Sharyland Utilities have jointly submitted the LRGV Import project. This is a Tier 1 project that is estimated to cost $643.7 million. This project is currently under ERCOT independent review.

- Sharyland Utilities has submitted the Panhandle Loop project. This is a Tier 1 project that is estimated to cost $64.3 million. The project was endorsed by the ERCOT Board of Directors on Dec. 8th.

- Brazos Electric Cooperative has submitted the Aspermont – Knox Area Improvement project. This is a Tier 2 project that is estimated to cost $23.5 million. This project is submitted for RPG comments.

- Oncor has submitted the Trinidad – Big Brown Tap 138 kV upgrade project. This is a Tier 3 project that is estimated to cost $18 million. This project is submitted for RPG comments.

- AEPSC and Oncor have jointly submitted the Barrilla Junction Area Improvements project. This is a Tier 1 project that is estimated to cost $111.9 million. This project is submitted for RPG comments.

- LCRA TSC has submitted the Camp Wood - Leakey TL Overhaul project. The project is classified as a Tier 3 project and once the RPG comments are resolved, it will be reclassified as a Tier 4 Neutral project. This project is submitted for RPG comments.

- Brazos Electric Cooperative (BEC) has submitted the Salt Creek Area project. This is a Tier 2 project that is estimated to cost $17 million. This project is submitted for RPG comments.

# Planning Model Activities

The short term calendar of major planning model events is as follows.

- Mar 1, 2016	Post SSWG 2015 Update 2 cases

- Mar 13, 2016	Post SSWG 2015 Update 2 contingency definition files

The following table shows interconnection projects that met Planning Guide section 6.9 (1) and were not modeled in SSWG cases due to lack of RARF data in accordance with Planning Guide section 6.9 (2).  The Notes column may provide further explanation.

# Other Notable Activities

- ERCOT has completed the 2015 Regional Transmission Plan (RTP) analysis. The final report was posted on ERCOT MIS Secure website on December 22nd, 2015. ERCOT has started working on the 2016 RTP case preparation. The scope and assumptions for the 2016 RTP were shared with stakeholders via RPG for review. ERCOT also continues to work on the 2016 Long Term System Assessment (LTSA). ERCOT developed and presented load forecasts on three of the eight scenarios and is currently working on generation expansion analysis.

- The 2015 Constraints and Needs Report has been posted on ercot.com.