| NOGRR Number | 151 | NOGRR Title | Alignment with NPRR748, Revisions associated with COM-002-4 and Other Clarifications Associated with Dispatch Instructions |
| --- | --- | --- | --- |
| Date of Decision |  | January 26, 2016 |  |
| Action |  | Recommended Approval |  |
| Timeline |  | Normal |  |
| Proposed Effective Date |  | To be determined |  |
| Priority and Rank Assigned |  | To be determined |  |
| Guide Sections Requiring Revision |  | 3, Resource Testing and Qualification Procedures 3.1.3, Dispatch Instructions (New) |  |
| Related Documents Requiring Revision/Revision Requests |  | NPRR748, Revisions associated with COM-002-4 and Other Clarifications Associated with Dispatch Instructions |  |
| Revision Description |  | This Nodal Operating Guide Revision Request (NOGRR) aligns the Operating Guides with changes made in NPRR748 and also provides consistency, transparency, and clarification related to communication protocol in the ERCOT Region. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | Aligns with North American Electric Reliability Corporation (NERC) Standard COM-002-4, Operating Personnel Communications Protocols, provides consistency, transparency and clarification of roles and responsibilities related to communication protocol for the ERCOT Region. Reduces the possibility of miscommunication that could lead to action or inaction harmful to the reliability of the ERCOT System. |  |
| OWG Decision |  | On 12/15/15, the Operations Working Group (OWG) was in consensus to table NOGRR151 for one month. On 1/26/16, OWG was in consensus to recommend approval of NOGRR151 as revised by OWG. |  |
| Summary of OWG Discussion |  | On 12/15/15, participants initiated language changes but agreed that formal comments submitted by Market Participants would be more productive. On 1/26/16, participants added additional clarifying language changes. |  |

| Sponsor |  |
| --- | --- |
| Name | Stephen Solis |
| E-mail Address | stephen.solis@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6772 |
| Cell Number |  |
| Market Segment | Not applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Lindsay Butterfield |
| E-Mail Address | Lindsay.Butterfield@ercot.com |
| Phone Number | 512-248-6521 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None |  |

Market Rules Notes

None

Proposed Guide Language Revision

Please note Market Rules made two administrative changes to align with the 1/26/16 OWG revisions.

# ERCOT and Market Participant Responsibilities

3.1.3	Dispatch Instructions

(1)	The following section applies only to Dispatch Instructions issued for Real-Time operations intended to change or preserve the state, status, output, or input of an element or facility of the ERCOT system.

(a)	The following actions shall be taken by ERCOT and Market Participants upon the issuance and receipt of a Verbal Dispatch Instruction (VDI).

(i)	When issuing a VDI, ERCOT shall take one of the following actions:

(A)	Confirm the Market Participant’s response if the repeated VDI is correct;

(B)	Reissue the VDI if the repeated VDI is incorrect or requested by the Market Participant; or

(C)	Reissue the VDI or take an alternative action if the VDI was not understood by the Market Participant.

(ii)	Each QSE, when re-issuing the ERCOT VDI to the appropriate Resource, shall take one of the following actions:

(A)	Confirm the Resource’s response if the repeated VDI is correct;

(B)	Reissue the VDI if the repeated VDI is incorrect or requested by the Resource; or

(C)	Coodinate an alternative action, as required in the ERCOT Protocols,  with ERCOT if a response is not received or if the VDI was not understood by the Resource.

(iii)	Each TO, when re-issuing the ERCOT VDI to the appropriate Distribution Service Provider (DSP) or Resource, shall take one of the following actions:

(A)	Confirm the DSP’s or Resource’s response if the repeated VDI is correct;

(B)	Reissue the VDI if the repeated VDI is incorrect or requested by the DSP or Resource; or

(C)	Coordinate an alternative action with ERCOT, as required in the ERCOT Protocols, if a response is not received or if the VDI was not understood by the DSP or Resource.

(b)	After receipt of the VDI, the receiving Market Participant shall take one of the following actions:

(i)	Repeat, not necessarily verbatim, the VDI and receive confirmation that the response was correct; or

(ii)	Request that the VDI be reissued.

(c)	When ERCOT initiates a Hotline VDI, ERCOT shall confirm that the VDI was received by at least one Market Participant on the Hotline call.

(d)	When issuing or re-issuing a Dispatch Instruction, ERCOT, QSEs, and TOs shall specify the time using a 24-hour clock in Central Prevailing Time (CPT) if the Dispatch Instruction is not to be acted upon immediately.

(e)	When issuing or re-issuing a Dispatch Instruction for transmission elements and transmission facilities, ERCOT, QSEs, and TOs shall utilize the nomenclature specified in the ERCOT Network Operations Model.