DRAFT

Minutes of the Reliability and Operations Subcommittee (ROS) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

Thursday, January 7, 2016 – 9:30 a.m.

Attendance

Members:

| Barnes, Bill | Reliant Energy Retail Services | Alt. Rep. for R. Keetch |
| --- | --- | --- |
| Bern, Alan | Oncor |  |
| DeTullio, David | Air Liquide |  |
| Dillard, Jesse | City of Dallas |  |
| Ee, Danny | Austin Energy |  |
| Goff, Eric | Citigroup Energy |  |
| Hatfield, Bill | LCRA |  |
| Hudson, Tony | TNMP |  |
| Jones, Randy | Calpine | Via Teleconference |
| Koenig, Chris | Golden Spread Electric |  |
| Kroskey, Tony | Brazos Electric Power |  |
| Kunkel, Dennis | AEP Service Corporation |  |
| Lee, Billy | Garland Power and Light |  |
| Moore, John | South Texas Electric Cooperative |  |
| Perez, Eliazar | Brownsville PUB | Alt. Rep. for E. Alvarez |
| Ramirez, Alonzo | GDF Suez |  |
| Reed, Cyrus | Sierra Club |  |
| Staples, Boone | Tenaska Power Services |  |
| Vo, Trieu | CPS Enery |  |
| Woitt, Wes | CenterPoint Energy |  |
| Zaragoza, Luis | Pattern Energy | Via Teleconference |

Guests:

| Allen, Thresa | Iberdrola Renewables | Via Teleconference |
| --- | --- | --- |
| Alford, Anthony | CenterPoint Energy | Via Teleconference |
| Armke, James | Austin Energy |  |
| Blackburn, Don | Luminant | Via Teleconference |
| Bunch, Kevin | EDF |  |
| Cochran, Seth | DC Energy | Via Teleconference |
| Cruz-Montes, Michael | CenterPoint Energy | Via Teleconference |
| Donohoo, Ken | Oncor |  |
| Evans, Doug | STEC | Via Teleconference |
| Gomes, Matt | Lone Star |  |
| Graham, Greg | Texas Reliability Entity | Via Teleconference |
| Greaff, Venona | Oxy | Via Teleconference |
| Gregory, Angela | EDF Energy | Via Teleconference |
| Gross, Blake | AEPSC |  |
| Hammons, Daniela | CenterPoint Energy | Via Teleconference |
| Helton, Bob | GDF Suez | Via Teleconference |
| Juricek, Michael | Oncor | Via Teleconference |
| Khayat, Maribel | CenterPoint Energy | Via Teleconference |
| Kremling, Barry | GVEC |  |
| Lane, Rob | Luminant |  |
| Looney, Sherry | Luminant | Via Teleconference |
| Marr, Daniel |  | Via Teleconference |
| Methaprayoon, Kittipong | Biourja | Via Teleconference |
| Mueller, Paula | Texas Reliability Entity | Via Teleconference |
| Owens, Frank | Cross Texas Transmission |  |
| Penny, David | Texas Reliability Entity |  |
| Peters, Patrick | CenterPoint Energy |  |
| Reid, Walter | Wind Coalition |  |
| Rollow, Brett | Pattern |  |
| Santos, Juan | Garland Power and Light | Via Teleconference |
| Schwarz, Brad | Sharyland |  |
| Taylor, Jennifer | E.ON | Via Teleconference |
| Trout, Seth | CES | Via Teleconference |
| Tu, Feng | AEP | Via Teleconference |
| Varnell, John | Tenaska | Via Teleconference |
| White, Lauri | AEP Texas |  |
| William, Scot | Oncor | Via Teleconference |
| Woodruff, Taylor | Oncor |  |

ERCOT Staff:

| Adams, John |  | Via Teleconference |
| --- | --- | --- |
| Albracht, Brittney |  |  |
| Bezzam, Joseph |  | Via Teleconference |
| Billo, Jeff |  |  |
| Day, Betty |  | Via Teleconference |
| Frosch, Colleen |  |  |
| Geer, Ed |  | Via Teleconference |
| Giarratano, Alex |  |  |
| Hartmann, Jimmy |  | Via Teleconference |
| Landin, Yvette |  | Via Teleconference |
| Lavi, Yamit |  |  |
| Lightener, Debbie |  | Via Teleconference |
| Manning, Brian |  |  |
| Matlock, Robert |  | Via Teleconference |
| Morehead, Juliana |  | Via Teleconference |
| Reed, Bobby |  | Via Teleconference |
| Sharma, Sandip |  | Via Teleconference |
| Shaw, Pamela |  | Via Teleconference |
| Simons, Diane |  | Via Teleconference |
| Solis, Stephen |  |  |
| Steffan, Nick |  |  |
| Tan, Paul |  | Via Teleconference |
| Teixeira, Jay |  | Via Teleconference |
| Thompson, Chad |  |  |
| Thompson, David |  | Via Teleconference |
| Woodfin, Dan |  |  |

Unless otherwise indicated, all Market Segments were present for a vote. Brittney Albracht called the January 7, 2016 ROS meeting to order at 9:30 a.m. Antitrust Admonition Ms. Albracht directed attention to the Antitrust Admonition, which was displayed. A copy of the Antitrust Guidelines was available for review.

2016 ROS Chair and Vice Chair Dennis Kunkel nominated Alan Bern for 2016 ROS Chair, and Boone Staples for 2016 ROS Vice Chair. Mr. Bern and Mr. Staples accepted the nominations and were named 2016 ROS Chair and Vice Chair, respectively, by acclamation.

Agenda Review Mr. Bern noted that additional Revision Requests had been identified as potentially ripe for ROS consideration, and that ROS would need to waive notice should it choose to consider the items.

Approval of ROS Meeting Minutes (see Key Documents) September 3, 2015 October 8, 2015 David DeTullio moved to approve the September 3 and October 8, 2015 ROS meeting minutes as submitted. Billy Lee seconded the motion. The motion carried unanimously.

Technical Advisory Committee (TAC) Update Mr. Bern reminded Market Participants that TAC did not meet in December 2015.

ERCOT Updates (see Key Documents) Operations Report Nick Stephan presented the November 2015 Operations report. System Planning Report Jeff Billo presented the November 2015 System Planning Report. Compliance Update Coleen Frosch reviewed North American Electric Reliability Corporation (NERC) Standards going into effect in January, April, and July 2016. Regarding PRC-002-2, Disturbance Monitoring and Reporting Requirements, Market Participants requested that ERCOT staff present to TAC the initial list of identified Bulk Electric System (BES) Elements. ERCOT Staff offered to consult with element owners for feedback and comments for the preliminary list, and will conduct internal discussions as to which information may be shared beyond owners. Stability Issues Identified during Full Interconnection Study (FIS) Process/Impact on Generic Transmission Constraints Chad Thompson raised to the attention of ROS stability issues and challenges identified during the FIS and generation commissioning process. Market Participants agreed that a more robust discussion should be held at a working group. Mr. Bern requested the Planning Working Group (PLWG) take up the discussion. There were no objections.

Protocol Revision Subcommittee (PRS) Referrals (see Key Documents) Nodal Protocol Revision Request (NPRR) 747, Revision of Voltage Control Requirements Market Participants briefly discussed the appropriate communications route for Voltage Set Point instructions. Mr. R. Jones also raised the issue of ERCOT’s role in ensuring that Resources are following dispatch instructions, and in assessing compliance and performance values. Randy Jones moved to recommend the Protocol Revision Subcommittee (PRS) continue to table Nodal Protocol Revision Request (NPRR) 747 to allow for further review, and referred the issue to the Operations Working Group (OWG). Bill Barnes seconded the motion. The motion carried unanimously. NPRR748, Revisions associated with COM-002-4 and Other Clarifications Associated with Dispatch Instructions Wes Woitt moved to recommend PRS continue to table NPRR748 to allow for further review, and referred the issue to OWG. Mr. Barnes seconded the motion. The motion carried unanimously. System Change Request (SCR) 787, Maintain NDCRC Data For Generator Transfer Between Resource Entities Mr. R. Jones moved to endorse SCR787 as submitted. Mr. Barnes seconded the motion. The motion carried unanimously.

Black Start Working Group (BSWG) Daniel Marr reported that BSWG is reviewing new Black Start plans and upcoming Black Start training. Mr. Marr noted that the Non-Disclosure Agreements (NDAs) for BSWG are now in effect for two years.

Dynamics Working Group (DWG) (see Key Documents) DWG Procedure Manual Rob O’Keefe reviewed proposed clarifications to the DWG Procedure Manual. Market Participants offered additional minor revisions. Mr. Woitt moved to approve the DWG Procedure Manual as revised by ROS. Mr. Kunkel seconded the motion. The motion carried unanimously. It was noted that the Power System Simulator for Engineering (PSS/E) version is updated annually in the DWG Procedure Manual, and that there is a distinction between the model and the data, as the data may remain the same, but that models need to be update to the new PSS/E version. Market Participants debated whether notice is required regarding timelines for PSS/E version updates. Market Participants also discussed concerns with using generic versus detailed models, and where a more robust discussion of the issues might be held. Mr. Bern suggested that DWG host an open session as a portion of a future meeting.

Network Data Support Working Group (NDSWG) (see Key Documents) Tony Kroskey reviewed recent NDSWG activities and noted that consideration is being given to adding points to the critical telemetry list for Telemetry and State Estimator performance.

Outage Coordination Improvements Task Force (OCITF) (see Key Documents) Dan Woodfin reviewed recent OCITF activities.

OWG (see Key Documents) Nodal Operating Guide Revision Request (NOGRR) 143, Alignment of Nodal Operating Guides with NERC Reliability Standard, BAL-001-TRE-1 Mr. R. Jones moved to waive notice in order to consider NOGRR143. Mr. DeTullio seconded the motion. The motion carried unanimously. Mr. R. Jones moved to recommend approval of NOGRR143 as recommended by OWG in the 12/15/15 OWG Report. Mr. Kunkel seconded the motion. Market Participants discussed that NOGRR143 has been through numerous reviews and that all changes strictly align the language in order to be consistent with NERC Reliability Standard, BAL-001-TRE-1. The motion carried unanimously.

Performance Disturbance Compliance Working Group (PDCWG) (see Key Documents) Alex Giarratano reviewed recent PDCWG activities. Draft SCR, Addition of Integral ACE Feedback to GTBD Calculation Market Participants reviewed proposed SCR language. Mr. R. Jones moved to waive notice to consider permission to file an SCR. Mr. DeTullio seconded the motion. The motion carried unanimously. Mr. R. Jones moved to grant PDCWG permission to file the draft SCR, Addition of Integral ACE Feedback to GTBD Calculation. Mr. DeTullio seconded the motion. The motion carried unanimously.

PLWG (see Key Documents) Brian Manning reviewed recent PLWG activities. Draft NPRR, Segmentation of the Total New Capacity Estimate in the ERCOT CDR Mr. Barnes moved to waive notice to consider permission to file an NPRR. Mr. Kunkel seconded the motion. The motion carried unanimously. Mr. Barnes moved to grant PLWG permission to file the draft NPRR, Segmentation of the Total New Capacity Estimate in the ERCOT CDR. Mr. R. Jones seconded the motion. Mr. Goff expressed appreciation for additional data, but reiterated that is it not helpful to draw conclusions from the Capacity, Demand, and Reserves (CDR) report. The motion carried unanimously.

Steady State Working Group (SSWG) (see Key Documents) Doug Evans reviewed recent SSWG activities.

Voltage Profile Working Group (VPWG) (see Key Documents) Feng Tu reviewed recent VPWG activities.

Other Business 2016 ROS WG/TF Leadership Ms. Albracht reminded Market Participants that 2016 ROS working group and task force leadership would be considered at the February 4, 2016 ROS meeting. No Report Operations Trainers Working Group (OTWG) Planning Geomagnetic Disturbance Task Force (PGDTF) Resource Data Working Group (RDWG) System Protection Working Group (SPWG)

Adjournment Mr. Bern adjourned the January 7, 2016 ROS meeting at 12:08 p.m.

# Footnotes

Key Documents referenced in these minutes may be accessed on the ERCOT website at: http://www.ercot.com/calendar/2016/1/7/77579-ROS