## Slide 1: NPRR 711: IDR Meter Protocol Requirement Threshold Update to RMS
February 2, 2016
RMS Meeting

## Slide 2: Should the IDR Required Threshold Be Revisited?
Reasons:
  Per the ERCOT Board Report dated 8/5/14 there were 6.6M Advanced Metering System (AMS) Electric Service Identifiers (ESIID)s included in settlement as of June 2014.
    IDR Required History: Several years after market open the market approved lowering the IDR required threshold from 1000 kW/kVA to 700 kW/kVA as a means to increase the number of premises ERCOT settled using 15 minute interval data received from the TDSPs.
  For AMS meters, TDSPs are providing daily 15-minute interval data through LSE Files instead of an TX SET 867_03 Monthly Usage transaction containing 15-minute interval data for traditional IDR meters.
  For AMS meters, daily15-minute interval data provided to ERCOT by TDSPs through LSE files allows Customer’s usage data to be available for initial settlements instead of only being available for Final and True-up settlements for the monthly 867_03 TX SET transactions.
  For AMS meters, the daily 15-minute interval data is available to Customers registered on Smart Meter Texas and maybe available through their ROR’s Web Portal.
  On SMT AMS data is available to 3rd Parties authorized by the Customer allowing Customer’s to be more in control when shopping for a new Retailer where the best negotiated services and rates offer by the REP may be based solely upon the daily historical 15-minute usage data.
  Per ERCOT Protocols:
    TDSPs are required to provide an 867_03 Monthly Usage transaction for ERCOT settlements of Load Profile Types of BUSIDRRQ and for an AMS meter TDSPs would no longer provide daily-15 minute interval data via LSE files for ERCOT settlements. Data would be available for Final and True-Up settlements at best.
    This may in some cases require replacing the current AMS meter at the premise with a traditional IDR because of TDSPs’ system limitations and their MDM (AMS) vs. MV90 (IDR) system architecture.

## Slide 3: IDR Required Workshops
First as a Market we needed to answer the following question:
Should the IDR Mandatory Installation Threshold Be Increased, Eliminated or Continue as shown in Protocols Section 18.6 and Market Guides?
  Protocol Sections 18.6
    Installation and Use of Interval Data Recorder Meters:
      18.6.1 Interval Data Recorder Meter Mandatory Installation Requirements
          (1) Interval Data Recorder (IDR) Meters are required and shall be installed and utilized for Settlement of Premises having
          either:
            A peak Demand greater than 700 kW (or 700 kVA in CenterPoint Energy’s service territory); or
            (b) Service provided at transmission voltage (above 60 kV).
          (2) For the IDR Meter installation process, refer to the Retail Market Guide Section 7.13.2.2, Mandatory Interval Data Recorder Installation Process.

## Slide 4: NPRR711 Background
NPRR711, Increase the Interval Data Recorder Meter Mandatory Install Requirement from 700 kW/kVA to 1.5 MW/MVA (Vote)
  Workshops:
      October 20, 2014: RMS/COPS IDR Required Workshop I
      December 2, 2014: RMS/COPS IDR Required Workshop II
      January 30, 2015: RMS/COPS IDR Required Workshop III
      February 24, 2015: RMS/COPS IDR Required Workshop IV
      May 5, 2015: RMS/COPS IDR Required Workshop V
      October 6, 2015: RMS/COPS IDR Required Workshop VI
    06/02/15 RMS : RMS unanimously directed Workshop leadership to submit “Draft” NPRR to PRS Revision Request Listserv for number assignment and 21 day comment period.
    07/16/15 COPS: COPS voted to endorse NPRR 711. The COPS collaborated with RMS during the IDR Meter Protocol Requirements Threshold Workshops. COPS supports the increase of the Interval Data Recorder (IDR) Meter Mandatory Install Requirement from 700 kW/kVA to 1.5 MW/MVA implemented by NPRR711.
    08/04/15 RMS: RMS unanimously voted to endorse NPRR711 as submitted. Additionally, RMS recommended that RMS and COPS should continue to work on meter data flow issues in order to use the most appropriate technology as possible. For example, RMS desires that 15-minute data be in the same data flow regardless of the origination of the data.
    09/10/15 PRS: Following three months of discussions, comments and PRS voting to continue ‘Tabling “ NPRR711 to resolve MPs’ concerns, therefore, RMS leadership agreed that another “NPRR 711 RMS-COPS IDR Workshop” was necessary and should be scheduled as soon as possible
    10/06/15: NPR711 RMS-COPS Workshop VI was held following RMS

## Slide 5: NPRR 711 Update to RMS
IDR Meter Required Workshop VI held on 10/6/15 :
  53 MPs were in attendance either at the Met Center or via the Web Conference, the attendance included:
    CRs, TDSPs, PUCT and ERCOT Staff Members along with 3rd Parties.
The Workshop attendees mainly discussed:
  TDSP’s Processes and Prior Workshop Responses to:
    Applying 4CP, whether assignment is based upon Load Profile Assignment, Premise Loads or if Customer Requested.
    Can Customer’s Request an IDR Meter Installation?
    Grandfathering existing IDR Required Population
    TIEC and Pioneer “NPRR 711” Formal Comments

## Slide 6: NPRR711 Update to RMS
Based upon Workshop VI’s Market discussions,
  Market Conclusion: The market needed additional time and recommended that PRS continue to “Table NPRR711” to determine if there are other viable solutions available that allows:
    TDSPs to continue to apply 4CP Rate/Invoicing based upon a “BUSIDRRQ” Load Profile for ESIIDs with a threshold of 700 kW/kVa or higher; and
    TDSPs’ flexibility to leave AMS Meter on site without ERCOT requiring an 867_03 TX SET EDI transaction for RTM Settlements; and
    ERCOT to receive AMS Meter data for BUSIDRRQ Profiles based upon daily usage received from the TDSPs via the ERCOT Specified file format. Permitting the AMS usage data to be available for initial settlements; and
    Customers to continue to receive their daily AMS Usage Data on Smart Meter Texas; and
    Competitive Retailers’ consistency across all TDSP’s Service Territory in the application of any Protocol revisions or process changes.

## Slide 7: NPRR711 Update to RMS
  10/6/15 Action Item: K. Scott and ERCOT- Investigate to determine if there are additional options other than changing the threshold limits, if yes, provide those options to the Market through another RMS-COPS IDR Meter Required Threshold Workshop
  NPRR711 Conclusion:
    In the last 4 months since Workshop VI held on 10/6/15:
      K. Scott met with ERCOT on Friday, 10/30/15
      ERCOT and the Joint TDSPs met on Tuesday, 11/17/15
      Following these discussions and the exchanging of several email communications a solution that resolves all the market’s concerns that were listed on slide 6 was unachievable.
    NPRR711 continues to be Tabled at PRS, therefore, RMS’ guidance is needed in determining what type of response should RMS provide to PRS?

## Slide 8: NPRR711 Comments History
NPRR711, Increase the Interval Data Recorder Meter Mandatory Install Requirement from 700 kW/kVA to 1.5 MW/MVA
  Comments Filed:
    711NPRR-01 Increase the Interval Data Recorder Meter Mandatory Install Requirement 060315 (06/03/2015, doc, 80 KB)
    711NPRR-02 COPS Comments 071615 (07/16/2015, doc, 57.5 KB)
    711NPRR-03 PRS Report 071615 (07/20/2015, doc, 81 KB)
    711NPRR-04 RMS Comments 080515 (08/05/2015, doc, 59.5 KB)
    711NPRR-05 ERCOT Comments 080615 (08/06/2015, doc, 52 KB)
    711NPRR-06 TIEC/Pioneer Comments 081015 (08/10/2015, doc, 56.5 KB)
    711NPRR-07 PRS Report 081315 (08/14/2015, doc, 84 KB)
    711NPRR-08 TIEC/Pioneer Comments 090415 (09/04/2015, doc, 55.5 KB)
    711NPRR-09 PRS Report 091015 (09/14/2015, doc, 85.5 KB)
    711NPRR-10 ERCOT Comments 092415 (09/24/2015, doc, 40 KB)
    711NPRR-11 Tenaska Comments 101315 (10/13/2015, doc, 44.5 KB)
    711NPRR-12 PRS Report 101515

## Slide 9: Questions?