## Slide 1
PDCWG Report to ROS
Chair: Percy Galliguez, Brazos Electric Power Cooperative, Inc.
Vice Chair: Stewart Rake, Luminant
ROS
February 4th, 2015

## Slide 2: Report Overview & Notes
Report Overview
  Meeting Minutes
  BAL-001-TRE-1 FMEs & IMFR
  Frequency Control Report

## Slide 3: Meeting Minutes
PDCWG Meeting 11/11/15
  GREDP Performance Analysis
  Regulation & Frequency Control Reports
  Reviewed 1 ERCOT Frequency Disturbance
    123015 @ 1117
  PDCWG 2016 Nominations for Chair and Vice Chair for ROS Approval
    Chair: Percy Galliguez, Brazos Electric Power Cooperative, Inc.
      pgalliguez@brazoeselectric.com
    Vice Chair: Stewart Rake, Luminant Power
      stewart.rake@luminant.com

## Slide 4: Frequency Measurable Events Performance
January 2016

## Slide 5: Frequency Measurable Events
There were 2 FMEs during the month of January.
  1/21/2016 23:14:45
    Loss of 823 MW
    19 of 46 Generation Resources had less than 75% of their expected Initial Primary Frequency Response.
    15 of 46 Generation Resources had less than 75% of their expected Sustained Primary Frequency Response.
  1/26/2016 23:25:07
    Loss of 1350 MW
    18 of 52 Generation Resources had less than 75% of their expected Initial Primary Frequency Response.
    18 of 52 Generation Resources had less than 75% of their expected Sustained Primary Frequency Response.

## Slide 6: Interconnection Minimum Frequency Response (IMFR) Performance

## Slide 7: Frequency Control Report
January 2016

## Slide 8: CPS1 Performance
CPS1 12 Month Rolling Average = 174.84%

## Slide 9: RMS1 Performance of ERCOT Frequency

## Slide 10: Frequency Profile Analysis

## Slide 11: Time Error Corrections
There was one Time Error Corrections (TEC) in January. The previous TEC was on May 18th, 2015.

## Slide 12: Wind Generation Performance

## Slide 13: Wind Generation Performance

## Slide 14: Wind Generation Performance

## Slide 15
Questions?