## Slide 1: PLWG Report to ROS
February 4, 2016

## Slide 2: 2016 PLWG Leadership
Chair – Charlie DeWitt with LCRA
Vice Chair – Rob Lane with Luminant

## Slide 3: GTLs identified in the FIS
ROS assigned this task to PLWG
Some FIS studies are being completed just before the IE is requesting to begin commissioning
Complicates the ERCOT review of the FIS, especially if the interconnection will necessitate the use of a GTL
PLWG is exploring ways to address this within the FIS process and may suggest changes to the FIS process

## Slide 4: PLWG Whitepaper Updates
SSWG implemented the suggested updates to the SSWG procedures into the current version of the SSWG Manual.
ERCOT notified the PLWG that they intend to deviate from the methodology that the whitepaper suggested for dispatching hydro (High HSL) and DC Ties (Average vs On/Off)

## Slide 5: PLWG Issues List
PLWG members would like to begin working on issues they have been noticing during the planning studies and processes.
Members were encouraged to send any issues/topics to the PLWG leadership for addition to a PLWG Issues List
  N-1-1 definition, FIS study process, DG, ALDR, PG 6.9 requirements

## Slide 6: Assignments to PLWG
PGRR042 will resume discussion at PLWG meetings
Generation Deliverability Criteria