APPROVED

Minutes of the Reliability and Operations Subcommittee (ROS) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

Thursday, July 9, 2015 – 9:30 a.m.

Attendance

Members:

| Armke, James | Austin Energy |  |
| --- | --- | --- |
| Bern, Alan | Oncor |  |
| Brooks, Aaron | WETT | Alt. Rep. for J. Horvath |
| DeTullio, David | Air Liquide |  |
| Dillard, Jesse | City of Dallas |  |
| Goff, Eric | Citigroup Energy |  |
| Greer, Clayton | Morgan Stanley |  |
| Grimes, Mike | EDP Renewables | Alt. Rep. for R. Tzartzev |
| Hatfield, Bill | LCRA |  |
| John, Ebby | CenterPoint Energy |  |
| Keetch, Rick | Reliant Energy Retail Services |  |
| Kolb, Lloyd | GSEC |  |
| Kunkel, Dennis | AEP Service Corporation |  |
| Lee, Billy | Garland Power and Light |  |
| Moore, John | South Texas Electric Cooperative |  |
| Perez, Eliazar | BPUB | Alt. Rep. for A. Alvarez |
| Reed, Cyrus | Sierra Club |  |
| Ryno, Randy | Brazos Electric |  |
| Soutter, Mark | Invenergy |  |
| Staples, Boone | Tenaska Power Services | Via Teleconference |
| Vo, Trieu | CPS Enery |  |

The following proxies were assigned:

- Joel Firestone to Mark Soutter

- Randy Jones to Mark Soutter

Guests:

| Abbott, Kristin | PUCT | Via Teleconference |
| --- | --- | --- |
| Alford, Anthony | CenterPoint Energy | Via Teleconference |
| Arrigo, Garrett | Shell | Via Teleconference |
| Beckmann, Dwight | Brazos Electric | Via Teleconference |
| Bell, Brad | E.ON |  |
| Bryant, Mark | PUCT | Via Teleconference |
| Chatlani, Varsha | LCRA | Via Teleconference |
| Chhajed, Pushkar | Luminant | Via Teleconference |
| DeWitt, Charles | LCRA | Via Teleconference |
| Evans, Doug | STEC | Via Teleconference |
| Graham, Greg | Texas Reliability Entity | Via Teleconference |
| Gregory, Angela | EDF Trading | Via Teleconference |
| Gross, Blake | AEPSC |  |
| Hampton, Brenda | Luminant | Via Teleconference |
| Harvey, Julia | PUCT | Via Teleconference |
| Henry, Mark | Texas Reliability Entity |  |
| Jones, Liz | Oncor |  |
| Juricek, Michael | Oncor |  |
| Koellner, Kris | LCRA |  |
| Kremling, Barry | GVEC |  |
| Li, Young | Potomac Economics | Via Teleconference |
| Littlefield, Jennifer | PUCT |  |
| Liu, Meng | Luminant | Via Teleconference |
| Looney, Sherry | Luminant |  |
| Loyferman, Larisa | CenterPoint Energy | Via Teleconference |
| Lugo, Luis | Shell | Via Teleconference |
| McClellan, Suzi | Good Company |  |
| Mueller, Paula | Texas Reliability Entity | Via Teleconference |
| Nashawati, Eithar | Oncor |  |
| Niemeyer, Sydney | NRG Energy | Via Teleconference |
| Noth, Mike | LCRA |  |
| Odanga, Monsherra | Oncor |  |
| Ordonez, Camilo | Luminant | Via Teleconference |
| Penny, David | Texas Reliability Entity |  |
| Peters, Patrick | CenterPoint Energy | Via Teleconference |
| Pezalla, Bill | Apex Clean Energy | Via Teleconference |
| Pieniazek, Adrian | NRG |  |
| Priestley, Vanus | Macquarie | Via Teleconference |
| Rabsatt, Ferne | Constellation | Via Teleconference |
| Reid, Walter | Wind Coalition |  |
| Sandidge, Clint | Noble Solutions | Via Teleconference |
| Santos, Juan | TMPA |  |
| Scarbrough, Michelle | GVEC |  |
| Schwarz, Brad | Sharyland |  |
| Seif, Dan | Butler Firm |  |
| Sills, Kevin | Oncor | Via Teleconference |
| Trout, Seth | CES | Via Teleconference |
| Tu, Feng | AEP | Via Teleconference |
| Velasquez, Ivan | Oncor |  |
| Walters, Josh | PUCT |  |
| White, Lauri | AEP Texas |  |
| Whitworth, Doug | Texas Reliability Entity | Via Teleconference |
| Woitt, Wes | CenterPoint Energy |  |
| Woodruff, Taylor | Oncor | Via Teleconference |
| Zotter, Laura | Austin Energy | Via Teleconference |

ERCOT Staff:

| Albracht, Brittney |  |  |
| --- | --- | --- |
| Billo, Jeff |  |  |
| Blackmer, Kelly |  |  |
| Blevins, Bill |  |  |
| Boren, Ann |  | Via Teleconference |
| Brenton, Jim |  |  |
| Collard, Brad |  |  |
| Day, Betty |  | Via Teleconference |
| Deller, Art |  | Via Teleconference |
| Flores, Isabel |  |  |
| Geer, Ed |  | Via Teleconference |
| Giarratano, Alex |  |  |
| Guiyab, Rochie |  | Via Teleconference |
| Hartmann, Jimmy |  | Via Teleconference |
| Huang, Fred |  | Via Teleconference |
| Landry, Kelly |  | Via Teleconference |
| Lee, Alex |  | Via Teleconference |
| Manning, Brian |  |  |
| Mereness, Matt |  |  |
| Miller, Trish |  | Via Teleconference |
| Opheim, Calvin |  | Via Teleconference |
| Phillips, Cory |  | Via Teleconference |
| Rajagopalan, Sidharth |  | Via Teleconference |
| Reed, Bobby |  | Via Teleconference |
| Solis, Stephen |  | Via Teleconference |
| Steffan, Nick |  |  |
| Tan, Paul |  | Via Teleconference |
| Teixeira, Jay |  |  |
| Thompson, Chad |  |  |
| Woodfin, Dan |  |  |

Unless otherwise indicated, all Market Segments were present for a vote. 2015 ROS Vice Chair Alan Bern called the July 9, 2015 ROS meeting to order at 9:33 a.m. Antitrust Admonition Mr. Bern directed attention to the displayed ERCOT Antitrust Admonition and noted the requirement to comply with the ERCOT Antitrust Guidelines. A copy of the guidelines was available for review. Approval of ROS Meeting Minutes (see Key Documents) March 12, 2015 May 7, 2015 Randy Ryno moved to approve the March 12 and May 7, 2015 ROS meeting minutes as submitted. David DeTullio seconded the motion. The motion carried unanimously. Technical Advisory Committee (TAC) Update Distributed Energy Resource Task Force (DER TF) Mr. Bern reminded Market Participants that the DER TF is scheduled to meet July 15, 2015. ERCOT Reports to ROS – (see Key Documents) Operations Report Nick Stephan presented the ERCOT Operations report. System Planning Report Jeff Billo presented the System Planning report. Mr. Billo noted the high number of projects under discussion at the Regional Planning Group (RPG) and solicited Market Participant comment. Transmission Congestion Plans Nitika Mago presented an operations planning perspective of Constraint Management Plans. ERCOT Renewable Regions Bill Blevins provided an overview of the seven ERCOT solar and wind regions. Market Participants requested that ERCOT, for consistency and clarity, always use the specific type of zone as part of the zone name (e.g. Weather Zone) rather than referring to zones generically as “ERCOT Zones”. Valley Weather Zone Isabel Flores reported ERCOT’s intent to create a new Weather Zone that will contain the Valley, currently in the South Weather Zone, in an effort to provide improved monitoring and analysis for the area. Market Participants requested that ERCOT inform the Commercial Operations Subcommittee (COPS), the Wholesale Market Subcommittee (WMS), and TAC; and discussed the number of weather stations likely to be in the new Weather Zone, and that its creation should follow the System Change Request (SCR) process. Revision Request Forms Brian Manning called attention to changes to the Revision Request forms. June 2015 Protocol Revision Subcommittee (PRS) Referrals (see Key Documents) NPRR705, Provides Consistency for References to the End Date of the Generation Interconnection Process Mr. Greer moved to recommend PRS table NPRR705. Mr. Soutter seconded the motion. The motion carried unanimously. NPRR707, Provision of Transmission System Voltage Telemetry to QSEs Ms. Flores expressed concern for impacts to the ERCOT Energy Management System (EMS) and requested that the Network Data Support Working Group (NDSWG) discuss other options for providing the peer-to-peer data contemplated in NPRR707. Mr. Greer moved to recommend PRS table NPRR707. Mr. Soutter seconded the motion. Mr. Bern requested that NDSWG review NPRR707. The motion carried unanimously. NPRR708, Clarifying ERCOT Actions During Energy Emergency Alerts Mr. Hatfield moved to direct OWG to file comments to NPRR708. Mr. Ryno seconded the motion. The motion carried unanimously. Mr. Greer recalled discussion of the need for clarification to the steady state system frequency minimum. Mr. Greer moved to reconsider NPRR708. Mr. Goff seconded the motion. The motion carried unanimously. Market Participants offered language clarifications. Mr. Ryno moved to endorse NPRR708 as revised by ROS. Mr. Keetch seconded the motion. The motion carried with one abstention from the Independent Power Marketer (IPM) Market Segment. Duplicate Energy Emergency Alert (EEA) Language in Protocols and Operating Guides Discussion Mr. Manning reported TAC and PRS discussion regarding duplicate EEA language in the Protocols and Operating Guides, and that the language will continue to be housed in both locations. Upon approval of an NPRR addressing EEA language, an administrative Nodal Operating Guide Revision Request (NOGRR) will be submitted. ERCOT Transmission Maps Boone Staples expressed concern regarding some discussion that ERCOT would discontinue production of transmission maps. Dan Woodfin clarified that due to minimal requests for the map, the staff position has been eliminated, but that ERCOT will update the maps once per year, and that the maps are posted on the Market Information System (MIS). Texas Reliability Entity (Texas RE) Annual Assessment of Reliability Performance Mark Henry presented the annual Performance Indicators and Texas RE 2014 Assessment of Reliability Performance. Generator Obligations Pursuant to MOD-26 and MOD-27 Mr. Henry reviewed Generator obligations regarding MOD-026: Generator Excitation Control System or Plant Volt/VarControl Functions, and MOD-027: Turbine/Governor and Load. Outage Coordination Improvements Task Force (OCITF) Liz Jones reported that the OCITF has drafted a report of potential improvements to Outage Coordination; expressed hope that the draft would be finalized at the July 17, 2015 OCITF meeting; and requested Market Participants provide comment in advance of the meeting. Dynamics Working Group (DWG) (see Key Documents) Juan Santos reviewed recent DWG activities. Black Start Working Group (BSWG) Camden White reported on recent BSWG activities. Confirm Vice Chair – Daniel Marr, LCRA Mr. Hatfield moved to confirm Daniel Marr as 2015 BSWG Vice Chair. Mr. Greer seconded the motion. The motion carried unanimously. Operations Trainers Working Group (OTWG) Kelly Blackmer provided a brief report on recent Black Start training sessions and noted that the seminar was well attended and well received. Mr. Blackmer also reported that the OTWG is rewriting the ERCOT Fundamentals material. GridEx III Jim Brenton presented a preview of GridEx 2015, scheduled for November 18-19, 2015, and encouraged broad participation in the activities. Operations Working Group (OWG) (see Key Documents) Bill Hatfield reviewed recent OWG activities. NOGRR144, Incorporation of “Manual Deployment and Recall of Responsive Reserve Service during Scarcity Conditions” into the Nodal Operating Guides (Vote) Mr. Greer noted there may be revisions needed to synchronize the Physical Responsive Capability (PRC) threshold in paragraph (1) of Section 4.8, Responsive Reserve Service During Scarcity Conditions, with the proposed PRC thresholds in NPRR708, Clarifying ERCOT Actions During Energy Emergency Alerts, and High Ancillary Service Limit (HASL) calculations in NPRR710, Removal of ORDC Phase 2 Language and Modification to HASL Calculation. Mr. Ryno moved to recommend approval of NOGRR144 as recommended by OWG in the 6/18/15 OWG Report. Billy Lee seconded the motion. The motion carried unanimously. Proposed Voltage Profile Task Force Market Participants reviewed the draft Voltage Profile Task Force Scope and discussed whether to form the group as a working group instead, and that additional review might be given to the scope document. Market Participants also discussed that the working group would likely meet only a few times each year to accomplish specific work. Mr. Greer moved to waive notice to consider formation of the VPWG. Mr. Grimes seconded the motion. The motion carried unanimously. Mr. Greer moved to establish the VPWG. Mr. Grimes seconded the motion. The motion carried unanimously. Proposed EMS Task Force David Penney conveyed the Texas RE’s request for the formation of an EMS task force to discuss, among other things, vendor-specific issues. Mr. Penney noted that participation in the task force may necessitate a Non-Disclosure Agreement, and would likely meet only quarterly. Market Participants discussed whether a workshop format might meet the need; that resources with the particular technical expertise are already taxed; and that more information is needed to further consider the request. Mr. Bern requested that Steve White provide an updated proposal at the next ROS meeting. ROS took no action on this item. Performance Disturbance Compliance Working Group (PDCWG) Mike Noth reported on recent PDCWG activities. NPRR691, Alignment of Protocols with NERC Reliability Standard, BAL-001-TRE-1 Matt Mereness reviewed NPRR691 and requested additional time to discuss the item. Mr. Noth offered to host an open session of PDCWG to the discussion of NPRR691. Mr. Greer moved to recommend PRS table NPRR691 to allow time for further review, and to permit PDCWG to submit comments to NPRR691. Mr. Grimes seconded the motion. The motion carried unanimously. Impact of Ancillary Service Procurement Process Sandip Sharma presented an analysis of Responsive Reserve (RRS) adequacy. Market Participants requested additional information, including observations, conclusions, and recommendations based on the analysis. Phasor Measurement Task Force (PMTF) Kris Koellner reported that in the opinion of the PMTF, the work of the task force is complete. Market Participants concurred and thanked Mr. Koellner and member of the PMTF for their work. Mr. Hatfield moved to disband the PMTF and to commend its work. Mr. Greer seconded the motion. The motion carried unanimously. Planning Geomagnetic Disturbance Task Force (PGDTF) (see Key Documents) Mike Juricek reviewed recent PGDTF activities and requested that interested parties subscribe to the PGDTF listserv. Planning Working Group (PLWG) (see Key Documents) Brad Schwarz reviewed recent PLWG activities. Planning Guide Revision Request (PGRR) 043, FIS Scoping Amendment Mr. Ryno moved to recommend approval of PGRR043 as recommended by PLWG in the 6/22/15 PLWG Report. Mr. Greer seconded the motion. The motion carried unanimously. PGRR044, MIS Classification of GINR Study Information Mr. Soutter moved to recommend approval of PGRR044 as recommended by PLWG in the 6/22/15 PLWG Report. Mr. Greer seconded the motion. The motion carried unanimously. White Paper – Differences between the CDR Report and Transmission Planning Models Mr. Hatfield moved to endorse the white paper “Addressing Differences between the CDR Report and Transmission Planning Models”; to house the white paper on the PLWG page; and to remove the item from the list of Open Action Items. Mr. Ryno seconded the motion. Mr. Schwarz noted that the motion does not contemplate the recommendations listed at the end of the white paper. The motion carried unanimously. Market Participants noted that portions of the white paper may become obsolete; that there is an issue with UPLAN dispatching; and that PLWG will begin drafting Revision Requests, based on the recommendations in the white paper, for eventual vetting in the established stakeholder process. Mr. Bern joined other Market Participants in expressing appreciation for the process by which the white paper was drafted. Steady State Working Group (SSWG) (see Key Documents) Doug Evans reviewed recent SSWG activities. Jay Teixeira reported that the designations “Data Set A” and “Data Set B” are being dispensed with in favor or 15SSWG – Update 1 and Update 2. Mr. Evans noted that a revised SSWG Procedure Manual would be brought for consideration to the next ROS meeting. Voltage Reduction Task Force (VRTF) (see Key Documents) Eithar Nashawati presented a report of feasibility of Voltage Reduction in ERCOT. Mr. Bern noted that the information would be provided to TAC. Other Business No Reports - NERC Reliability Working Group (NRWG) - Network Data Support Working Group (NDSWG) - Resource Data Working Group (RDWG) - System Protection Working Group (SPWG) Adjournment Mr. Bern adjourned the July 9, 2015 ROS meeting at 3:40 p.m.

Key Documents referenced in these minutes may be accessed on the ERCOT website at: http://www.ercot.com/calendar/2015/7/9/31896-ROS