| RMGRR Number | 134 | RMGRR Title | Allow AMS Data Submittal Process for TDSP-Read Non-Modeled Generators |
| --- | --- | --- | --- |
| Date Posted |  | January 26, 2016 |  |
| Requested Resolution |  | Normal |  |
| Retail Market Guide Sections Requiring Revision |  | 7.14, Out-flow Energy from Distributed Generation Facilities 7.14.1, Primary Requirements for Receiving a Settlement Adjustment for Out-flow Energy 7.14.2, Transmission and/or Distribution Service Provider Communication to ERCOT and the Retail Electric Provider of Record of Technical Information from Distributed Generation Interconnection Agreements 7.14.3, Metering Required for Measurement and Settlement of Out-flow Energy 7.14.4, Transmittal of Out-flow Power Energy Data 7.14.5, Transmittal of Out-flow Energy Data for Registered Distributed Generation (new) 7.14.5, ERCOT Processing of Meter Data for Out-flow Energy 7.14.7, ERCOT Processing of Meter Data for Registered Distributed Generation Out-flow Energy (new) |  |
| Related Documents Requiring Revision/Related Revision Requests |  | NPRR753, Allow AMS Data Submittal Process for TDSP-Read Non-Modeled Generators |  |
| Revision Description |  | This Retail Market Guide Revision Request (RMGRR) allows the option of using the Advanced Metering System (AMS) data submittal process for all Transmission and/or Distribution Service Provider (TDSP)-read Non-Modeled Generators, and reorganizes Section 7.14 and its subsections to clarify processes for unregistered Distributed Generation (DG) versus registered Non-Modeled Generators. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | Non-Modeled Generators are requesting installation of ERCOT-Polled Settlement (EPS) Meters to ensure their energy flows (in and out) are reflected in their Real-Time Market (RTM) Initial Statement. Allowing an option for the TDSP to use the AMS data submittal process for Non-Modeled Generators is a market enhancement that creates the opportunity for increased market efficiencies. The TDSP would have another option for submitting generation data using existing market processes and this option would allow the generation data to be included in initial Settlements. |  |

| Sponsor |  |
| --- | --- |
| Name | Don Tucker / Randy Roberts |
| E-mail Address | Donald.Tucker@ercot.com / Randy.Roberts@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-3913 / 512-248-3943 |
| Cell Number | 512-560-2378 / 512-913-7648 |
| Market Segment | Not Applicable. |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Cory Phillips |
| E-Mail Address | cory.phillips@ercot.com |
| Phone Number | 512-248-6464 |

Proposed Guide Language Revision

- 7.14	Out-flow Energy from Distributed Generation Facilities

(1)	Retail Electric Providers (REPs) or Resource Entities, via their Qualified Scheduling Entities (QSEs), can receive wholesale Settlement for out-flow energy, according to the processes and requirements outlined below.  This section details the requirements and processes for ERCOT to provide wholesale Settlement for out-flow energy submitted by a Transmission and/or Distribution Service Provider (TDSP).

- 7.14.1	TDSP Interconnection Agreeement

(1)

A current and valid Interconnection Agreement must be in place with the TDSP, as described in P.U.C. Subst. R. 25.211, Interconnection of On-Site Distributed Generation (DG), and P.U.C. Subst. R. 25.212, Technical Requirements for Interconnection and Parallel Operation Of On-Site Distributed Generation.

- 7.14.2	TDSP Communication of Technical Information from Distributed Generation Interconnection Agreements for Unregistered Distributed Generation

(1)	In order to assign a DG Load Profile, the TDSP is required to submit information  as specified in the Load Profiling Guide, Appendix D, Profile Decision Tree, to ERCOT, within ten Retail Business Days of the effective date of the Interconnection Agreement.

- 7.14.3	Metering Required for Measurement and Settlement of Out-flow Energy

(1)	The Premise must have metering installed at the point of common coupling that separately measures and reports consumption from the distribution network and out-flow energy from the Customer’s side of the meter to the distribution network.

(2)	A Premise with an Interval Data Recorder (IDR) must have both the Load and out-flow energy measured and settled with IDR data.

(3)	Customers choosing to have their out-flow energy measured, shall contact their TDSP to request the necessary metering if they have not already done so in conjunction with their interconnection activities.  TDSP charges may apply for the cost of the metering.  See P.U.C. Subst. R. 25.213, Metering for Distributed Renewable Generation and Certain Qualifying Facilities, for further details.

- 7.14.4	Transmittal of Out-flow Energy Data for Unregistered Distributed Generation

(1)	A Premise must have:

(a)	The Electric Service Identifier (ESI ID) assigned to a DG Load Profile as per the Load Profiling Guide, Appendix D, Profile Decision Tree; and

(b)	The total out-flow energy value (kWh) transmitted on the 867_03, Monthly or Final Usage, and the 867_02, Historical Usage, transactions in the REF~JH~I segment (REF = Meter Role, PTD = Non-Interval Detail).  The REF~JH~I (REF = Meter Role, PTD = Non-Interval Detail) segment is dedicated for out-flow energy values only.  For instances where there has been no out-flow energy, the segment should either be omitted or included and populated with zero.  In the absence of a meter that measures out-flow energy, the REF~JH~I shall not be included on the 867_02 or 867_03 transactions.

(2)	For IDR metering, interval out-flow energy values will also be provided in the ERCOT specified file format as described in Section 7.15, Advanced Meter Interval Data File Format and Submission, below.

7.14.5	Transmittal of Out-flow Energy Data for Registered Distributed Generation

(1)	All registered Distributed Generation must have IDR metering and a Resource ID (RID) assigned.  RID data submittal method shall be designated in the document titled “TDSP Read Generation Registration Form” as 867 or LSE.

(a)	If the RID data submittal method is 867, the interval out-flow energy values provided for Settlement will have data submitted via the 867_03 transaction as described in the Texas Standard Electronic Transaction Implementation Guides.

(b)	If the RID data submittal method is LSE, the interval out-flow energy values provided for Settlement will have data submitted via the ERCOT specified file format as described in Section 7.15, Advanced Meter Interval Data File Format and Submission, below.

7.14.6	ERCOT Processing of Meter Data for Unregistered Distributed Generation Out-flow Energy

(1)	ERCOT will process out-flow energy values for Settlement when data is submitted to ERCOT as described in Section 7.14.4, Transmittal of Out-flow Energy Data for Unregistered Distributed Generation, above, provided the DG is not registered as a Non-Modeled Generator.

(2)	For a detailed description of the wholesale Settlement impact of Load reductions for out-flow energy values, see Protocol Sections 11.4.4.2, Load Reduction for Excess PhotoVoltaic and Wind Distributed Renewable Generation, and 11.4.4.3, Load Reduction for Excess from Other Distributed Generation.

7.14.7	ERCOT Processing of Meter Data for Registered Distributed Generation Out-flow Energy

(1)	ERCOT will process out-flow energy values for Settlement of generation when data is submitted to ERCOT as described in Section 7.14.5, Transmittal of Out-flow Energy Data for Registered Distributed Generation, above, provided  the ERCOT registration process has been completed for the Resource Entity and the Non-Modeled Generator.  For more detailed information about the Resource registration process, Market Participants should contact their designated ERCOT Retail Account Manager.