## Slide 1: January 28, 2016 TAC Update to COPS
Michelle Trenary
February 10, 2016

## Slide 2: TAC and Subcommittee Leadership
<number>
    Technical Advisory Committee (TAC) (To be confirmed by the Board)
      Chair: Randa Stephenson, LCRA
      Vice Chair: Adrianne Brandt, Austin Energy
    Commercial Operations Subcommittee (COPS)
      Chair: Michelle Trenary, Tenaska Power Services
      Vice Chair: John Schatz, TXU Energy
    Protocol Revision Subcommittee (PRS)
      Chair: Amanda Frazier, Luminant
      Vice Chair: Chris Lyons, Exelon
    Reliability and Operations Subcommittee (ROS)
      Chair: Alan Bern, Oncor Electric Delivery
      Vice Chair: Boone Staples, Tenaska Power Services
    Wholesale Market Subcommittee (WMS)
      Chair: Jeremy Carpenter, Tenaska Power Services
      Vice Chair: David Kee, CPS Energy
    Retail Market Subcommittee (WMS) (To be confirmed February 25th)
      Chair: Kathy Scott, CenterPoint Energy
      Vice Chair: Rebecca Reed Zerwas, Reliant Energy Retail Services

## Slide 3: PRS Report
<number>
Revision Requests Considered by TAC
NPRR691, Alignment of Protocols with NERC Reliability Standard, BAL-001-TRE-1 [PDCWG] Approved (TAC Report clarifies that Non-Modeled Resources are not included in the changes proposed by NPRR691)
NPRR713, Reactive Power Testing Requirements [Luminant] Approved
NPRR720, Update to Settlement Stability Reporting Requirements [COPS] Approved
NPRR734, Digital Attestation Signature Authority Expansion [Brasovan Energy Solutions] Approved
NPRR739, Prohibiting Load Resources Associated with a Dynamically Scheduled Resource [MP2 Energy] Approved
NPRR740, Retail Clarification and Cleanup [ERCOT] Approved

## Slide 4: PRS Report (Cont.)
<number>
NPRR742, CRR Balancing Account Invoice Data Cuts [LCRA] Approved
NPRR743, Revision to MCE to Have a Floor For Load Exposure [ERCOT] Approved
Revision Requests Previously Tabled at TAC
LPGRR055, Extend Load Profile Model Calendar Inputs to 2030 [COPS] Approved

## Slide 5: WMS Report
<number>
Supply Analysis Working Group’s ‘Discussion on ORDC Parameters with EROCT Staff Analysis and Stakeholder Position Papers’ TAC voted to endorse the ORDC Whitepaper as responsive to the Commission’s request; ERCOT Legal will file on behalf of Stakeholders
SAWG Whitepaper, ‘A Review of ORDC Options’
  Level of X
  # of standard deviations used to formulate LOLP
  VOLL
  Alignment of ORDC and PRC
  Other inputs used to calculate LOLP
ERCOT ORDC Options Analysis
Position Papers (11 submitted from various Market Participants)

## Slide 6: ROS Report
<number>
Nodal Operating Guide Revision Requests Considered
NOGRR143, Alignment of Nodal Operating Guides with NERC Reliability Standard, BAL-001-TRE-1 Approved
NOGRR147, Reactive Power Testing Requirements as recommended by OWG Approved

## Slide 7: COPS Report
<number>
MDWG Scope Discussion
Concern that the MDWG scope appears to take in the scope of the SMT/AMWG; Maybe shouldn’t encompass every piece of data in the market; May be too far reaching
MDWG scope should include data content; What data is made available to Market Participants
MDWG/COPS to consider making changes to the already approved MDWG scope; Limit scope? Exclude SMT data? Exclude data related project in development and only focus on production data?

## Slide 8: COPS Report (Cont.)
<number>
MDWG Scope Approved by COPS
    The Market Data Working Group (MDWG) reporting to Commercial Operations Subcommittee (COPS) provides a forum for discussion, input and comment on issues related to ERCOT market data, including data output, data access, data accuracy, and data classification.
MISUG Scope
    The Market Information System User Group (MISUG) reporting to Commercial Operating Subcommittee (COPS) provides a forum for discussion, input and comment on issues related to MIS and external web services, data access points for market participants, information security classifications and extract and report changes.

## Slide 9: COPS Report (Cont.)
<number>
AMWG Scope
Reporting to the Retail Market Subcommittee (RMS), the Advanced Metering Working Group (AMWG) serves as the forum for addressing topics related to advanced metering systems in ERCOT such as data monitoring, issue identification and resolution, as well as, identifying improvement opportunities related to advanced meter data using the defined change control process.
AMWG will be responsible for creation and maintenance of Service Level Agreements and design of needed reports concerning performance, metrics, and statistics as necessary (including but not limited to the quality, timeliness, and completeness of data made available by the TDSPs to ERCOT and Smart Meter Texas (SMT) and by SMT to Retail Electric Providers (REPS) and other Market Participants).

## Slide 10: ERCOT
<number>
Annual RUC Reporting/Review
411 Instructed RUC Unit Hours in 2015
  20 hours (4.9%) for Voltage/Reactive Support
  383 hours (93.2%) for Congestion
  8 hours (1.9%) for Capacity
141 hours were successfully bought back through ONOPTOUT
20.1 out of 398 Instructed Effective RUC Unit Hours were dispatched above LDL
Total RUC Make Whole Payments of ($479,452) for 2015
Total RUC Shortfall Total of 4,393,024 MW-hours resulting in a near zero Make-Whole Uplift Charge
Even after automating creation/flooring of EOC at RUC floor with NPRR626 implementation, there is still EOC non-compliance and inconsistency with settlement due to error in telemetry and inconsistency of COP and telemetry

## Slide 11: ERCOT (Cont.)
<number>
Invalid February Auction Results and Collateral Implications
Results for the CRR Auction were initially posted at 10 AM on Thursday, January 14, 2016
During this time, we detected the error in the transfer of transaction data to ERCOT Settlements (PCRRs that were allocated or modified just prior to the auction execution were not considered by the software engine – caused by unidentified software behavior that was not compatible with ERCOT staff’s new procedures), as part of our procedural validations, and began investigating the issue
Market Participants were notified at ~4:30 PM on Thursday, January 14, 2016, that the results for the CRR Auction that had been posted were invalid
Immediate mitigation measures were implemented
Updated results were posted on the ERCOT website at ~3:30 PM on Sunday, January 17, 2016
Credit associated with the auction was not released until Monday, January 18, 2016
There was one collateral call associated with the delayed CRR Auction
No instances of constrained DAM activity were noted

## Slide 12: ERCOT (Cont.)
<number>
Distributed Resource Energy Ancillaries Market (DREAM) Task Force Update
As directed by TAC, the DREAM Task Force reviewed the current regulatory and market framework for distributed resource participation in ERCOT. The DREAM Task Force published a white paper which should be finalized in February.
A half-day Workshop has been scheduled for the morning of February 25th (The TAC Meeting will begin at 1:00 pm on the same day)
Ancillary Services Redesign Update
Next steps:
February 1, 2016: NPRR667 workshop to review stakeholder comments
February 11, 2016: PRS meeting; possible vote on NPRR667 (After Workshop, this changed to the March PRS meeting)
February 25, 2016: TAC meeting; possible vote on NPRR667 (Will fall to the March TAC meeting)
April 19, 2015: Board of Directors meeting (or subsequent meeting, June 14 or August 9)

## Slide 13: Other Business
<number>
Market Continuity Planning
Joel Mickey introduced the topic of Market Continuity Planning
How to start the market after a black start event
How to operate the market if there is a natural disaster and ERCOT systems are down for several days
Cybersecurity issues - If market software is down for a prolonged amount of time; how would credit and cash flow
A Workshop will be scheduled; WMS and RMS will be heavily involved, however a potential Task Force would report directly to the TAC so all can participate
Next TAC Meeting is scheduled for February 25, 2015