## Contents
Table of Contents
Tab | Notes
Disclaimer | Please read
Updates | List of files and items updated in each file
Demand | Monthly peak demand data for this year and last year
Energy | Monthly energy data for this year and last year
LoadZones | Monthly peak demand and energy data for this year by load zone
WeatherZones | Monthly peak demand and energy data for this year by weather zone
EnergybyFuelType | Actual energy and percentages by fuel type
EnergybyFuelChart | Stacked chart of MWh by fuel type by month
EnergyComparisons | Bar graphs comparing this year's energy with last year's and with forecasted
DemandComparison | Graphs comparing this year's monthly peaks with last year's and with forecasted

## Disclaimer
Disclaimer
DEMAND AND ENERGY REPORT
FOR PLANNING PURPOSES ONLY
This ERCOT Working Paper has been prepared for specific ERCOT and market participant purposes and has been developed from data provided through the settlement process. The data may contain errors or become obsolete and thereby affect the conclusions and opinions of the Working Paper. ERCOT MAKES NO WARRANTY, EXPRESS OR IMPLIED, INCLUDING ANY WARRANTY OF MERCHANTABILITY OR FITNESS FOR ANY PARTICULAR PURPOSE, AND DISCLAIMS ANY AND ALL LIABILITY WITH RESPECT TO THE ACCURACY OF SAME OR THE FITNESS OR APPROPRIATENESS OF SAME FOR ANY PARTICULAR USE. THIS ERCOT WORKING PAPER IS SUPPLIED WITH ALL FAULTS.
Note: This report contains data updates reflecting final settlements from August 1 through November 30, 2015. ERCOT will continue to publish values based on preliminary settlements following the end of the month. Going forward, the reports will also reflect final settlements occurring 55 days after each Operating Day of the month. Consequently, monthly final settlement updates will be lagged by two months. For example, the February 2016 report with January data will show final settlement updates for November 2015. Values that have been updated based on final settlements are indicated throughout this report; all other values are based on preliminary settlements data.

## Updates
File Updated | 2016-02-08

## Demand
ELECTRIC RELIABILITY COUNCIL OF TEXAS
DEMAND FOR 2015
[5 empty] | Updated | 2016-02-08
NET SYSTEM MAXIMUM HOURLY DEMAND
Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug* | Sep* | Oct* | Nov* | Dec | Annual
2015 Demand, MW | 56831.7803 | 54539.4251 | 53179.5284 | 45227.4211 | 53389.3965 | 61732.2719 | 67650.277 | 69877.0467 | 64458.1963 | 59186.5655 | 44945.1434 | 44922.1336 | 69877.0467
Date | 2015-01-08 | 2015-02-23 | 2015-03-06 | 2015-04-09 | 2015-05-18 | 2015-06-10 | 2015-07-30 | 2015-08-10 | 2015-09-08 | 2015-10-12 | 2015-11-05 | 2015-12-28
Hour Ending | 08:00 | 19:00 | 07:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 19:00 | 19:00
Day of Week | Thursday | Monday | Friday | Thursday | Monday | Wednesday | Thursday | Monday | Tuesday | Monday | Thursday | Monday
Forecasted Demand, MW | 52837.006 | 50661.7481 | 45096.691 | 47329.1693 | 61957.4679 | 63076.8181 | 64215.3522 | 69056.8043 | 58006.4572 | 49708.9491 | 45439.1982 | 47269.9762 | 69056.8043
Difference, percent | 7.561% | 7.654% | 17.92% | -4.441% | -13.83% | -2.132% | 5.349% | 1.188% | 11.12% | 19.07% | -1.087% | -4.967% | 1.188%
2014 Demand, MW | 57256.3073 | 57010.71 | 54587.4097 | 48400.126 | 52615.3527 | 59785.7728 | 63531.9867 | 66453.6387 | 64439.5577 | 58419.1941 | 50807.3407 | 48361.715 | 66453.6387
Date | 2014-01-07 | 2014-02-06 | 2014-03-03 | 2014-04-28 | 2014-05-30 | 2014-06-30 | 2014-07-21 | 2014-08-25 | 2014-09-10 | 2014-10-01 | 2014-11-17 | 2014-12-31
Hour Ending | 8:00 | 8:00 | 8:00 | 18:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 07:15 | 19:00
Day of Week | Tuesday | Thursday | Monday | Monday | Friday | Monday | Monday | Monday | Wednesday | Wednesday | Monday | Wednesday
Increase, MW | -424.527 | -2471.285 | -1407.8813 | -3172.7049 | 774.0439 | 1946.4991 | 4118.2903 | 3423.408 | 18.6387 | 767.3714 | -5862.1973 | -3439.5814
Increase, percent | -0.7415% | -4.335% | -2.579% | -6.555% | 1.471% | 3.256% | 6.482% | 5.152% | 0.02892% | 1.314% | -11.54% | -7.112%
Max All Time | 57256.3073 | 57265 | 54587.4097 | 51800 | 58947 | 66548 | 67650.277 | 69877.0467 | 64862 | 59134 | 50807 | 53642.4399
Date | 1/7/2014 at 0800 | 2/10/2011 at 0800 | 3/3/2014 at 0800 | 4/18/2006 at 1700 | 5/29/2012 at 1700 | 6/26/2012 at 1700 | 7/30/2015 at 1700 | 8/10/2015 at 1700 | 9/5/2012 at 1700 | 10/12/2015 at 1700 | 11/17/2014 at 0715 | 12/10/2013 at 0800
NET SYSTEM MAXIMUM DEMAND BASED ON 15-MINUTE INTERVALS
Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug* | Sep* | Oct* | Nov* | Dec | Annual
2015 Demand, MW | 57431.2919 | 54904.4372 | 54141.09 | 45420.4158 | 53660.5525 | 61778.8429 | 67699.5589 | 69942.2709 | 64512.6455 | 59305.7573 | 45056.046 | 45028 | 69942.2709
Date | 2015-01-08 | 2015-02-23 | 2015-03-06 | 2015-04-09 | 2015-05-18 | 2015-06-10 | 2015-07-30 | 2015-08-10 | 2015-09-08 | 2015-10-12 | 2015-11-05 | 2015-12-28
Interval Ending | 07:15 | 19:00 | 07:15 | 17:00 | 17:00 | 16:45 | 16:45 | 17:00 | 16:30 | 16:45 | 18:30 | 19:00
Day of Week | Thursday | Monday | Friday | Thursday | Monday | Wednesday | Thursday | Monday | Tuesday | Monday | Thursday | Monday
Max All Time | 57812.739 | 57971 | 54660.2529 | 52024 | 59170 | 66577 | 65889 | 69942.2709 | 64959 | 59254 | 51272.8524 | 54248.5695
Date | 1/7/2014 at 0715 | 2/10/2011 at 0715 | 3/3/2014 at 0730 | 4/17/2006 at 1615 | 5/29/2012 at 1700 | 6/26/2012 at 1630 | 7/30/2015 at 1645 | 8/10/2015 at 1700 | 9/5/2012 at 1700 | 10/12/2015 at 16:45 | 11/17/2014 0800 | 12/10/2013 at 0715
NET SYSTEM MINIMUM DEMAND
Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug* | Sep* | Oct* | Nov* | Dec
2015 Demand, MW | 25569.1085 | 25030.8769 | 24293.3723 | 24394.9875 | 25193.3544 | 27424 | 32472.9504 | 31650.678 | 27838.9887 | 24819.5891 | 24711.706 | 26221
Date | 2015-01-29 | 2015-02-15 | 2015-03-29 | 2015-04-05 | 2015-05-03 | 2015-06-01 | 2015-07-02 | 2015-08-21 | 2015-09-13 | 2015-10-26 | 2015-11-02 | 2015-12-21
Interval Ending | 03:15 | 03:45 | 05:00 | 04:45 | 05:00 | 04:00 | 04:00 | 03:45 | 05:00 | 03:15 | 03:00 | 03:00
Day of Week | Thursday | Sunday | Sunday | Sunday | Sunday | Monday | Thursday | Friday | Sunday | Monday | Monday | Monday
*Information for 2015 for this month has been updated based on final settlements.

## Energy
ELECTRIC RELIABILITY COUNCIL OF TEXAS
ENERGY FOR 2015
[5 empty] | Updated: | 2016-02-08
NET ENERGY FOR LOAD
Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug* | Sep* | Oct* | Nov* | Dec | Annual
2015 Energy, MWh | 28847439.0274 | 25114475.7802 | 25355022.1119 | 24606485.9577 | 27877499.8837 | 32356581.9996 | 36975136.0283 | 36965273.4935 | 32161486.8503 | 27495201.2209 | 24016700.9886 | 25833078.1932 | 347604381.5353
2015 YTD Energy, MWh | 28847439.0274 | 53961914.8076 | 79316936.9196 | 103923422.8772 | 131800922.761 | 164157504.7606 | 201132640.7889 | 238097914.2824 | 270259401.1327 | 297754602.3536 | 321771303.3421 | 347604381.5353
Forecasted Energy, MWh | 28208046.161 | 25140824.984 | 24710496.296 | 24485409.972 | 29658208.826 | 32107522.097 | 35159664.51 | 36195886.94 | 29494023.676 | 26443016.623 | 24700786.338 | 26595197.027 | 342899083.45
Difference, percent | 2.267% | -0.1048% | 2.608% | 0.4945% | -6.004% | 0.7757% | 5.164% | 2.126% | 9.044% | 3.979% | -2.769% | -2.866% | 1.372%
YTD Forecasted Energy, MWh | 28208046.161 | 53348871.145 | 78059367.441 | 102544777.413 | 132202986.239 | 164310508.336 | 199470172.846 | 235666059.786 | 265160083.462 | 291603100.085 | 316303886.423 | 342899083.45
YTD Difference, percent | 2.267% | 1.149% | 1.611% | 1.344% | -0.3041% | -0.09312% | 0.8334% | 1.032% | 1.923% | 2.11% | 1.729% | 1.372%
2014 Energy, MWh | 28105525.1185 | 24855046.2309 | 24689371.2733 | 23937713.3843 | 27334866.1547 | 31789613.5012 | 34397254.9295 | 35911714.8876 | 30994098.5727 | 27436477.5495 | 24653007.6169 | 25928664.1757 | 340033353.3948
Increase, MWh | 741913.9089 | 259429.5493 | 665650.8387 | 668772.5734 | 542633.729 | 566968.4984 | 2577881.0988 | 1053558.6059 | 1167388.2776 | 58723.6714 | -636306.6283 | -95585.9825 | 7571028.1405
Increase, percent | 2.64% | 1.044% | 2.696% | 2.794% | 1.985% | 1.784% | 7.494% | 2.934% | 3.766% | 0.214% | -2.581% | -0.3686% | 2.227%
2014 YTD Energy, MWh | 28105525.1185 | 52960571.3494 | 77649942.6227 | 101587656.007 | 128922522.1617 | 160712135.6629 | 195109390.5924 | 231021105.48 | 262015204.0527 | 289451681.6022 | 314104689.2192 | 340033353.3948
YTD Increase, MWh | 741913.9089 | 1001343.4582 | 1666994.2968 | 2335766.8703 | 2878400.5993 | 3445369.0977 | 6023250.1965 | 7076808.8024 | 8244197.08 | 8302920.7513 | 7666614.123 | 7571028.1405
YTD Increase, percent | 2.64% | 1.891% | 2.147% | 2.299% | 2.233% | 2.144% | 3.087% | 3.063% | 3.146% | 2.868% | 2.441% | 2.227%
NET SYSTEM LOAD FACTORS BASED ON HOURLY DEMAND
Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug* | Sep* | Oct* | Nov* | Dec | Annual
2015 | 68.22% | 68.52% | 64.08% | 75.56% | 70.18% | 72.8% | 73.46% | 71.1% | 69.3% | 62.44% | 74.22% | 77.29% | 56.79%
2014 | 65.98% | 64.88% | 60.79% | 68.69% | 69.83% | 73.85% | 72.77% | 72.63% | 66.8% | 63.12% | 67.39% | 72.06% | 58.41%
NET SYSTEM LOAD FACTORS BASED ON 15-MINUTE DEMAND
Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug* | Sep* | Oct* | Nov* | Dec | Annual
2015 | 67.51% | 68.07% | 62.95% | 75.24% | 69.83% | 72.74% | 73.41% | 71.04% | 69.24% | 62.31% | 74.03% | 77.11% | 56.73%
*Information for 2015 for this month has been updated based on final settlements.

## LoadZones
ELECTRIC RELIABILITY COUNCIL OF TEXAS
DEMAND AND ENERGY BY LOAD SETTLEMENT ZONE FOR 2015
[6 empty] | Updated | 2016-02-08
BASED ON 15-MINUTE INTERVALS
NET ZONE DEMAND COINCIDENT WITH ERCOT SYSTEM PEAK, MW
Settlement Zone | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug* | Sep* | Oct* | Nov* | Dec
LZ_AEN | 2084.1358 | 2076.002 | 1983.3698 | 1814.8613 | 2065.5499 | 2314.2243 | 2570.5381 | 2659.953 | 2503.9943 | 2398.3752 | 1848.7573 | 1692.0861
LZ_CPS | 3854.979 | 3892.0464 | 3717.9807 | 3186.601 | 3873.0763 | 4171.514 | 4546.0031 | 4774.7256 | 4532.9827 | 4329.2857 | 3363.3639 | 2903.3959
LZ_HOUSTON | 12949.3735 | 12668.8939 | 12361.3324 | 12912.1297 | 14491.4618 | 16634.809 | 18118.1582 | 18502.8034 | 16358.4352 | 15780.6742 | 12590.4856 | 10487.5423
LZ_LCRA | 2581.1531 | 2891.5346 | 2930.0329 | 1798.8618 | 2147.8619 | 2439.7028 | 2848.1598 | 2939.0148 | 2682.9717 | 2632.0201 | 1871.6551 | 2184.3369
LZ_NORTH | 23213.4795 | 21377.947 | 21179.0496 | 15787.5908 | 19808.2466 | 23605.0432 | 25987.3293 | 26882.2931 | 24989.5913 | 21973.1537 | 15282.6147 | 17988.6581
LZ_RAYBN | 814.6136 | 364.3164 | 575.1221 | 352.3252 | 341.614 | 636.5924 | 663.1143 | 805.3574 | 698.7338 | 588.8679 | 377.5727 | 613.2553
LZ_SOUTH | 7370.4186 | 7203.6662 | 7163.5476 | 5886.4044 | 6752.1406 | 7387.3357 | 8061.6041 | 8239.3041 | 7854.8033 | 7532.972 | 6167.2799 | 5277.3203
LZ_WEST | 4563.1389 | 4430.0306 | 4230.655 | 3681.6416 | 4180.6014 | 4589.6215 | 4904.6521 | 5138.8196 | 4891.1331 | 4070.4086 | 3554.3168 | 3881.3479
NET ZONE NON-COINCIDENT PEAK DEMAND, MW
Settlement Zone | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug* | Sep* | Oct* | Nov* | Dec
LZ_AEN | 2084.1358 | 2076.002 | 1983.3698 | 2087.8448 | 2126.8521 | 2352.6215 | 2604.8043 | 2752.9485 | 2512.9597 | 2398.3752 | 1848.7573 | 1696.8307
Date and time | 8 @ 07:15 | 23 @ 19:00 | 6 @ 07:15 | 27 @ 19:30 | 20 @ 17:00 | 9 @ 18:00 | 31 @ 16:30 | 12 @ 17:00 | 8 @ 17:00 | 12 @ 16:45 | 5 @ 18:30 | 28 @ 18:30
LZ_CPS | 3854.979 | 3899.8704 | 3767.0632 | 3464.0382 | 3905.513 | 4286.151 | 4747.0334 | 4935.7106 | 4660.595 | 4347.0853 | 3366.6552 | 3041.2937
Date and time | 8 @ 07:15 | 27 @ 19:00 | 6 @ 07:00 | 27 @ 17:15 | 27 @ 17:00 | 29 @ 16:45 | 28 @ 18:00 | 12 @ 15:00 | 8 @ 18:00 | 12 @ 17:30 | 5 @ 18:15 | 4 @ 07:15
LZ_HOUSTON | 12963.3204 | 12668.8939 | 12389.7376 | 13858.1852 | 15218.4344 | 17028.5395 | 18181.1057 | 18998.1604 | 16358.4352 | 15864.4302 | 13115.9041 | 11449.3207
Date and time | 9 @ 18:00 | 23 @ 19:00 | 6 @ 06:45 | 23 @ 16:15 | 28 @ 14:30 | 24 @ 16:15 | 28 @ 16:00 | 11 @ 16:00 | 8 @ 16:30 | 12 @ 16:00 | 5 @ 15:15 | 11 @ 18:00
LZ_LCRA | 2792.8299 | 2901.8811 | 2930.0329 | 2010.5082 | 2175.882 | 2663.5187 | 2978.5927 | 3007.2179 | 2751.7821 | 2632.0201 | 2105.3278 | 2252.0178
Date and time | 5 @ 07:45 | 23 @ 19:15 | 6 @ 07:15 | 25 @ 16:45 | 20 @ 17:00 | 26 @ 18:30 | 29 @ 18:30 | 11 @ 17:30 | 7 @ 17:00 | 12 @ 16:45 | 23 @ 07:30 | 28 @ 08:00
LZ_NORTH | 23213.4795 | 21456.3333 | 21183.544 | 16679.8246 | 19808.2466 | 23616.2781 | 25998.0323 | 26899.4306 | 24992.828 | 21973.1537 | 15642.0214 | 18082.2533
Date and time | 8 @ 07:15 | 23 @ 18:30 | 6 @ 07:00 | 2 @ 17:00 | 18 @ 17:00 | 10 @ 16:30 | 30 @ 16:15 | 10 @ 16:30 | 8 @ 16:00 | 12 @ 16:45 | 30 @ 19:00 | 28 @ 18:30
LZ_RAYBN | 815.1727 | 714.7731 | 763.2775 | 449.8587 | 424.0577 | 672.1556 | 732.0876 | 814.428 | 758.3887 | 591.0338 | 516.1434 | 621.7542
Date and time | 8 @ 07:00 | 28 @ 09:15 | 9 @ 18:45 | 7 @ 18:00 | 9 @ 17:45 | 29 @ 18:00 | 20 @ 18:00 | 10 @ 18:30 | 7 @ 17:00 | 12 @ 17:00 | 22 @ 07:45 | 17 @ 07:00
LZ_SOUTH | 7754.6397 | 7242.6884 | 7163.5476 | 6163.3483 | 6762.1802 | 7414.0713 | 8069.6931 | 8416.4759 | 7854.8033 | 7542.6406 | 6330.2657 | 5675.9738
Date and time | 10 @ 11:30 | 23 @ 19:45 | 6 @ 07:15 | 25 @ 17:00 | 18 @ 16:45 | 11 @ 16:45 | 30 @ 15:45 | 12 @ 16:30 | 8 @ 16:30 | 12 @ 16:30 | 5 @ 15:00 | 28 @ 08:15
LZ_WEST | 4565.8335 | 4488.4568 | 4354.7412 | 4016.741 | 4194.0864 | 4686.6937 | 4978.3968 | 5179.5944 | 4900.5949 | 4326.4304 | 3892.8308 | 4141.1745
Date and time | 8 @ 07:30 | 27 @ 19:30 | 5 @ 07:30 | 2 @ 16:15 | 27 @ 16:45 | 11 @ 16:45 | 27 @ 15:00 | 5 @ 16:45 | 8 @ 16:00 | 1 @ 17:00 | 28 @ 18:45 | 18 @ 07:30
NET ENERGY FOR LOAD, MWh
Settlement Zone | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug* | Sep* | Oct* | Nov* | Dec | Total
LZ_AEN | 1081267.8789 | 942435.4147 | 986681.0184 | 985484.5846 | 1099334.6037 | 1236496.4777 | 1412089.0112 | 1460230.7212 | 1271421.8576 | 1099017.8046 | 928872.012 | 974771.8496 | 13478103.2343
LZ_CPS | 1905765.7766 | 1605099.1494 | 1636948.0295 | 1633833.3454 | 1898825.6039 | 2152741.8685 | 2480207.3981 | 2580411.8032 | 2253358.1102 | 1911732.9373 | 1556903.6734 | 1670913.5752 | 23286741.2707
LZ_HOUSTON | 7149551.9945 | 6300226.5296 | 6569560.123 | 6951111.7816 | 8079493.2453 | 8941211.3873 | 10114764.7502 | 9776162.3168 | 8443816.3055 | 7673229.8036 | 6542061.7826 | 6736253.344 | 93277443.3639
LZ_LCRA | 1303569.6442 | 1073801.9632 | 1021057.4091 | 910866.7614 | 1041297.0722 | 1266018.3338 | 1544795.3934 | 1508995.6423 | 1279441.8299 | 1068830.63 | 929087.4626 | 1062545.7245 | 14010307.8667
LZ_NORTH | 10720635.4557 | 9524562.3487 | 9255176.7405 | 8386175.3471 | 9423297.7451 | 11792814.6129 | 13664704.9076 | 13659683.3633 | 11819535.1674 | 9458754.3938 | 8359389.7616 | 9297115.7771 | 125361845.6207
LZ_RAYBN | 321123.251 | 276298.4436 | 271818.4737 | 202498.3053 | 210721.0089 | 286150.182 | 342557.2241 | 355252.8207 | 297586.4311 | 222515.3375 | 212641.3233 | 273447.2322 | 3272610.0334
LZ_SOUTH | 3733905.5624 | 3067349.6885 | 3172462.8002 | 3216949.8564 | 3682260.6306 | 4021611.3719 | 4496787.9368 | 4615022.75 | 4063991.9313 | 3644143.5207 | 3136077.2196 | 3284526.4565 | 44135089.725
LZ_WEST | 2631619.4641 | 2324702.2423 | 2441317.5175 | 2319565.9759 | 2442269.974 | 2659537.7655 | 2919229.4067 | 3009514.0761 | 2732335.2173 | 2416976.7934 | 2351667.7535 | 2533504.2341 | 30782240.4205
*Information for 2015 for this month has been updated based on final settlements.
Totals may not match the ERCOT values because of rounding.

## WeatherZones
ELECTRIC RELIABILITY COUNCIL OF TEXAS
DEMAND AND ENERGY BY WEATHER ZONE FOR 2015
[6 empty] | Updated | 2016-02-08
Based on 15-Minute Intervals
NET ZONE DEMAND COINCIDENT WITH ERCOT SYSTEM PEAK, MW
Weather Zone | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug* | Sep* | Oct* | Nov* | Dec
Coast | 13921.1055 | 13557.7295 | 13251.0293 | 13572.0091 | 15340.9626 | 17520.4122 | 19117.6989 | 19466.7394 | 17259.9371 | 16645.5928 | 13477.3523 | 11311.5915
East | 2275.1996 | 1974.0041 | 2035.6722 | 1612.6013 | 1642.9277 | 2177.5197 | 2390.0676 | 2430.1971 | 2223.0139 | 2163.5103 | 1539.2368 | 1710.7666
Far West | 2502.5822 | 2444.8686 | 2381.4887 | 2131.6682 | 2428.6504 | 2580.172 | 2703.3138 | 2830.4044 | 2711.8863 | 2355.1555 | 2115.5464 | 2204.7698
North Central | 21395.2323 | 19483.0545 | 19422.4565 | 14300.1994 | 18255.3105 | 21698.2333 | 23845.6221 | 24852.9544 | 23087.268 | 20084.6179 | 13920.0312 | 16637.8944
North | 1293.4575 | 1169.7624 | 1147.1538 | 850.637 | 1025.939 | 1272.8015 | 1404.1922 | 1458.9212 | 1365.1439 | 1070.3725 | 824.0988 | 999.7077
South Central | 9498.15 | 9904.9125 | 9623.3187 | 7646.8623 | 9062.5459 | 10032.2248 | 11188.3367 | 11668.9021 | 10920.0712 | 10516.7039 | 7943.2866 | 7581.5918
South | 4914.7287 | 4653.3117 | 4624.1718 | 4016.8776 | 4482.8806 | 4879.4742 | 5260.7356 | 5359.9084 | 5170.5835 | 4979.1511 | 4077.4428 | 3178.9992
West | 1630.8361 | 1716.794 | 1655.799 | 1289.561 | 1421.3358 | 1618.0052 | 1789.5922 | 1874.2438 | 1774.7416 | 1490.6533 | 1159.0513 | 1402.6218
NET ZONE NON-COINCIDENT PEAK DEMAND, MW
Weather Zone | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug* | Sep* | Oct* | Nov* | Dec
Coast | 13921.1055 | 13557.7295 | 13284.8378 | 14687.7673 | 16027.9186 | 17891.4052 | 19162.5612 | 19981.1874 | 17259.9371 | 16723.0488 | 13990.9463 | 12158.5702
Date and time | 8 @ 07:15 | 23 @ 19:00 | 6 @ 06:45 | 23 @ 16:15 | 28 @ 14:30 | 24 @ 16:15 | 28 @ 16:00 | 11 @ 16:00 | 8 @ 16:30 | 12 @ 16:00 | 5 @ 15:15 | 11 @ 18:00
East | 2275.1996 | 2064.1945 | 2035.6722 | 1705.1105 | 1939.7674 | 2255.0267 | 2489.3088 | 2459.1353 | 2295.8439 | 2163.5103 | 1606.9386 | 1721.3151
Date and time | 8 @ 07:15 | 23 @ 18:30 | 6 @ 07:15 | 7 @ 16:45 | 20 @ 18:15 | 24 @ 16:00 | 30 @ 15:45 | 11 @ 14:45 | 8 @ 14:30 | 12 @ 16:45 | 23 @ 07:30 | 3 @ 07:30
Far West | 2503.156 | 2485.5363 | 2433.2024 | 2281.1163 | 2490.6824 | 2659.0023 | 2768.3509 | 2871.6092 | 2714.0404 | 2520.9702 | 2256.7999 | 2374.3501
Date and time | 8 @ 07:30 | 27 @ 19:30 | 4 @ 20:30 | 2 @ 16:45 | 27 @ 16:45 | 11 @ 16:45 | 27 @ 15:00 | 13 @ 16:45 | 8 @ 16:15 | 1 @ 16:45 | 27 @ 18:30 | 18 @ 07:30
North Central | 21395.2323 | 19553.9996 | 19432.7024 | 15271.7822 | 18255.3105 | 21698.2333 | 23852.7206 | 24859.8403 | 23087.268 | 20084.6179 | 14454.4119 | 16737.5248
Date and time | 8 @ 07:15 | 27 @ 18:45 | 6 @ 07:00 | 2 @ 17:45 | 18 @ 17:00 | 10 @ 16:45 | 30 @ 17:00 | 10 @ 16:30 | 8 @ 16:30 | 12 @ 16:45 | 28 @ 11:30 | 28 @ 18:30
North | 1296.3863 | 1191.0358 | 1211.9066 | 941.074 | 1025.939 | 1275.4846 | 1406.7926 | 1468.9871 | 1370.0654 | 1104.4126 | 932.9139 | 1021.6274
Date and time | 8 @ 07:30 | 23 @ 10:30 | 4 @ 19:30 | 2 @ 16:45 | 18 @ 17:00 | 30 @ 17:00 | 30 @ 16:30 | 10 @ 16:00 | 8 @ 16:00 | 15 @ 16:30 | 28 @ 10:45 | 18 @ 07:15
South Central | 9498.15 | 9904.9125 | 9643.5508 | 8113.5883 | 9201.6404 | 10262.0362 | 11449.8774 | 11966.8025 | 11057.0994 | 10521.9571 | 7949.2756 | 7622.8277
Date and time | 8 @ 07:15 | 23 @ 19:00 | 6 @ 07:00 | 25 @ 16:45 | 20 @ 17:15 | 29 @ 17:30 | 29 @ 18:15 | 11 @ 18:00 | 8 @ 18:00 | 12 @ 17:00 | 5 @ 18:15 | 28 @ 08:00
South | 5301.5306 | 4718.7115 | 4624.1718 | 4181.7183 | 4533.4941 | 4968.1041 | 5294.1311 | 5502.3679 | 5179.3898 | 4995.338 | 4310.9969 | 3643.6772
Date and time | 10 @ 11:30 | 23 @ 20:30 | 6 @ 07:15 | 23 @ 16:45 | 28 @ 16:45 | 11 @ 16:45 | 30 @ 15:45 | 13 @ 16:30 | 7 @ 15:45 | 12 @ 16:00 | 5 @ 14:45 | 4 @ 07:15
West | 1653.3638 | 1719.4331 | 1655.799 | 1334.3958 | 1427.0035 | 1634.9226 | 1812.5289 | 1923.097 | 1775.7787 | 1584.0285 | 1356.9796 | 1491.778
Date and time | 5 @ 07:30 | 23 @ 19:30 | 6 @ 07:15 | 2 @ 16:15 | 18 @ 16:45 | 26 @ 16:45 | 27 @ 16:45 | 5 @ 17:00 | 8 @ 16:45 | 1 @ 16:00 | 28 @ 10:15 | 18 @ 07:30
NET ZONE ENERGY, MWh
Weather Zone | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug* | Sep* | Oct* | Nov* | Dec | Annual
Coastal | 7697855.8817 | 6770304.2807 | 7068355.796 | 7436014.675 | 8618588.7015 | 9516254.0141 | 10760013.9841 | 10400343.5058 | 9001275.6196 | 8161179.2889 | 7034074.7001 | 7247353.2539 | 99711613.7012
East | 1078593.6887 | 935143.3905 | 904173.4003 | 880427.2242 | 974321.8057 | 1124456.6027 | 1309742.7909 | 1280344.4742 | 1130419.2666 | 968708.667 | 848508.6622 | 911220.7148 | 12346060.6879
Far West | 1524031.98 | 1355998.2247 | 1447706.4952 | 1387876.8943 | 1482973.9586 | 1552049.1702 | 1682725.2502 | 1728648.5009 | 1595703.9266 | 1469475.0549 | 1443395.4679 | 1536150.4604 | 18206735.3839
North Central | 9808988.9578 | 8719453.449 | 8489167.6613 | 7594060.0217 | 8532827.148 | 10782148.1279 | 12489691.1993 | 12543025.8298 | 10817480.3225 | 8579963.6157 | 7608901.7881 | 8527304.0061 | 114493012.1271
North | 648637.376 | 580753.3039 | 565203.3386 | 503868.615 | 540786.18 | 661729.8868 | 759190.4083 | 757587.1368 | 669197.2331 | 544114.6667 | 514023.1328 | 579001.4214 | 7324092.6995
South Central | 4786645.2268 | 4063942.0685 | 4088922.9439 | 3975883.2266 | 4535657.1737 | 5222776.9969 | 6091695.3871 | 6239525.61 | 5394383.5993 | 4578553.4128 | 3835677.2468 | 4155908.5816 | 56969571.474
South | 2400514.7133 | 1922009.9412 | 2009191.5053 | 2103603.7813 | 2441530.6484 | 2632658.9031 | 2903908.7028 | 2992947.778 | 2652046.7959 | 2442930.687 | 2030243.0563 | 2090185.3029 | 28621771.8155
West | 902171.2032 | 766871.1217 | 782300.9714 | 724751.5196 | 750814.2678 | 864508.2978 | 978168.3055 | 1022850.6581 | 900980.0867 | 750275.828 | 701876.9343 | 785954.452 | 9931523.6462
*Information for 2015 for this month has been updated based on final settlements.
Totals may not match the ERCOT values because of rounding and subsequent settlements.

## EnergybyFuelType
ELECTRIC RELIABILITY COUNCIL OF TEXAS
ENERGY BY FUEL TYPE FOR 2015
[6 empty] | Updated | 2016-02-08
ENERGY BY FUEL TYPE, MWh
Fuel Types | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug* | Sep* | Oct* | Nov* | Dec | YTD/Annual
Natural Gas | 13732964 | 11950308.0252 | 13562842.5831 | 12498693.5006 | 12581597.1701 | 15170691.5125 | 18256148.9075 | 18919130.8541 | 15291489.8078 | 13177038.5629 | 10718033.9864 | 12122741.6464 | 167981680.5566
Coal | 8557093 | 6663380.0228 | 5556546.9286 | 5693761.5483 | 7779933.7509 | 10499350.9362 | 11030878.5212 | 11011362.9557 | 9978157.7208 | 8351829.9831 | 6504555.7655 | 6027858.52 | 97654709.6533
Nuclear | 3816338 | 3442108.4272 | 3693914.6262 | 2698792.6276 | 3442389.9827 | 3548637.2293 | 3714456.8193 | 3706755.1833 | 3604069.8152 | 2455756.1318 | 2275664.0728 | 2985434.3062 | 39384317.2217
Wind | 2673169 | 2972317.0307 | 2336351.1686 | 3668159.8422 | 3997179.7785 | 3049458.1474 | 3766246.9895 | 2943231.3987 | 3085343.147 | 3379521.9119 | 4393221.1239 | 4522157.0831 | 40786356.6217
Water | 11602 | 8346.2324 | 13208.6944 | 11088.6107 | 65713.031 | 90535.4282 | 87974.9874 | 76507.2051 | 39665.2946 | 26294.1572 | 49162.0553 | 84327.258 | 564424.9542
Net DC/BLT | -2350 | -5607.2239 | 122530.7 | -31184.4752 | -60203.0042 | -81102.9748 | 31876.7258 | 173412.1797 | 52036.4882 | 12030.1119 | -1402.3692 | -10510.6101 | 199525.5483
Other | 58623 | 83623.2657 | 69627.411 | 67174.3457 | 70889.1748 | 79011.7208 | 87553.0775 | 134873.7168 | 110724.5767 | 92730.3621 | 77466.3539 | 101069.9896 | 1033366.9945
Total | 28847439 | 25114475.7802 | 25355022.1119 | 24606486 | 27877499.8837 | 32356581.9996 | 36975136.0283 | 36965273.4935 | 32161486.8503 | 27495201.2209 | 24016700.9886 | 25833078.1932 | 347604381.5502
ENERGY BY FUEL TYPE, PERCENT
Fuel Types | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug* | Sep* | Oct* | Nov* | Dec | YTD/Annual
Natural Gas | 47.61% | 47.58% | 53.49% | 50.79% | 45.13% | 46.89% | 49.37% | 51.18% | 47.55% | 47.92% | 44.63% | 46.93% | 48.33%
Coal | 29.66% | 26.53% | 21.91% | 23.14% | 27.91% | 32.45% | 29.83% | 29.79% | 31.03% | 30.38% | 27.08% | 23.33% | 28.09%
Nuclear | 13.23% | 13.71% | 14.57% | 10.97% | 12.35% | 10.97% | 10.05% | 10.03% | 11.21% | 8.932% | 9.475% | 11.56% | 11.33%
Wind | 9.267% | 11.84% | 9.215% | 14.91% | 14.34% | 9.425% | 10.19% | 7.962% | 9.593% | 12.29% | 18.29% | 17.51% | 11.73%
Water | 0.04022% | 0.03323% | 0.05209% | 0.04506% | 0.2357% | 0.2798% | 0.2379% | 0.207% | 0.1233% | 0.09563% | 0.2047% | 0.3264% | 0.1624%
Net DC/BLT | -0.008146% | -0.02233% | 0.4833% | -0.1267% | -0.216% | -0.2507% | 0.08621% | 0.4691% | 0.1618% | 0.04375% | -0.005839% | -0.04069% | 0.0574%
Other | 0.2032% | 0.333% | 0.2746% | 0.273% | 0.2543% | 0.2442% | 0.2368% | 0.3649% | 0.3443% | 0.3373% | 0.3226% | 0.3912% | 0.2973%
Total | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
*Information for 2015 for this month has been updated based on final settlements.
Companies are not required to notify ERCOT when their dual fuel units are using secondary fuel. Therefore, values shown here are calculated based on primary fuel type and may not exactly reflect the fuels being used by dual fuel units. Dual fuel units are included in the category of their primary fuel.
A positive value in the 'Net DC/BLT' row indicates import of power, negative indicates export.
"Other" includes solar, petroleum coke, landfill gas, biomass solids, biomass gases, and any unknown fuel.

## EnergybyFuelChart
Fuel Types | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug* | Sep* | Oct* | Nov* | Dec
Natural Gas | 13732.964 | 11950.308 | 13562.8426 | 12498.6935 | 12581.5972 | 15170.6915 | 18256.1489 | 18919.1309 | 15291.4898 | 13177.0386 | 10718.034 | 12122.7416
Coal | 8557.093 | 6663.38 | 5556.5469 | 5693.7615 | 7779.9338 | 10499.3509 | 11030.8785 | 11011.363 | 9978.1577 | 8351.83 | 6504.5558 | 6027.8585
Nuclear | 3816.338 | 3442.1084 | 3693.9146 | 2698.7926 | 3442.39 | 3548.6372 | 3714.4568 | 3706.7552 | 3604.0698 | 2455.7561 | 2275.6641 | 2985.4343
Wind | 2673.169 | 2972.317 | 2336.3512 | 3668.1598 | 3997.1798 | 3049.4581 | 3766.247 | 2943.2314 | 3085.3431 | 3379.5219 | 4393.2211 | 4522.1571
Hydro | 11.602 | 8.3462 | 13.2087 | 11.0886 | 65.713 | 90.5354 | 87.975 | 76.5072 | 39.6653 | 26.2942 | 49.1621 | 84.3273
DC Imports | -2.35 | -5.6072 | 122.5307 | -31.1845 | -60.203 | -81.103 | 31.8767 | 173.4122 | 52.0365 | 12.0301 | -1.4024 | -10.5106
Other | 58.623 | 83.6233 | 69.6274 | 67.1743 | 70.8892 | 79.0117 | 87.5531 | 134.8737 | 110.7246 | 92.7304 | 77.4664 | 101.07
*Information for 2015 for this month has been updated based on final settlements.

## EnergyComparisons
Energy, MWh
|  |  |  | Current | Previous | Prev, GWh |  | Previous source
|  |  | Jan | 28847.439 | 26072476.3698 | 28105.5251 |  | 28105525.1185
|  |  | Feb | 25114.4758 | 23737721.6958 | 24855.0462 |  | 24855046.2309
|  |  | Mar | 25355.0221 | 22028910.172 | 24689.3713 |  | 24689371.2733
|  |  | Apr | 24606.486 | 21502948.6826 | 23937.7134 |  | 23937713.3843
|  |  | May | 27877.4999 | 27221819.2111 | 27334.8662 |  | 27334866.1547
|  |  | Jun | 32356.582 | 31781587.449 | 31789.6135 |  | 31789613.5012
|  |  | Jul | 36975.136 | 32397557.5854 | 34397.2549 |  | 34397254.9295
|  |  | Aug* | 36965.2735 | 35774778.982 | 35911.7149 |  | 35911714.8876
|  |  | Sep* | 32161.4869 | 28844061.793 | 30994.0986 |  | 30994098.5727
|  |  | Oct* | 27495.2012 | 23933083.247 | 27436.4775 |  | 27436477.5495
|  |  | Nov* | 24016.701 | 21753399.2658 | 24653.0076 |  | 24653007.6169
|  |  | Dec | 25833.0782 | 24049056 | 25928.6642 |  | 25928664.1757
| ytd | ytd |  | Energy, MWh
| Actual | Forecast |  | Actual | Forecast |  | Difference from Actual
| 28847.439 | 28208.0462 | Jan | 28847.439 | 28208.0462 |  | -2.216% |  | 28208046.161
| 53961.9148 | 53348.8711 | Feb | 25114.4758 | 25140.825 |  | 0.1049% |  | 25140824.984
| 79316.9369 | 78059.3674 | Mar | 25355.0221 | 24710.4963 |  | -2.542% |  | 24710496.296
| 103923.4229 | 102544.7774 | Apr | 24606.486 | 24485.41 |  | -0.492% |  | 24485409.972
| 131800.9228 | 132202.9862 | May | 27877.4999 | 29658.2088 |  | 6.388% |  | 29658208.826
| 164157.5048 | 164310.5083 | Jun | 32356.582 | 32107.5221 |  | -0.7697% |  | 32107522.097
| 201132.6408 | 199470.1728 | Jul | 36975.136 | 35159.6645 |  | -4.91% |  | 35159664.51
| 238097.9143 | 235666.0598 | Aug* | 36965.2735 | 36195.8869 |  | -2.081% |  | 36195886.94
| 270259.4011 | 265160.0835 | Sep* | 32161.4869 | 29494.0237 |  | -8.294% |  | 29494023.676
| 297754.6024 | 291603.1001 | Oct* | 27495.2012 | 26443.0166 |  | -3.827% |  | 26443016.623
| 321771.3033 | 316303.8864 | Nov* | 24016.701 | 24700.7863 |  | 2.848% |  | 24700786.338
| 347604.3815 | 342899.0834 | Dec | 25833.0782 | 26595.197 |  | 2.95% |  | 26595197.027
*Information for 2015 for this month has been updated based on final settlements.
*Information for 2015 for this month has been updated based on final settlements.

## DemandComparisons
|  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug* | Sep* | Oct* | Nov* | Dec
| Current | 56831.7803 | 54539.4251 | 53179.5284 | 45227.4211 | 53389.3965 | 61732.2719 | 67650.277 | 69877.0467 | 64458.1963 | 59186.5655 | 44945.1434 | 44922.1336
| Previous | 57256.3073 | 57010.71 | 54587.4097 | 48400.126 | 52615.3527 | 59785.7728 | 63531.9867 | 66453.6387 | 64439.5577 | 58419.1941 | 50807.3407 | 48361.715
|  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
| Forecast | 52837.006 | 50661.7481 | 45096.691 | 47329.1693 | 61957.4679 | 63076.8181 | 64215.3522 | 69056.8043 | 58006.4572 | 49708.9491 | 45439.1982 | 47269.9762
*Information for 2015 for this month has been updated based on final settlements.
*Information for 2015 for this month has been updated based on final settlements.