| NPRR Number | 739 | NPRR Title | Prohibiting Load Resources Associated with a Dynamically Scheduled Resource |
| --- | --- | --- | --- |
| Date of Decision |  | February 9, 2016 |  |
| Action |  | Approved |  |
| Timeline |  | Normal |  |
| Effective Date |  | March 1, 2016 |  |
| Priority and Rank Assigned |  | Not applicable |  |
| Nodal Protocol Sections Requiring Revision |  | 3.6.1, Load Resource Participation |  |
| Related Documents Requiring Revision/ Related Revision Requests |  | None |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) closes a gap in the Protocols to prohibit participation by sites associated with Dynamically Scheduled Resources (DSRs) as a Load Resource. This language is similar to that approved for Emergency Response Service (ERS) Resources in NPRR564, Thirty-Minute Emergency Response Service (ERS) and Other ERS Revisions. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | If a Load Resource were to contain any DSRs, the Load drop attributable to the DSR will be matched with a corresponding reduction in the generation serving the DSR thereby nullifying any system benefit of the Load drop. By ensuring that DSRs are not included in Load Resources, including Aggregate Load Resources (ALRs), as proposed by this NPRR, this potential problem is averted. Very limited, if any, due to the lack of DSRs. Potential positive impact to ERCOT System reliability by ensuring DSRs do not participate as Load Resources. |  |
| Credit Work Group Review |  | ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed NPRR739 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |
| PRS Decision |  | On 11/12/15, PRS unanimously voted to recommend approval of NPRR739 as amended by the 11/2/15 ERCOT comments and as revised by PRS. All Market Segments were present for the vote. On 12/10/15, PRS unanimously voted to endorse and forward to TAC the 11/12/15 PRS Report and the Impact Analysis for NPRR739. All Market Segments were present for the vote. |  |
| Summary of PRS Discussion |  | On 11/12/15, participants reviewed the 11/2/15 ERCOT comments and revised the title of NPRR739. On12/10/15, there was no discussion. |  |
| TAC Decision |  | On 1/28/16, TAC unanimously voted to recommend approval of NPRR739 as recommended by PRS in the 12/10/15 PRS Report. All Market Segments were present for the vote. |  |
| Summary of TAC Discussion |  | On 1/28/16, there was no discussion. |  |
| ERCOT Opinion |  | ERCOT supports approval of NPRR739 as it specifies it is the Qualified Scheduling Entity’s (QSE’s) responsibility to ensure that sites associated with DSRs do not participate as Load Resources. |  |
| Board Decision |  | On 2/9/16, the ERCOT Board approved NPRR739 as recommended by TAC in the 1/28/16 TAC Report. |  |

| Sponsor |  |
| --- | --- |
| Name | Tim Carter |
| E-mail Address | tim.carter@mp2energy.com |
| Company | MP2 Energy LLC |
| Phone Number | 832-510-1061 |
| Cell Number |  |
| Market Segment | Independent Retail Electric Provider (IREP) |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Brian Manning |
| E-Mail Address | Brian.manning@ercot.com |
| Phone Number | 512-248-3937 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| ERCOT 110215 | Proposed revisions to place the responsibility on the QSE, as opposed to ERCOT, of ensuring sites associated with DSRs not participate as a Load Resource. |

Market Rules Notes

Please note the following NPRR(s) also propose revisions to the following section(s):

- NPRR667, Ancillary Service Redesign

Section 3.6.1

Revised Proposed Protocol Language

- 3.6.1	Load Resource Participation

(1)	A Load Resource may participate by providing:

(a)	Ancillary Service:

(i)	Regulation Up (Reg-Up) Service as a Controllable Load Resource capable of providing Primary Frequency Response;

(ii)	Regulation Down (Reg-Down) Service as a Controllable Load Resource capable of providing Primary Frequency Response;

(iii)	Responsive Reserve (RRS) Service as a Controllable Load Resource qualified for Security-Constrained Economic Dispatch (SCED) Dispatch and capable of providing Primary Frequency Response, or as a Load Resource controlled by high-set under-frequency relay; and

(iv)	Non-Spinning Reserve (Non-Spin) Service as a Controllable Load Resource qualified for SCED Dispatch;

(b)	Energy in the form of Demand response from a Controllable Load Resource in Real-Time via SCED;

(c)	Emergency Response Service (ERS) for hours in which the Load Resource does not have an Ancillary Service Resource Responsibility; and

(d)	Voluntary Load response in Real-Time.

(2)	Except for voluntary Load response and ERS, loads participating in any ERCOT market must be registered as a Load Resource and are subject to qualification testing administered by ERCOT.

(3)	All ERCOT Settlements resulting from Load Resource participation are made only with the Qualified Scheduling Entity (QSE) representing the Load Resource.

(4)	A QSE representing a Load Resource and submitting a bid to buy for participation in SCED, as described in Section 6.4.3.1, Real-Time Market (RTM) Energy Bids, must represent the Load Serving Entity (LSE) serving the Load of the Load Resource.  If the Load Resource is an Aggregate Load Resource (ALR), the QSE must represent the LSE serving the Load of all sites within the ALR.

(5)	The Settlement Point for a Controllable Load Resource with an RTM Energy Bid is its Load Zone Settlement Point.

(6)	QSEs shall not submit offers for Load Resources containing sites associated with a Dynamically Scheduled Resource (DSR).