## Fuel Adder Options
FUEL COST COMPONENTS IN THE FUEL ADDER
| Cost Type | Option 1 | Option 2 | Definitions
Natural Gas
Natural gas commodity cost | Variable | Include | Include | The cost of gas per unit of volume or heat content (i.e. MCF or MMBtu) at the point of entry to the gas transmission pipeline (i.e. FOB [free on board] the gas transmission pipeline). The commodity cost does not include transmission pipeline charges, or any other charges relating to the movement of the fuel to the point of use. [i.e. The natural gas commodity cost as reported on EIA Form 923.]
Pipeline fuel retention | Variable | Include | Include | A quantity of gas retained by a transporter to cover gas usage or losses in the gas transmission system, such as gas consumed in compressor stations, and lost and unaccounted-for gas. Typically the pipeline will retain a percentage of the gas tendered for transportation for these operational purposes.
Pipeline commodity charges | Variable | Include | Include | A usage charge per unit of volume or heat content (i.e. MCF or MMBtu) to cover the variable cost of providing transportation services over a pipeline system.
Pipeline capacity reservation or demand charges | ? | Include | Exclude | A charge for a unit of capacity reserved on a pipeline to cover the fixed costs of providing transportation services over the pipeline system. Section 284.8(d) of FERC regulations (applicable to FERC jurisdictional pipelines) state that the capacity reservation fee may not recover any variable costs. The capacity reservation charge is billed to the customer whether they use the service or not. Contract Demand refers to a firm shipper's contractual entitlement to service on any day. Contract Demand levels are expressed in MMBtu per day. For example, a firm shipper with a contractual entitlement of 50,000 MMBtu would be able to have up to 50,000 MMBtu of gas transported on any day of the year. A firm shipper pays a capacity reservation charge based on this contractual entitlement to "reserve" capacity to guarantee this level of service on any day.
Pipeline minimum requirement charges | Variable | Include | Exclude | Provisions in a contract requiring customers to purchase or transport minimum annual volumes of gas or pay a charge for any volumes which fall below the minimum volume level. Contracts with minimum volume requirement provisions protect the pipeline against the risk of not recovering its fixed costs.
Pipeline balancing costs | ? | Include | Include | A daily or monthly charge for volume balancing services. Balancing charges are assessed on the difference between gas volumes tendered and gas volumes received by the shipper on a transmission pipeline on an hourly, daily and/or monthly basis.
Pipeline penalties | ? | Include | Include | Penalties charged by a pipeline to provide an incentive for shippers to stay within contractual limits, such as maintaining actual gas receipts and deliveries at nominated and confirmed levels. Balancing penalties are a daily or monthly penalty assessed on the difference between volumes tendered and volumes received by the shipper on a transmission pipeline. Balancing penalties are intended to prevent a shipper from unauthorized use of storage and line pack with excess deliveries of transportation gas, or from depleting storage and line pack by taking more gas off the system than it delivers, both of which disrupt other sales and transportation services.
Storage injection and withdrawal fuel retention | Variable | Include | Include | A quantity of gas retained by the storage operator to cover gas usage or losses in the gas storage facility, such as gas consumed in compressor stations, and lost and unaccounted-for gas. Typically the storage operator will retain a percentage of the gas injected or withdrawn for these operational purposes.
Storage injection and withdrawal commodity charges | Variable | Include | Include | A usage charge per unit of volume or heat content (i.e. MCF or MMBtu) to cover the variable costs of injections and withdrawals of gas to/from storage
Storage capacity reservation or demand charges | ? | Include | Exclude | A charge for a unit of capacity reserved in a storage facility for storage of customer-owned gas. The capacity reservation charge covers the fixed costs of the storage facility and excludes variable costs. The capacity reservation charge is billed to the customer whether they use the service or not.
Meter Charges |  | Exclude | Exclude | A fixed monthly charge to cover the cost of providing metering services
Hedging gains/losses |  | Exclude | Exclude | Gains or losses on financial or physical instruments used to lock in profits, reduce volatility or reduce the risk of loss
Related Definitions:
Fixed Costs |  |  |  | Costs which remain constant regardless of usage or the volume of throughput and are predominately associated with capital investment in the pipeline system or storage facility. Fixed costs include investment related costs such as depreciation, return and taxes, as well as certain O&M expenses, including labor, A&G expenses and as-billed third party reservation costs
Variable Costs |  |  |  | Costs which vary with usage or throughput, and exclude fixed costs

## Disccusion Points
Draft list of discussion points for the Fuel Adder Options
Discussion Point 1
- | Existing VCM language allows inclusion of fixed and variable fuels costs in the fuel adder.
- | Allows Resources to be compensated for providing the fuel supply, transportation and related services in order to make a needed Resource available to the market.
Discussion Point 2
- | Including fixed costs in the fuel adder is inconsistent with “incremental” and “variable” costs used in the other components of verifiable cost and market power mitigation.
- | Lack of transparency to other market participants on the magnitude of actual fuel adders
- | Market may be bearing the risk and/or cost of Resource fuel contracts