Date:	February 25, 2016

To:	Technical Advisory Committee (TAC) Representatives

From:	Amanda Frazier, Protocol Revision Subcommittee (PRS) Chair

Subject: Nodal Protocol Revision Requests (NPRRs) and System Change Requests (SCRs)

##### Issue: ##### Consideration of the following Revision Requests recommended for approval by PRS: - NPRR749, Option Cost for Outstanding CRRs [Saracen Energy West] - NPRR750, Clarify Resource Status when Providing Fast Responding Regulation Service [ERCOT] - SCR787, Maintain NDCRC Data For Generator Transfer Between Resource Entities [Exelon]

##### Background/History: Unless otherwise noted: (i) all Market Segments were present for each vote and (ii) ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision request and do not believe it requires changes to credit monitoring activity or the calculation of liability. Revision Requests Recommended for Approval - NPRR749, Option Cost for Outstanding CRRs [Saracen Energy West] Proposed Effective Date: Upon system implementation - Priority 2016; Rank 1570 ERCOT Impact Analysis: Between $40k and $60k; no impacts to ERCOT staffing; impacts to Congestion Revenue Rights (CRR) and Enterprise Information System (EIS); no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR requires ERCOT to publish the cost of options for all outstanding CRRs within the CRR Auction process. PRS Decision: On 1/14/16, PRS unanimously voted to recommend approval of NPRR749 as submitted. On 2/11/16, PRS voted to endorse and forward to TAC the 1/14/16 PRS Report and the Impact Analysis for NPRR749 with a recommended priority of 2016 and a rank of 1570. There was one opposing vote from the Investor Owned Utility (IOU) Market Segment. - NPRR750, Clarify Resource Status when Providing Fast Responding Regulation Service [ERCOT] Proposed Effective Date: May 1, 2016 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR clarifies current practice for setting telemetry when providing Fast Responding Regulation Service (FRRS). PRS Decision: On 1/14/16, PRS unanimously voted to recommend approval of NPRR750 as revised by PRS. On 2/11/16, PRS unanimously voted to endorse and forward to TAC the 1/14/16 PRS Report as revised by PRS and the Impact Analysis for NPRR750. - SCR787, Maintain NDCRC Data For Generator Transfer Between Resource Entities [Exelon] Proposed Effective Date: Upon system implementation - Priority 2016; Rank 1580 ERCOT Impact Analysis: Between $30k and $50k; no impacts to ERCOT staffing; impacts to Net Dependable Capability and Reactive Capability Systems (NDCRC) and EIS; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This SCR enhances the NDCRC application to provide historical generator information to all associated Resource Entities. PRS Decision: On 1/14/16, PRS unanimously voted to recommend approval of SCR787 as submitted. On 2/11/16, PRS unanimously voted to endorse and forward to TAC the 1/14/16 PRS Report and the Impact Analysis for SCR787 with a recommended priority of 2016 and a rank of 1580. Revision Requests Rejected None. Revision Requests Withdrawn None. Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at the March 10, 2016 PRS Meeting - NPRR741, Clarifications to TPE and EAL Credit Exposure Calculations [ERCOT] - NPRR744, RUC Trigger for the Reliability Deployment Price Adder and Alignment with RUC Settlement [ERCOT] - NPRR745, Change ERS Availability from an Hourly to 15-minute Interval Evaluation plus Other Minor Changes [ERCOT] - NPRR746, Adjustments Due to Negative Load [ERCOT] - NPRR748, Revisions associated with COM-002-4 and Other Clarifications Associated with Dispatch Instructions [ERCOT] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - NPRR562, Subsynchronous Resonance [ERCOT] - NPRR638, Revisions to Certain Price Components of EAL [ERCOT] - NPRR667, Ancillary Service Redesign [ ERCOT] - NPRR685, Change Criteria for Resource Opportunity Outages [Calpine] - NPRR696, Price Correction Process Following a SCED Failure [Reliant] - NPRR697, Disclosure of Protected Information for Research and Coordination Purposes [ERCOT] - NPRR709, Revisions to Alternative Dispute Resolution Procedure [ERCOT] - NPRR711, Increase the Interval Data Recorder Meter Mandatory Install Requirement from 700 kW/kVA to 1.5 MW/MVA [IDR Meter Protocol Requirement Threshold Workshop] - NPRR738, ERS Performance Calculations During TDSP Outages [MP2 Energy] - NPRR747, Revision of Voltage Control Requirements [ERCOT] - NPRR751, Clarifications for Distributed Generation Resources [Sun Power/GDF Suez] - NPRR752, Clarification of Revision Request Process [ERCOT] - NPRR753, Allow AMS Data Submittal Process for TDSP-Read Non-Modeled Generators [ERCOT] - NPRR754, Revise Load Distribution Factors Report Posting Frequency [ERCOT] - NPRR755, Agent-Only QSE Registration [ERCOT] - SCR785, Update RTL calculation to include Real-Time Reserve Price Adder based components [ERCOT] New Revision Requests Scheduled for Consideration at the March 10, 2016 PRS Meeting - NPRR756, Enhanced Ancillary Services [Freeport LNG] - SCR788, Addition of Integral ACE Feedback to GTBD Calculation [PDCWG] These Revision Requests and supporting materials are posted on the ERCOT website at the following link: http://www.ercot.com/mktrules/issues/nprr http://www.ercot.com/mktrules/issues/scr