## Slide 1
PDCWG Report to ROS
Chair: Percy Galliguez, Brazos Electric Power Cooperative, Inc.
Vice Chair: Stewart Rake, Luminant
ROS
March 3rd, 2015

## Slide 2: Report Overview & Notes
Report Overview
  Meeting Minutes
  BAL-001-TRE-1 FMEs & IMFR
  Frequency Control Report

## Slide 3: Meeting Minutes
PDCWG Meeting 2/10/16
  GREDP Performance Analysis
  Regulation & Frequency Control Reports
  Reviewed 2 ERCOT Frequency Disturbance
    1/21/2016 @ 2314
      Loss of 823 MW
      727 MW/0.1HZ Response
      8 of 46 Generation Resources had less than 75% of their expected Initial Primary Frequency Response.
      12 of 46 Generation Resources had less than 75% of their expected Sustained Primary Frequency Response.
    1/26/2016 @ 2325
      Loss of 1,350 MW
      1,059 MW/0.1HZ Response
      11 of 52 Generation Resources had less than 75% of their expected Initial Primary Frequency Response.
      12 of 52 Generation Resources had less than 75% of their expected Sustained Primary Frequency Response.

## Slide 4: Frequency Measurable Events Performance
January 2016

## Slide 5: Frequency Measurable Events (CORRECTIONS)
There were 2 FMEs during the month of January.
  1/21/2016 23:14:45
    Loss of 823 MW
    819 of 46 Generation Resources had less than 75% of their expected Initial Primary Frequency Response.
    1215 of 46 Generation Resources had less than 75% of their expected Sustained Primary Frequency Response.
  1/26/2016 23:25:07
    Loss of 1350 MW
    1118 of 52 Generation Resources had less than 75% of their expected Initial Primary Frequency Response.
    1218 of 52 Generation Resources had less than 75% of their expected Sustained Primary Frequency Response.

## Slide 6: Frequency Measurable Events
No FMEs during the month of February.

## Slide 7: Interconnection Minimum Frequency Response (IMFR) Performance

## Slide 8: Frequency Control Report
January 2016

## Slide 9: CPS1 Performance
CPS1 12 Month Rolling Average = 175.47%

## Slide 10: RMS1 Performance of ERCOT Frequency

## Slide 11: Frequency Profile Analysis

## Slide 12: Time Error Corrections
There was two Time Error Corrections (TEC) in February.

## Slide 13: Wind Generation Performance

## Slide 14: Wind Generation Performance

## Slide 15: Wind Generation Performance
Record: 19.87% Wind Penetration

## Slide 16
Questions?