## Slide 1: OWG Update to ROS
S. Looney, Luminant
March 3, 2016

## Slide 2: NPRR and NOGRR Review
151NOGRR, Alignment with NPRR748, Revisions associated with COM-002-4 and Other Clarifications Associated with Dispatch Instructions (Vote)– Approved language and Impact Analysis, no impact.
150NOGRR, Alignment with NPRR747, Revision of Voltage Control Requirements – Reviewed AE comments, discussed issue in 2.7.1 with definition of Season. ERCOT is going to review and will bring a recommendation to next OWG meeting.

## Slide 3: NPRR and NOGRR Review
152NOGRR, Restore Synchrony between Contingency Planning for Minimum Level of Responsive Reserve Service and Real Time Contingency Analysis
  If the temperature is greater than 95o F would buy additional RRS due to RDF; requested ERCOT to look at the cost benefit analysis incremental from this case.
  Several suggested new studies.
  Tabled.
  If no consensus at next meeting, will bring to ROS.

## Slide 4: NPRR and NOGRR Review
153NOGRR, Maintenance of Duplicate EEA Language via Alignment NOGRR Process
  Language approved, will return to OWG for IA review.
  Recommended review by PRS.
  ERCOT will take to PRS.
154NOGRR, Alignment with NPRR755 and Requirements for ERCOT WAN Installation and Exchange of Resource-Specific XML Data – ERCOT held a workshop on February 29. Expecting comments. Tabled at OWG.

## Slide 5: NPRR and NOGRR Review
747NPRR Revision of Voltage Control Requirements –
  Extensive discussion.
  TSP concerns with timing and response to voltage instructions when directing to QSEs.
  QSEs concerned with compliance with VAR-002 standard requiring GOP to monitor voltage control.
  ERCOT was requested to review AEP comments.
  Request for opinion of TRE.
  Tabled by OWG.