DRAFT

Minutes of the Reliability and Operations Subcommittee (ROS) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

Thursday, February 4, 2016 – 9:30 a.m.

Attendance Members: Bern, Alan; Oncor. DeTullio, David; Air Liquide. Dillard, Jesse; City of Dallas. Ee, Danny; Austin Energy. Goff, Eric; Citigroup Energy. Greer, Clayton; Morgan Stanley; Via Teleconference. Helton, Bob; GDF Suez; Alt. Rep. for A. Ramirez. Hudson, Tony; TNMP. Keetch, Rick; Reliant Energy Retail Services. Koenig, Chris; Golden Spread Electric. Kroskey, Tony; Brazos Electric Cooperative. Kunkel, Dennis; AEP Service Corporation. Moore, John; South Texas Electric Cooperative. Nelson, Stuart; LCRA; Alt. Rep. for B. Hatfield. Perez, Eliazar; Brownsville PUB; Alt. Rep. for E. Alvarez. Reed, Cyrus; Sierra Club. Staples, Boone; Tenaska Power Services. Vo, Trieu; CPS Energy. Woitt, Wes; CenterPoint Energy. Zaragoza, Luis; Pattern Energy. Guests: Abbott, Kristin; PUCT; Via Teleconference. Alford, Anthony; CenterPoint Energy; Via Teleconference. Anklam, Rob; Cargill; Via Teleconference. Armke, James; Austin Energy. Arrigo, Garrett; Shell; Via Teleconference. Bell, Brad; E.ON. Blackburn, Don; Luminant; Via Teleconference. Bojorquez, Bill; Hunt Power; Via Teleconference. Bonskowski, Ned; Luminant; Via Teleconference. Brandt, Adrianne; CPS Energy; Via Teleconference. Bryant, Mark; PUCT; Via Teleconference. Bunch, Kevin; EDFES. Canamar, Jorge; Sharyland; Via Teleconference. Chatlani, Varsha; LCRA; Via Teleconference. Chhajed, Pushkar; Luminant; Via Teleconference. Checkley, Jim; Cross Texas. Cochran, Seth; DC Energy; Via Teleconference. Cook, Tim; Cross Texas; Via Teleconference. Cripe, Ramsey; Schneider Engineering. Denney, Kristi; Potomac Economics; Via Teleconference. DeWitt, Charles; LCRA. Dissanayaka, Anuradha; Electranix. Donohoo, Ken; Oncor. Elliot, Christopher; BA/ML; Via Teleconference. Erbrick, Michael; MICS; Via Teleconference. Evans, Doug; STEC; Via Teleconference. Galliguez, Percy; Brazos Electric; Via Teleconference. Gibune, Charles; DNVGL; Via Teleconference. Gomes, Matt; Lone Star. Graham, Greg; Texas Reliability Entity; Via Teleconference. Greaff, Venona; Occidental; Via Teleconference. Grimes, Mike; EDPR; Via Teleconference. Gross, Blake; AEPSC. Henderson, Norris; FERC; Via Teleconference. Henry, Jack; Siemens; Via Teleconference. Henson, Martha; Oncor. Huang, Feiran; Luminant; Via Teleconference. Isaacs, Andrew; Electranix. Dandy Hunt; AEN. Jones, Liz; Oncor. Juricek, Michael; Oncor; Via Teleconference. Kee, David; CPS Energy. Karnik, Neeraj; DNVGL; Via Teleconference. Khalili, Hamed; DNVGL; Via Teleconference. Khayat, Maribel; CenterPoint Energy; Via Teleconference. Kremling, Barry; GVEC. Lane, Rob; Luminant. Lange, Clif; STEC; Via Teleconference. Looney, Sherry; Luminant. Mercado, David; CenterPoint Energy; Via Teleconference. Morris, Sandra; Direct Energy; Via Teleconference. Mueller, Paula; Texas Reliability Entity; Via Teleconference. Muir, Jeff; Macquarie; Via Teleconference. Myers, Brad; AEP; Via Teleconference. Nair, Sunil; Leidos; Via Teleconference. Novosad, Dilan; Sharyland; Via Teleconference. Penny, David; Texas Reliability Entity; Via Teleconference. Peters, Patrick; CenterPoint Energy; Via Teleconference. Prakash, Nitin; DNVGL; Via Teleconference. Priestley, Vanus; Macquarie; Via Teleconference. Reedy, Steve; Potomac Economics; Via Teleconference. Reid, Walter; Wind Coalition. Rodriguez, Carlos; Invenergy; Via Teleconference. Sahni, Mandhir; Via Teleconference. Santos, Esteban; Sharyland; Via Teleconference. Schwarz, Brad; Sharyland. Soutter, Mark; Invenergy; Via Teleconference. Swank, Garrett; nFront; Via Teleconference. Tan, Paul; Via Teleconference. Taylor, Jennifer; E.ON; Via Teleconference. Tenza, Nick; Meppi; Via Teleconference. Townsend, David; Austin Energy. Trout, Seth; CES; Via Teleconference. Tu, Feng; AEP; Via Teleconference. Turner, David; Lone Star. Turner, Lucas; STEC; Via Teleconference. Urquidez, Omar; Burns; Via Teleconference. Varnell, John; Tenaska; Via Teleconference. Viswanadham, Venkata; Cross Texas; Via Teleconference. Warren, John; LCRA TSC. White, Lauri; AEP Texas. Whittle, Brandon; Via Teleconference. Whitworth, Doug; Texas Reliability Entity; Via Teleconference. Williams, Scot; Oncor; Via Teleconference. Wittmeyer, Bob; Longhorn Power; Via Teleconference. Woodruff, Taylor; Oncor; Via Teleconference. Woods, Brad; Texas Reliability Entity; Via Teleconference. Yancey, Billy; Electric Power Engineers. Yang, Tao; AEP; Via Teleconference. ERCOT Staff: Albracht, Brittney. Billo, Jeff. Chang, Sean; Via Teleconference. Conto, Jose. Deller, Art; Via Teleconference. Geer, Ed; Via Teleconference. Giarratano, Alex. Hanson, Kevin; Via Teleconference. Lavi, Yamit. Nitika, Mago; Via Teleconference. Landry, Kelly. Matevosjana, Julia; Via Teleconference. Matlock, Robert; Via Teleconference. Morehead, Juliana; Via Teleconference. Phillips, Cory; Via Teleconference. Reed, Bobby; Via Teleconference. Schmall, John. Shaw, Pamela; Via Teleconference. Simons, Diane; Via Teleconference. Solis, Stephen. Teixeira, Jay. Thompson, Chad. Thompson, David; Via Teleconference. Warnken, Pete; Via Teleconference. Williams, Leslie. Woodfin, Dan. Xiao, Hong; Via Teleconference. Unless otherwise indicated, all Market Segments were present for a vote. 2016 ROS Chair Alan Bern called the February 4 2016 ROS meeting to order at 9:30 a.m. - Antitrust Admonition Mr. Bern directed attention to the Antitrust Admonition, which was displayed. A copy of the Antitrust Guidelines was available for review.

Agenda Review There were no changes to the agenda.

Approval of ROS Meeting Minutes (see Key Documents) January 7, 2016 David DeTullio moved to approve the January 7, 2016 ROS meeting minutes as submitted. Rick Keetch seconded the motion. The motion carried with one abstention from the Independent Generator (GDF Suez) Market Segment.

Technical Advisory Committee (TAC) Update Mr. Bern reported discussion at the January 28, 2016 TAC meeting included next steps regarding the Distributed Resource Energy and Ancillaries Market Task Force (DREAMTF), as well as developing policies for market restart after a Black Start event.

2016 Working Group/Task Force Leadership (see Key Documents) Bob Helton moved to approve the 2016 ROS working groups and task force leadership as submitted. Tony Kroskey seconded the motion. Mr. Helton thanked leadership for their willingness to serve the ERCOT market. The motion carried unanimously.

2016 ROS Goals (see Key Documents) Market Participants discussed the draft 2016 ROS goals and offered additional revisions. Mr. Helton moved to approve the 2016 ROS Goals as revised by ROS. Dennis Kunkel seconded the motion. The motion carried unanimously.

ERCOT Updates (see Key Documents) Operations Report Yamit Lavi presented the Operations Report. Market Participants requested that reporting for frequency events include MWs lost during each event, system load at the time of the event, as well as system inertia. System Planning Report Jeff Billo presented the System Planning Report. Wes Woitt asked if it would be possible to add MWs to the Planning Model Activities table. Results of Unannounced Testing and Reserve Discount Factors Sandip Sharma presented a summary of unannounced testing in 2014 and 2015, and ERCOT’s recommendation for changes to the Reserve Discount Factor. Market Participants discussed the results and implications to the 2016 Ancillary Service Methodology. Subsynchronous Resonance (SSR) Update Mr. Billo provided an update on SSR issues and reviewed next steps. Panhandle Detailed Study Results Andrew Isaacs and representatives of Electranix Corporation presented an analysis of system strength of the Panhandle system.

Protocol Revision Subcommittee (PRS) Referrals There were no referrals to ROS from the January 2015 PRS.

Network Data Support Working Group (NDSWG) (see Key Documents) Tony Kroskey reviewed recent NDSWG activities.

Operations Working Group (OWG) (see Key Documents) John Warren reviewed recent OWG activities, noting that the OWG rejection of Nodal Operating Guide Revision Request (NOGRR) 149, Revision to Definition of Transmission Operator, was appealed and that the appeal will be considered at the March 3, 2016 ROS meeting. OWG Proposed Comments to NPRR748, Revisions associated with COM-002-4 and Other Clarifications Associated with Dispatch Instructions Market Participants reviewed submitted and draft comments to NPRR748. Mr. Helton moved to endorse Nodal Protocol Revision Request (NPRR) 748 as amended by the 2/4/16 STEC comments and to request that the NPRR remain on schedule for implementation with North American Electric Reliability Corporation (NERC) Reliability Standard COM-002-4, Operating Personnel Communications Protocols. Eric Goff seconded the motion. Liz Jones, Mr. Goff, and Mr. Helton noted that the OWG offered draft comments in support of the 1/19/16 ERCOT comments. The motion carried unanimously.

Performance Disturbance Compliance Working Group (PDCWG) (see Key Documents) Alex Giarratano presented the PDCWG report.

Planning Geomagnetic Disturbance Task Force (PGDTF) (see Key Documents) Mike Juricek reviewed recent PGDTF activities.

Planning Working Group (PLWG) (see Key Documents) Brad Schwarz reviewed recent PLWG activities and invited stakeholder input for a PLWG issues list.

Steady State Working Group (SSWG) (see Key Documents) SSWG Procedure Manual Stuart Nelson moved to approve the revised SSWG Procedure Manual. Mr. Keetch seconded the motion. The motion carried unanimously.

System Protection Working Group (SPWG) (see Key Documents) There were no questions regarding the posted SPWG report.

Voltage Profile Working Group (VPWG) (see Key Documents) Feng Tu reviewed recent VPWG activities.

Other Business Ms. L. Jones commended to Market Participants the Texas Reliability Entity’s NERC Cause Analysis Course, scheduled for February 23-24, 2016. Walter Reid requested an opportunity to report at the March 3, 2016 ROS meeting on timelines for updates to Power System Simulator for Engineering (PSS/E). No Report - Black Start Working Group (BSWG) - Dynamics Working Group (DWG) - Operations Training Working Group (OTWG) - Outage Coordination Improvements Task Force (OCITF) - Resource Data Working Group (RDWG)

Adjournment Mr. Bern adjourned the February 4, 2016 ROS meeting at 1:19 p.m.

Key Documents referenced in these minutes may be accessed on the ERCOT website at: http://www.ercot.com/calendar/2016/2/4/77583-ROS