## Slide 1
Generation Resource Energy and Regulation Deployment Performance – February 2016
QMWG 03/11/2016

## Slide 2: IRR Summary February 2016
IRR | Fleet | <95% | >100 INT; <95%
Average (%) | 84.59 | 71.02 | 82.03
Median (%) | 87.93 | 82.73 | 83.35
Average ERR(MW) | 3.26 | 2.93 | 3.10
Median ERR(MW) | 3.76 | 3.97 | 4.01
INTERVALS | 26488 | 18170 | 17330
100+ INT | 43 | 29 | 29
AVE INT SCORED | 243 | 319 | 598
Non IRR GREDP < 85% 02/29/2016
unit | Total Intervals Passed | Total Intervals Scored | Std Dev(GREDP MW) | GREDP Monthly Score
unit 15 | 163 | 208 | 2.51 | 78.37
unit 69 | 82 | 113 | 1.04 | 72.57
unit 2 | 4 | 5 | 0.56 | 80.00
unit 48 | 0 | 1 | 0.58 | 0.00
unit 125 | 0 | 1 | 5.18 | 0.00
 | 249 | 328 | 1.98 | 75.91

## Slide 3: IRR GREDP > .95 (52) February 2016
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG-Exp MW) | GREDP Monthly Score
Unit 6 | 3,159 | 3,159 | 0.88 | 100.00
Unit 97 | 1,528 | 1,532 | 4.19 | 99.74
Unit 54 | 534 | 534 | 8.70 | 100.00
Unit 77 | 362 | 371 | 1.59 | 97.57
Unit 108 | 365 | 369 | 4.28 | 98.92
Unit 96 | 284 | 298 | 5.33 | 95.30
Unit 42 | 280 | 286 | 7.21 | 97.90
Unit 37 | 244 | 248 | 5.67 | 98.39
Unit 41 | 234 | 235 | 5.34 | 99.57
Unit 68 | 213 | 218 | 4.12 | 97.71
Unit 33 | 206 | 209 | 8.87 | 98.56
Unit 109 | 119 | 122 | 2.23 | 97.54
Unit 85 | 119 | 120 | 3.53 | 99.17

## Slide 4: IRR GREDP > .95 (52) February 2016
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG-Exp MW) | GREDP Monthly Score
Unit 93 | 111 | 111 | 2.65 | 100.00
Unit 94 | 94 | 94 | 2.71 | 100.00
Unit 46 | 84 | 84 | 3.03 | 100.00
Unit 76 | 67 | 70 | 0.52 | 95.71
Unit 45 | 66 | 66 | 2.80 | 100.00
Unit 44 | 48 | 48 | 3.65 | 100.00
Unit 39 | 28 | 28 | 3.32 | 100.00
Unit 1 | 25 | 26 | 2.74 | 96.15
Unit 58 | 21 | 21 | 5.96 | 100.00
Unit 98 | 17 | 17 | 2.27 | 100.00
Unit 40 | 5 | 5 | 3.13 | 100.00
Unit 16 | 4 | 4 | 3.35 | 100.00
Unit 31 | 4 | 4 | 5.34 | 100.00

## Slide 5: IRR GREDP > .95 (52) February 2016
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG-Exp MW) | GREDP Monthly Score
Unit 9 | 3 | 3 | 0.78 | 100.00
Unit 82 | 3 | 3 | 3.81 | 100.00
Unit 89 | 3 | 3 | 3.10 | 100.00
Unit 2 | 2 | 2 | 4.30 | 100.00
Unit 29 | 2 | 2 | 3.21 | 100.00
Unit 50 | 2 | 2 | 3.05 | 100.00
Unit 61 | 2 | 2 | 0.45 | 100.00
Unit 65 | 2 | 2 | 4.60 | 100.00
Unit 81 | 2 | 2 | 3.54 | 100.00
Unit 92 | 2 | 2 | 2.85 | 100.00
Unit 3 | 1 | 1 | 4.51 | 100.00
Unit 24 | 1 | 1 | 4.70 | 100.00
Unit 26 | 1 | 1 | 2.51 | 100.00

## Slide 6: IRR GREDP > .95 (52) February 2016
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG-Exp MW) | GREDP Monthly Score
Unit 27 | 1 | 1 | 2.99 | 100.00
Unit 30 | 1 | 1 | 3.28 | 100.00
Unit 32 | 1 | 1 | 4.24 | 100.00
Unit 38 | 1 | 1 | 3.34 | 100.00
Unit 43 | 1 | 1 | 2.68 | 100.00
Unit 51 | 1 | 1 | 2.24 | 100.00
Unit 57 | 1 | 1 | 4.78 | 100.00
Unit 64 | 1 | 1 | 2.86 | 100.00
Unit 66 | 1 | 1 | 3.44 | 100.00
Unit 88 | 1 | 1 | 3.50 | 100.00
Unit 91 | 1 | 1 | 3.22 | 100.00
Unit 95 | 1 | 1 | 2.77 | 100.00
Unit 107 | 1 | 1 | 4.40 | 100.00
 | 8,260 | 8,318 | 3.30 | 99.30
Notes: Totals for STD Dev and Monthly scores are weighted averages

## Slide 7: IRR GREDP < .95 (59) February 2016
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG-Exp MW) | GREDP Monthly Score
Unit 13 | 2,370 | 2,586 | 5.16 | 91.65
Unit 5 | 2,138 | 2,347 | 7.49 | 91.10
Unit 71 | 778 | 914 | 2.92 | 85.12
Unit 10 | 747 | 813 | 1.94 | 91.88
Unit 4 | 555 | 736 | 5.06 | 75.41
Unit 106 | 579 | 688 | 1.28 | 84.16
Unit 17 | 641 | 684 | 4.62 | 93.71
Unit 72 | 613 | 683 | 4.35 | 89.75
Unit 18 | 622 | 670 | 3.56 | 92.84
Unit 73 | 311 | 655 | 2.02 | 47.48
Unit 90 | 564 | 652 | 3.04 | 86.50
Unit 56 | 526 | 651 | 5.28 | 80.80
Unit 34 | 109 | 636 | 2.76 | 17.14
Unit 35 | 570 | 627 | 1.83 | 90.91

## Slide 8: IRR GREDP < .95 (59) February 2016
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG-Exp MW) | GREDP Monthly Score
Unit 74 | 495 | 553 | 3.68 | 89.51
Unit 75 | 506 | 542 | 2.39 | 93.36
Unit 7 | 472 | 522 | 3.34 | 90.42
Unit 8 | 378 | 454 | 1.88 | 83.26
Unit 11 | 254 | 338 | 3.70 | 75.15
Unit 49 | 123 | 332 | 5.57 | 37.05
Unit 48 | 134 | 163 | 4.84 | 82.21
Unit 69 | 132 | 160 | 3.17 | 82.50
Unit 70 | 122 | 144 | 3.48 | 84.72
Unit 84 | 123 | 131 | 0.74 | 93.89
Unit 103 | 118 | 131 | 1.81 | 90.08
Unit 102 | 117 | 130 | 1.64 | 90.00
Unit 104 | 112 | 130 | 1.08 | 86.15
Unit 105 | 115 | 130 | 1.04 | 88.46

## Slide 9: IRR GREDP < .95 (59) February 2016
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG-Exp MW) | GREDP Monthly Score
Unit 83 | 120 | 128 | 0.18 | 93.75
Unit 86 | 74 | 98 | 3.67 | 75.51
Unit 22 | 68 | 93 | 2.17 | 73.12
Unit 55 | 82 | 90 | 2.97 | 91.11
Unit 20 | 66 | 87 | 2.44 | 75.86
Unit 19 | 58 | 73 | 2.32 | 79.45
Unit 100 | 46 | 59 | 4.15 | 77.97
Unit 99 | 49 | 57 | 4.11 | 85.96
Unit 101 | 5 | 55 | 4.97 | 9.09
Unit 47 | 12 | 51 | 1.70 | 23.53
Unit 23 | 20 | 31 | 2.09 | 64.52
Unit 80 | 25 | 28 | 4.26 | 89.29
Unit 52 | 19 | 24 | 4.02 | 79.17
Unit 59 | 18 | 23 | 2.27 | 78.26
Unit 25 | 11 | 12 | 1.81 | 91.67

## Slide 10: IRR GREDP < .95 (59) February 2016
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG-Exp MW) | GREDP Monthly Score
Unit 15 | 9 | 10 | 3.79 | 90.00
Unit 28 | 6 | 7 | 2.69 | 85.71
Unit 79 | 4 | 7 | 1.51 | 57.14
Unit 60 | 1 | 6 | 1.35 | 16.67
Unit 14 | 3 | 4 | 1.79 | 75.00
Unit 21 | 3 | 4 | 0.97 | 75.00
Unit 36 | 3 | 4 | 3.64 | 75.00
Unit 12 | 0 | 3 | 1.28 | 0.00
Unit 63 | 2 | 3 | 3.19 | 66.67
Unit 67 | 2 | 3 | 4.22 | 66.67
Unit 78 | 1 | 3 | 1.74 | 33.33
Unit 87 | 1 | 3 | 3.23 | 33.33
Unit 53 | 0 | 1 | 1.12 | 0.00
Unit 62 | 0 | 1 | 3.69 | 0.00
 | 15,032 | 18,170 | 3.97 | 82.73
Notes: Totals for Std Dev and Monthly Scores are weighted averages