## Slide 1
Generation Resource Energy and Regulation Deployment Performance – January 2016
QMWG 03/11/2016

## Slide 2: IRR Summary January 2016
IRR | Fleet | <95% | >100 INT; <95%
Average (%) | 85.60 | 69.21 | 78.07
Median (%) | 86.20 | 80.70 | 81.65
Average ERR(MW) | 3.01 | 2.66 | 3.58
Median ERR(MW) | 3.98 | 3.90 | 4.11
INTERVALS | 13900 | 7887 | 7150
100+ INT | 35 | 20 | 20
AVE INT SCORED | 160 | 202 | 358
Non IRR GREDP < 85% 01/31/2016
UNIT | Total Intervals Passed | Total Intervals Scored | Std Dev(GREDP MW) | GREDP Monthly Score
Unit 84 | 353 | 416 | 1.99 | 84.86
Unit 174 | 63 | 75 | 1.72 | 84.00
 | 416 | 491 | 2 | 85

## Slide 3: IRR GREDP > .95 (48) January 2016
UNIT | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG-Exp MW) | GREDP Monthly Score
Unit 7 | 1,776 | 1,781 | 4.39 | 99.72
Unit 79 | 702 | 705 | 6.48 | 99.57
Unit 40 | 399 | 402 | 8.23 | 99.25
Unit 59 | 303 | 306 | 1.80 | 99.02
Unit 9 | 210 | 218 | 3.16 | 96.33
Unit 73 | 208 | 214 | 2.55 | 97.20
Unit 10 | 202 | 209 | 2.66 | 96.65
Unit 44 | 198 | 203 | 4.90 | 97.54
Unit 74 | 172 | 173 | 2.34 | 99.42
Unit 61 | 168 | 171 | 1.16 | 98.25
Unit 28 | 154 | 154 | 6.33 | 100.00
Unit 52 | 146 | 146 | 3.89 | 100.00
Unit 27 | 144 | 144 | 5.21 | 100.00
Unit 24 | 136 | 136 | 4.77 | 100.00
Unit 31 | 100 | 100 | 3.06 | 100.00
Unit 84 | 96 | 97 | 1.53 | 98.97

## Slide 4: IRR GREDP > .95 (48) January 2016
UNIT | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG-Exp MW) | GREDP Monthly Score
Unit 85 | 92 | 94 | 0.94 | 97.87
Unit 68 | 91 | 93 | 3.45 | 97.85
Unit 69 | 90 | 93 | 3.38 | 96.77
Unit 42 | 92 | 92 | 4.65 | 100.00
Unit 86 | 89 | 91 | 0.90 | 97.80
Unit 30 | 84 | 84 | 3.01 | 100.00
Unit 38 | 64 | 65 | 3.55 | 98.46
Unit 8 | 55 | 55 | 3.26 | 100.00
Unit 37 | 45 | 46 | 2.29 | 97.83
Unit 36 | 44 | 44 | 2.13 | 100.00
Unit 75 | 24 | 25 | 4.06 | 96.00
Unit 45 | 21 | 21 | 2.67 | 100.00
Unit 26 | 10 | 10 | 2.92 | 100.00
Unit 71 | 5 | 5 | 3.52 | 100.00
Unit 15 | 4 | 4 | 4.87 | 100.00
Unit 25 | 4 | 4 | 3.27 | 100.00
Unit 35 | 4 | 4 | 3.18 | 100.00

## Slide 5: IRR GREDP > .95 (48) January 2016
UNIT | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG-Exp MW) | GREDP Monthly Score
Unit 48 | 4 | 4 | 0.42 | 100.00
Unit 49 | 3 | 3 | 2.85 | 100.00
Unit 20 | 2 | 2 | 5.19 | 100.00
Unit 29 | 2 | 2 | 3.13 | 100.00
Unit 51 | 2 | 2 | 3.08 | 100.00
Unit 70 | 2 | 2 | 3.29 | 100.00
Unit 4 | 1 | 1 | 2.58 | 100.00
Unit 16 | 1 | 1 | 2.92 | 100.00
Unit 18 | 1 | 1 | 2.37 | 100.00
Unit 19 | 1 | 1 | 2.64 | 100.00
Unit 23 | 1 | 1 | 3.35 | 100.00
Unit 43 | 1 | 1 | 4.18 | 100.00
Unit 46 | 1 | 1 | 2.12 | 100.00
Unit 50 | 1 | 1 | 4.26 | 100.00
Unit 64 | 1 | 1 | 3.22 | 100.00
 | 12,234 | 13,900 | 3.98 | 88.01

## Slide 6: IRR GREDP < .95 (39) January 2016
UNIT | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG-Exp MW) | GREDP Monthly Score
Unit 3 | 1,504 | 1,626 | 5.95 | 92.50
Unit 56 | 441 | 491 | 7.27 | 89.82
Unit 57 | 219 | 487 | 2.82 | 44.97
Unit 55 | 425 | 481 | 4.10 | 88.36
Unit 72 | 446 | 480 | 3.01 | 92.92
Unit 5 | 315 | 358 | 1.92 | 87.99
Unit 2 | 270 | 321 | 4.48 | 84.11
Unit 58 | 226 | 312 | 2.65 | 72.44
Unit 21 | 47 | 283 | 2.75 | 16.61
Unit 53 | 253 | 276 | 2.93 | 91.67
Unit 54 | 233 | 271 | 4.39 | 85.98
Unit 22 | 225 | 269 | 1.76 | 83.64
Unit 1 | 218 | 255 | 2.50 | 85.49

## Slide 7: IRR GREDP < .95 (39) January 2016
UNIT | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG-Exp MW) | GREDP Monthly Score
Unit 87 | 206 | 250 | 1.08 | 82.40
Unit 41 | 159 | 196 | 2.72 | 81.12
Unit 34 | 93 | 187 | 3.90 | 49.73
Unit 33 | 126 | 175 | 5.46 | 72.00
Unit 81 | 133 | 155 | 3.62 | 85.81
Unit 82 | 121 | 154 | 3.58 | 78.57
Unit 78 | 108 | 123 | 3.93 | 87.80
Unit 66 | 72 | 98 | 0.63 | 73.47
Unit 83 | 92 | 97 | 1.38 | 94.85
Unit 65 | 64 | 88 | 0.15 | 72.73
Unit 17 | 70 | 77 | 1.86 | 90.91
Unit 13 | 12 | 41 | 1.93 | 29.27
Unit 14 | 12 | 39 | 1.78 | 30.77

## Slide 8: IRR GREDP < .95 (39) January 2016
UNIT | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG-Exp MW) | GREDP Monthly Score
Unit 32 | 20 | 39 | 1.67 | 51.28
Unit 62 | 30 | 35 | 1.52 | 85.71
Unit 63 | 4 | 35 | 1.43 | 11.43
Unit 60 | 32 | 34 | 0.40 | 94.12
Unit 11 | 29 | 33 | 2.03 | 87.88
Unit 12 | 14 | 25 | 2.10 | 56.00
Unit 6 | 0 | 24 | 1.05 | 0.00
Unit 76 | 20 | 22 | 3.07 | 90.91
Unit 47 | 18 | 20 | 1.45 | 90.00
Unit 77 | 17 | 19 | 2.76 | 89.47
Unit 39 | 2 | 5 | 0.88 | 40.00
Unit 80 | 2 | 5 | 1.93 | 40.00
Unit 67 | 0 | 1 | 3.06 | 0.00
 | 6,278 | 7,887 | 3.79 | 79.59