## Process_Assumptions
Process & Assumptions
1) All AMS reads received between last day of "prior" month @ 17:00 and last day of "current" month @ 17:00
2) Batch processing occurs at approximately 17:00 so records loaded into the settlement system after that time are applied to the next day's batch.
3) The day of the starttime of the AMS transaction is compared to day of the time the AMS read was loaded into the settlement system plus 7 hours to account for the batch times mentioned above. datepart(starttime) - datepart(lstime + 7 hours) = AMS load lag
4) Data is partitioned into buckets based on the number of days of lag between starttime and time loaded into the settlement system.

## Aug15_Source_Data
Bar
calendar_day | <= OD + 2 | >OD+2 and <= OD+4 | >OD+4 and <= OD+53 | > OD+53 and <=OD+177 | >OD+177 | >OD+4 and <= OD+53 | > OD+53 and <=OD+177 | >OD+177
2015-08-01 | 6862690 | 10756 | 811992 | 863 | 28 | 811992 | 863 | 28
2015-08-02 | 4200734 | 10968 | 8958 | 333 | 6 | 8958 | 333 | 6
2015-08-03 | 10066344 | 38993 | 24617 | 3392 | 866 | 24617 | 3392 | 866
2015-08-04 | 7094334 | 22624 | 21728 | 2606 | 44 | 21728 | 2606 | 44
2015-08-05 | 6119850 | 8956 | 17827 | 5000 | 413 | 17827 | 5000 | 413
2015-08-06 | 7677013 | 18620 | 36975 | 5111 | 234 | 36975 | 5111 | 234
2015-08-07 | 7093007 | 8448 | 38912 | 5381 | 408 | 38912 | 5381 | 408
2015-08-08 | 6769834 | 6367 | 10414 | 600 | 122 | 10414 | 600 | 122
2015-08-09 | 6016940 | 5762 | 6993 | 276 | 48 | 6993 | 276 | 48
2015-08-10 | 6897278 | 10985 | 14878 | 4146 | 856 | 14878 | 4146 | 856
2015-08-11 | 6375038 | 286727 | 29235 | 2962 | 760 | 29235 | 2962 | 760
2015-08-12 | 8261498 | 542428 | 25316 | 3816 | 718 | 25316 | 3816 | 718
2015-08-13 | 7173130 | 12559 | 33067 | 5356 | 1010 | 33067 | 5356 | 1010
2015-08-14 | 6950062 | 7628 | 17995 | 5972 | 723 | 17995 | 5972 | 723
2015-08-15 | 5870771 | 8036 | 14374 | 549 | 217 | 14374 | 549 | 217
2015-08-16 | 5905653 | 8996 | 8110 | 553 | 113 | 8110 | 553 | 113
2015-08-17 | 8153925 | 8730 | 16332 | 3176 | 140 | 16332 | 3176 | 140
2015-08-18 | 7698781 | 222995 | 35872 | 4230 | 287 | 35872 | 4230 | 287
2015-08-19 | 6920851 | 17979 | 18313 | 3772 | 325 | 18313 | 3772 | 325
2015-08-20 | 6837572 | 10551 | 26812 | 2282 | 196 | 26812 | 2282 | 196
2015-08-21 | 7027048 | 7633 | 18512 | 3719 | 94 | 18512 | 3719 | 94
2015-08-22 | 6779263 | 4967 | 8684 | 436 | 3 | 8684 | 436 | 3
2015-08-23 | 4739026 | 7126 | 13279 | 938 | 1 | 13279 | 938 | 1
2015-08-24 | 9239720 | 33614 | 50723 | 4812 | 116 | 50723 | 4812 | 116
2015-08-25 | 6953420 | 19918 | 39425 | 6566 | 266 | 39425 | 6566 | 266
2015-08-26 | 6835328 | 10949 | 39628 | 6689 | 414 | 39628 | 6689 | 414
2015-08-27 | 5729029 | 13467 | 66725 | 58332 | 25 | 66725 | 58332 | 25
2015-08-28 | 7706243 | 29348 | 30041 | 4317 | 77 | 30041 | 4317 | 77
2015-08-29 | 3061225 | 11962 | 17118 | 824 | 130 | 17118 | 824 | 130
2015-08-30 | 10062161 | 1321971 | 16769 | 324 | 21 | 16769 | 324 | 21
2015-08-31 | 7876975 | 434399 | 13890 | 3721 | 141 | 13890 | 3721 | 141

## Sep15_Source_Data
Bar
calendar_day | <= OD + 2 | >OD+2 and <= OD+4 | >OD+4 and <= OD+53 | > OD+53 and <=OD+177 | >OD+177 | >OD+4 and <= OD+53 | > OD+53 and <=OD+177 | >OD+177
2015-09-01 | 6712320 | 10631 | 28396 | 3815 | 315 | 28396 | 3815 | 315
2015-09-02 | 7147660 | 9097 | 48148 | 46541 | 266 | 48148 | 46541 | 266
2015-09-03 | 6933676 | 20430 | 25227 | 5021 | 168 | 25227 | 5021 | 168
2015-09-04 | 6922603 | 7972 | 45248 | 4299 | 194 | 45248 | 4299 | 194
2015-09-05 | 6908600 | 6548 | 9218 | 683 | 98 | 9218 | 683 | 98
2015-09-06 | 6913638 | 5860 | 6001 | 377 | 12 | 6001 | 377 | 12
2015-09-07 | 6102341 | 3560 | 6398 | 2960 | 57 | 6398 | 2960 | 57
2015-09-08 | 7740261 | 14632 | 11302 | 308 | 15 | 11302 | 308 | 15
2015-09-09 | 6759473 | 13572 | 29878 | 4487 | 558 | 29878 | 4487 | 558
2015-09-10 | 7056678 | 8611 | 25754 | 4697 | 191 | 25754 | 4697 | 191
2015-09-11 | 6994775 | 16267 | 18338 | 2594 | 51 | 18338 | 2594 | 51
2015-09-12 | 6098400 | 8506 | 14061 | 331 | 25 | 14061 | 331 | 25
2015-09-13 | 4173600 | 8818 | 6021 | 400 | 0 | 6021 | 400 | 0
2015-09-14 | 10464974 | 36402 | 38147 | 2707 | 263 | 38147 | 2707 | 263
2015-09-15 | 6953845 | 12546 | 54722 | 3331 | 191 | 54722 | 3331 | 191
2015-09-16 | 6924814 | 6871 | 34120 | 4537 | 639 | 34120 | 4537 | 639
2015-09-17 | 6927280 | 6108 | 30346 | 3831 | 348 | 30346 | 3831 | 348
2015-09-18 | 6932304 | 7541 | 15401 | 3473 | 1742 | 15401 | 3473 | 1742
2015-09-19 | 6930848 | 9685 | 10576 | 511 | 1281 | 10576 | 511 | 1281
2015-09-20 | 6779762 | 5739 | 8246 | 407 | 874 | 8246 | 407 | 874
2015-09-21 | 6931028 | 5967 | 13392 | 3947 | 1030 | 13392 | 3947 | 1030
2015-09-22 | 7031233 | 11165 | 31401 | 3277 | 611 | 31401 | 3277 | 611
2015-09-23 | 6444076 | 6944 | 22895 | 2637 | 600 | 22895 | 2637 | 600
2015-09-24 | 7334509 | 23890 | 32979 | 4230 | 1091 | 32979 | 4230 | 1091
2015-09-25 | 6760375 | 8171 | 25359 | 3828 | 735 | 25359 | 3828 | 735
2015-09-26 | 3726396 | 12862 | 60605 | 648 | 9 | 60605 | 648 | 9
2015-09-27 | 10075707 | 35249 | 60045 | 238 | 59 | 60045 | 238 | 59
2015-09-28 | 7127038 | 212925 | 121930 | 3493 | 609 | 121930 | 3493 | 609
2015-09-29 | 5716961 | 9662 | 45669 | 1221 | 108 | 45669 | 1221 | 108
2015-09-30 | 6636975 | 13225 | 204195 | 3794 | 380 | 204195 | 3794 | 380

## Oct15_Source_Data
Bar
calendar_day | <= OD + 2 | >OD+2 and <= OD+4 | >OD+4 and <= OD+53 | > OD+53 and <=OD+177 | >OD+177 | >OD+4 and <= OD+53 | > OD+53 and <=OD+177 | >OD+177
2015-10-01 | 7125901 | 455347 | 161259 | 3376 | 486 | 161259 | 3376 | 486
2015-10-02 | 8219399 | 454091 | 221674 | 2228 | 552 | 221674 | 2228 | 552
2015-10-03 | 6795679 | 7829 | 100119 | 421 | 34 | 100119 | 421 | 34
2015-10-04 | 7023145 | 4707 | 42949 | 379 | 76 | 42949 | 379 | 76
2015-10-05 | 6897672 | 109598 | 44647 | 69283 | 377 | 44647 | 69283 | 377
2015-10-06 | 6945760 | 5679 | 60467 | 2403 | 508 | 60467 | 2403 | 508
2015-10-07 | 6950031 | 4101 | 69624 | 112016 | 380 | 69624 | 112016 | 380
2015-10-08 | 6889971 | 7491 | 35029 | 3203 | 302 | 35029 | 3203 | 302
2015-10-09 | 6943888 | 6737 | 23620 | 3642 | 289 | 23620 | 3642 | 289
2015-10-10 | 5974937 | 6540 | 11094 | 752 | 8 | 11094 | 752 | 8
2015-10-11 | 3388806 | 7486 | 8060 | 639 | 47 | 8060 | 639 | 47
2015-10-12 | 10498370 | 145420 | 15819 | 4434 | 851 | 15819 | 4434 | 851
2015-10-13 | 7704477 | 12880 | 22970 | 308 | 76 | 22970 | 308 | 76
2015-10-14 | 6746052 | 4980 | 14744 | 1504 | 253 | 14744 | 1504 | 253
2015-10-15 | 7134736 | 23616 | 27171 | 6170 | 1493 | 27171 | 6170 | 1493
2015-10-16 | 6943372 | 6031 | 18145 | 2595 | 471 | 18145 | 2595 | 471
2015-10-17 | 6720843 | 7033 | 14161 | 558 | 188 | 14161 | 558 | 188
2015-10-18 | 7186018 | 8788 | 6761 | 206 | 177 | 6761 | 206 | 177
2015-10-19 | 6787126 | 5756 | 12158 | 2356 | 260 | 12158 | 2356 | 260
2015-10-20 | 6995978 | 7476 | 21072 | 2661 | 440 | 21072 | 2661 | 440
2015-10-21 | 6604440 | 5254 | 18159 | 2836 | 1043 | 18159 | 2836 | 1043
2015-10-22 | 6072316 | 16887 | 18167 | 5472 | 483 | 18167 | 5472 | 483
2015-10-23 | 8255700 | 19126 | 19658 | 763 | 113 | 19658 | 763 | 113
2015-10-24 | 5497803 | 8766 | 10503 | 285 | 8 | 10503 | 285 | 8
2015-10-25 | 8479121 | 28131 | 8014 | 161 | 5 | 8014 | 161 | 5
2015-10-26 | 6778045 | 16248 | 20997 | 1346 | 2 | 20997 | 1346 | 2
2015-10-27 | 7199246 | 16957 | 68128 | 61558 | 113 | 68128 | 61558 | 113
2015-10-28 | 6762226 | 12061 | 22411 | 3447 | 189 | 22411 | 3447 | 189
2015-10-29 | 7092192 | 15403 | 56370 | 69533 | 131 | 56370 | 69533 | 131
2015-10-30 | 7114365 | 15010 | 20038 | 2729 | 706 | 20038 | 2729 | 706
2015-10-31 | 6962003 | 22030 | 7917 | 294 | 7 | 7917 | 294 | 7

## Nov15_Source_Data
Bar
calendar_day | <= OD + 2 | >OD+2 and <= OD+4 | >OD+4 and <= OD+53 | > OD+53 and <=OD+177 | >OD+177 | >OD+4 and <= OD+53 | > OD+53 and <=OD+177 | >OD+177
2015-11-01 | 1269076 | 1174 | 614 | 43 | 2 | 614 | 43 | 2
2015-11-02 | 8219393 | 107987 | 9239 | 220 | 62 | 9239 | 220 | 62
2015-11-03 | 10619813 | 35948 | 35166 | 1854 | 37 | 35166 | 1854 | 37
2015-11-04 | 7183626 | 646423 | 18198 | 2227 | 330 | 18198 | 2227 | 330
2015-11-05 | 7853981 | 19880 | 22891 | 4393 | 210 | 22891 | 4393 | 210
2015-11-06 | 6729290 | 13861 | 21064 | 2418 | 119 | 21064 | 2418 | 119
2015-11-07 | 7063051 | 28800 | 15347 | 267 | 156 | 15347 | 267 | 156
2015-11-08 | 7267376 | 29904 | 23873 | 320 | 121 | 23873 | 320 | 121
2015-11-09 | 6505361 | 9361 | 24987 | 3005 | 359 | 24987 | 3005 | 359
2015-11-10 | 7207988 | 10110 | 32797 | 5486 | 668 | 32797 | 5486 | 668
2015-11-11 | 6995261 | 4941 | 15964 | 18630 | 190 | 15964 | 18630 | 190
2015-11-12 | 6181597 | 7345 | 42479 | 10818 | 359 | 42479 | 10818 | 359
2015-11-13 | 8091568 | 28104 | 39469 | 5058 | 1344 | 39469 | 5058 | 1344
2015-11-14 | 7012784 | 10194 | 12331 | 2804 | 39 | 12331 | 2804 | 39
2015-11-15 | 3358064 | 2743 | 3954 | 410 | 9 | 3954 | 410 | 9
2015-11-16 | 10475782 | 59704 | 11378 | 991 | 11 | 11378 | 991 | 11
2015-11-17 | 7023056 | 12595 | 27035 | 4634 | 1278 | 27035 | 4634 | 1278
2015-11-18 | 7001938 | 7181 | 23936 | 4999 | 1446 | 23936 | 4999 | 1446
2015-11-19 | 6982837 | 12433 | 21728 | 3085 | 1401 | 21728 | 3085 | 1401
2015-11-20 | 6976905 | 8338 | 21276 | 2712 | 2018 | 21276 | 2712 | 2018
2015-11-21 | 6965017 | 7215 | 7631 | 656 | 56 | 7631 | 656 | 56
2015-11-22 | 6957940 | 6509 | 24512 | 257 | 26 | 24512 | 257 | 26
2015-11-23 | 6907017 | 11096 | 105765 | 1872 | 193 | 105765 | 1872 | 193
2015-11-24 | 7072723 | 13224 | 108610 | 3529 | 741 | 108610 | 3529 | 741
2015-11-25 | 6988210 | 11890 | 61315 | 2306 | 576 | 61315 | 2306 | 576
2015-11-26 | 6955725 | 7688 | 47591 | 3871 | 170 | 47591 | 3871 | 170
2015-11-27 | 6502922 | 4348 | 2971 | 195 | 110 | 2971 | 195 | 110
2015-11-28 | 7489618 | 14650 | 2969 | 18 | 42 | 2969 | 18 | 42
2015-11-29 | 6980925 | 13053 | 20563 | 325 | 452 | 20563 | 325 | 452
2015-11-30 | 7005041 | 8343 | 9983 | 48 | 4 | 9983 | 48 | 4

## Dec15_Source_Data
Bar
calendar_day | <= OD + 2 | >OD+2 and <= OD+4 | >OD+4 and <= OD+53 | > OD+53 and <=OD+177 | >OD+177 | >OD+4 and <= OD+53 | > OD+53 and <=OD+177 | >OD+177
2015-12-01 | 6992539 | 19835 | 23303 | 852 | 2 | 23303 | 852 | 2
2015-12-02 | 6972485 | 9861 | 23592 | 2292 | 445 | 23592 | 2292 | 445
2015-12-03 | 6937167 | 10650 | 23933 | 3813 | 739 | 23933 | 3813 | 739
2015-12-04 | 7084359 | 16092 | 35873 | 48124 | 627 | 35873 | 48124 | 627
2015-12-05 | 6140113 | 5582 | 11476 | 310 | 16 | 11476 | 310 | 16
2015-12-06 | 4127493 | 16320 | 3955 | 510 | 70 | 3955 | 510 | 70
2015-12-07 | 10590937 | 74797 | 11203 | 1826 | 108 | 11203 | 1826 | 108
2015-12-08 | 6927925 | 11944 | 27337 | 506 | 106 | 27337 | 506 | 106
2015-12-09 | 7020431 | 5029 | 19512 | 3617 | 163 | 19512 | 3617 | 163
2015-12-10 | 6938868 | 6386 | 9531 | 1860 | 176 | 9531 | 1860 | 176
2015-12-11 | 7006024 | 27978 | 23020 | 2485 | 252 | 23020 | 2485 | 252
2015-12-12 | 6981174 | 8487 | 7834 | 515 | 1993 | 7834 | 515 | 1993
2015-12-13 | 6975291 | 6277 | 4692 | 132 | 1 | 4692 | 132 | 1
2015-12-14 | 7008807 | 12016 | 9303 | 2470 | 189 | 9303 | 2470 | 189
2015-12-15 | 6889597 | 21323 | 31509 | 3034 | 97 | 31509 | 3034 | 97
2015-12-16 | 7082408 | 8884 | 46847 | 4797 | 157 | 46847 | 4797 | 157
2015-12-17 | 6988812 | 33184 | 26049 | 2059 | 199 | 26049 | 2059 | 199
2015-12-18 | 6987049 | 19846 | 16648 | 2415 | 669 | 16648 | 2415 | 669
2015-12-19 | 6995591 | 11742 | 33162 | 756 | 140 | 33162 | 756 | 140
2015-12-20 | 6980237 | 6016 | 3173 | 17 | 8 | 3173 | 17 | 8
2015-12-21 | 6756599 | 2431 | 8356 | 4418 | 745 | 8356 | 4418 | 745
2015-12-22 | 5882323 | 7593 | 41369 | 1315 | 384 | 41369 | 1315 | 384
2015-12-23 | 8318446 | 17424 | 48836 | 30059 | 214 | 48836 | 30059 | 214
2015-12-24 | 6976951 | 5429 | 33693 | 3150 | 189 | 33693 | 3150 | 189
2015-12-25 | 6938254 | 9482 | 39578 | 106 | 9 | 39578 | 106 | 9
2015-12-26 | 7008126 | 3726 | 4694 | 189 | 68 | 4694 | 189 | 68
2015-12-27 | 6973548 | 4900 | 3834 | 112 | 2 | 3834 | 112 | 2
2015-12-28 | 5691015 | 8039 | 7609 | 39 | 1 | 7609 | 39 | 1
2015-12-29 | 7700271 | 57997 | 38688 | 1712 | 90 | 38688 | 1712 | 90
2015-12-30 | 7435073 | 40303 | 31934 | 1202 | 148 | 31934 | 1202 | 148
2015-12-31 | 6947262 | 11346 | 14579 | 2132 | 553 | 14579 | 2132 | 553