| NPRR Number | 748 | NPRR Title | Revisions associated with COM-002-4 and Other Clarifications Associated with Dispatch Instructions |
| --- | --- | --- | --- |
| Date of Decision |  | March 10, 2016 |  |
| Action |  | Recommended Approval |  |
| Timeline |  | Normal |  |
| Proposed Effective Date |  | May 1, 2016 |  |
| Priority and Rank Assigned |  | Not applicable |  |
| Nodal Protocol Sections Requiring Revision |  | 6.5.7.8, Dispatch Procedures 6.5.8, Verbal Dispatch Instructions |  |
| Related Documents Requiring Revision/ Related Revision Requests |  | Nodal Operating Guide Revision Request (NOGRR) 151, Alignment with NPRR748, Revisions associated with COM-002-4 and Other Clarifications Associated with Dispatch Instructions |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) aligns with North American Electric Reliability Corporation (NERC) Standard COM-002-4, Operating Personnel Communications Protocols, and provides language clarification for Dispatch Instructions and procedures. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | Aligns with NERC Standard COM-002-4; reduces impacts and time loss resulting from communication errors; and reduces compliance risks by establishing a best utility practice for the ERCOT Region. |  |
| Credit Work Group Review |  | ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed NPRR748 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |
| PRS Decision |  | On 12/10/15, PRS unanimously voted to table NPRR748 and refer the issue to WMS and ROS. All Market Segments were present for the vote. On 2/11/16, PRS voted to recommend approval of NPRR748 as amended by the 2/4/16 STEC comments. There was one opposing vote from the Independent Generator Market Segment. All Market Segments were present for the vote. On 3/10/16, PRS unanimously voted to endorse and forward to TAC the 2/11/16 PRS Report and the Impact Analysis for NPRR748. All Market Segments were present for the vote. |  |
| Summary of PRS Discussion |  | On 12/10/15, there was no discussion. On 2/11/16, participants discussed the 2/4/16 STEC comments and the 2/5/16 ROS comments. On 3/10/16, there was no discussion. |  |

| Sponsor |  |
| --- | --- |
| Name | Stephen Solis |
| E-mail Address | stephen.solis@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6772 |
| Cell Number |  |
| Market Segment | Not applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Lindsay Butterfield |
| E-Mail Address | Lindsay.Butterfield@ercot.com |
| Phone Number | 512-248-6521 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| NRG 010816 | Clarified timing requirements. |
| ROS 011116 | Recommended PRS continue to table NPRR748. |
| ERCOT 011916 | Removed the ten minute requirement on ERCOT issuing the electronic confirmation of the VDI for Settlement purposes after the issuance of a VDI. |
| STEC 020416 | Provided language changes to remove time requirement on QSEs to electronically acknowledge the VDI. |
| ROS 020516 | Endorsed NPRR748 as amended by the 2/4/16 STEC comments. |

Market Rules Notes

None

Proposed Protocol Language Revision

- 6.5.7.8	Dispatch Procedures

(1)	ERCOT shall issue all Resource Dispatch Instructions to the QSE that represents the affected Resource.  ERCOT and QSEs are responsible for complying with Dispatch Instructions as prescribed in the Nodal Operating Guides.  A QSE may provide a Resource Status of ONTEST for a Generation Resource not providing Ancillary Services to indicate that the Resource is currently undergoing unit testing and is blocked from SCED Dispatch.  A QSE may provide a Resource Status of STARTUP for a Generation Resource not providing Ancillary Services to indicate that the Resource is currently undergoing a start-up sequence which requires manual control below or above its telemetered LSL to stabilize the Resource prior to its availability for SCED Dispatch.  Generation Resources with a Resource Status of ONTEST will be provided a Base Point equal to the net real power telemetry at the time of the SCED execution.  ERCOT may not issue Dispatch Instructions to the QSE for Generation Resources with a Resource Status of ONTEST except:

(a)	For Dispatch Instructions that are a part of testing; or

(b)	During conditions when the Resource is the only alternative for solving a transmission constraint; or

(c)	During Force Majeure Events that threaten the reliability of the ERCOT System.

(2)	Each QSE shall immediately forward any valid Dispatch Instruction to the appropriate Resource or group of Resources or identify a reason for non-compliance with the Dispatch Instruction to ERCOT in accordance with Section 6.5.7.9, Compliance with Dispatch Instructions

(3)	If ERCOT believes that a Resource has inadequately responded to a Dispatch Instruction, ERCOT shall notify the QSE representing the Resource as soon as practicable.

(4)	ERCOT shall record all voice conversations that occur in the communication of Verbal Dispatch Instructions (VDIs).

(5)	By mutual agreement of the TSP and ERCOT, Dispatch Instructions to the TSP may be provided to the TSP’s designated agent.  In that case, issuance of the Dispatch Instruction to the designated agent is considered issuance to the TSP, and the TSP must comply with the Dispatch Instruction exactly as if it had been issued directly to the TSP, whether or not the designated agent accurately conveys the Dispatch Instruction to the TSP.

(6)	ERCOT shall direct VDIs to the Master QSE of a Generation Resource that has been split to function as two or more Split Generation Resources as deemed necessary by ERCOT to effectuate actions for the total Generation Resource for instances in which electronic instructions are not feasible.

- 6.5.8	Verbal Dispatch Instruction Confirmation

(1)	Following the issuance of a Verbal Dispatch Instruction (VDI) by ERCOT to a QSE for a Generation Resource, ERCOT will provide the QSE with an electronic confirmation of the VDI for Settlement purposes.

(2)	A VDI confirmation shall contain the following information:

(a)	Operating Day and time ERCOT issued the VDI;

(b)	Identification of the QSE for the Resource(s) subject to the VDI, and instructing authority (including the names of the ERCOT Operator and individual that received the VDI);

(c)	Identification of the specific Resources(s) subject to the VDI;

(d)	Specific actions required of the Resource(s);

(e)	Beginning operating level or state of the Resource(s);

(f)	Instructed operating level or state of the Resource(s);

(g)	Time at which the Resource(s) was required to initiate actions;

(h)	Time by which the Resource(s) was required to complete actions; and

(i)	Other information relevant to that Dispatch Instruction.

(3)	Following receipt by the QSE, of the VDI confirmation issued by ERCOT, the QSE shall provide ERCOT with electronic acknowledgement of the VDI confirmation, including the name of the individual that received the VDI confirmation.