## Slide 1
Changes to 2016 Ancillary Service Methodology to account for Reserve Discount Factor (RDF)
ERCOT Staff
March 23, 2016 QMWG

## Slide 2: Discussion Points
Proposed Timeline
ERCOT Weather Zones
Reserve Discount Factor (RDF) Adjustment Analysis
Proposed changes to the 2016 Ancillary Service Methodology

## Slide 3: Proposed timeline for review of AS Methodology

## Slide 4: ERCOT Weather Zones

## Slide 5: Weather Stations

## Slide 6: Reserve Discount Factor Reserve Discount Factor

## Slide 7: August 13th, 2015 Benchmark
Chart: August 13th, 2015 Peak Hours PRC Benchmark
| 14:00 | 14:05 | 14:10 | 14:15 | 14:20 | 14:25 | 14:30 | 14:35 | 14:40 | 14:45 | 14:50 | 14:55 | 15:00 | 15:05 | 15:10 | 15:15 | 15:20 | 15:25 | 15:30 | 15:35 | 15:40 | 15:45 | 15:50 | 15:55 | 16:00 | 16:05 | 16:10 | 16:15 | 16:20 | 16:25 | 16:30 | 16:35 | 16:40 | 16:45 | 16:50 | 16:55 | 17:00 | 17:05 | 17:10 | 17:15 | 17:20 | 17:25 | 17:30 | 17:35 | 17:40 | 17:45 | 17:50 | 17:55 | 18:00
Difference | 0.0010777 | 0.43001 | 0 | 0.20107 | 1.2124 | 0.70002 | 0.656 | 0 | 0.069745 | 0 | 0.78421 | 1.6049 | 0 | 0.033654 | 0.15869 | 0 | 0.37739 | 0 | 1.9833 | 0 | 0 | 0 | 0.033755 | 0.034681 | 0.17443 | 0 | 1.4553 | 0 | 0.29196 | 0.074203 | 0 | 1.7787 | 0.059038 | 0.296 | 0.46665 | 0.47347 | 0 | 0.94047 | 0.13408 | 0.87685 | 0.89027 | 0 | 1.3464 | 0.11711 | 0.55009 | 0.79376 | 1.2356 | 0 | 0.57759
PRC Actual (Calculated) | 3454.0389 | 3381.1588 | 3299.9421 | 3049.3412 | 2823.9526 | 2834.0643 | 2862.409 | 2845.2298 | 2804.0684 | 2822.2254 | 2754.9865 | 2723.7113 | 2541.0209 | 2367.2799 | 2463.2735 | 2484.5578 | 2465.2278 | 2507.2368 | 2579.9209 | 2650.5013 | 2590.6721 | 2489.2209 | 2465.976 | 2375.5227 | 2420.3364 | 2476.1564 | 2497.6 | 2429.0945 | 2438.0562 | 2452.0808 | 2408.765 | 2459.7312 | 2436.3747 | 2403.0435 | 2447.8581 | 2423.6788 | 2388.9068 | 2629.5232 | 2669.7824 | 2699.4696 | 2725.3972 | 2825.1849 | 2929.7899 | 3011.5384 | 3076.8265 | 3203.3352 | 3253.8425 | 3278.5803 | 3393.2902
PRC (Real-Time) | 3454.04 | 3381.5888 | 3299.9421 | 3049.5423 | 2825.165 | 2834.7643 | 2863.065 | 2845.2298 | 2804.1382 | 2822.2254 | 2755.7707 | 2725.3162 | 2541.0209 | 2367.3135 | 2463.4322 | 2484.5578 | 2465.6052 | 2507.2368 | 2581.9042 | 2650.5013 | 2590.6721 | 2489.2209 | 2466.0097 | 2375.5574 | 2420.5108 | 2476.1564 | 2499.0554 | 2429.0945 | 2438.3481 | 2452.155 | 2408.765 | 2461.5099 | 2436.4338 | 2403.3395 | 2448.3248 | 2424.1522 | 2388.9068 | 2630.4637 | 2669.9165 | 2700.3464 | 2726.2875 | 2825.1849 | 2931.1363 | 3011.6555 | 3077.3766 | 3204.129 | 3255.0782 | 3278.5803 | 3393.8678

## Slide 8: August 13th, 2015 Benchmark
Chart: August 13th, 2015 Peak Hours PRC Analysis
| 14:00 | 14:05 | 14:10 | 14:15 | 14:20 | 14:25 | 14:30 | 14:35 | 14:40 | 14:45 | 14:50 | 14:55 | 15:00 | 15:05 | 15:10 | 15:15 | 15:20 | 15:25 | 15:30 | 15:35 | 15:40 | 15:45 | 15:50 | 15:55 | 16:00 | 16:05 | 16:10 | 16:15 | 16:20 | 16:25 | 16:30 | 16:35 | 16:40 | 16:45 | 16:50 | 16:55 | 17:00 | 17:05 | 17:10 | 17:15 | 17:20 | 17:25 | 17:30 | 17:35 | 17:40 | 17:45 | 17:50 | 17:55 | 18:00
PRC Actual (Calculated) | 3454.0389 | 3381.1588 | 3299.9421 | 3049.3412 | 2823.9526 | 2834.0643 | 2862.409 | 2845.2298 | 2804.0684 | 2822.2254 | 2754.9865 | 2723.7113 | 2541.0209 | 2367.2799 | 2463.2735 | 2484.5578 | 2465.2278 | 2507.2368 | 2579.9209 | 2650.5013 | 2590.6721 | 2489.2209 | 2465.976 | 2375.5227 | 2420.3364 | 2476.1564 | 2497.6 | 2429.0945 | 2438.0562 | 2452.0808 | 2408.765 | 2459.7312 | 2436.3747 | 2403.0435 | 2447.8581 | 2423.6788 | 2388.9068 | 2629.5232 | 2669.7824 | 2699.4696 | 2725.3972 | 2825.1849 | 2929.7899 | 3011.5384 | 3076.8265 | 3203.3352 | 3253.8425 | 3278.5803 | 3393.2902
PRC (0.99 Minimum RDF) | 3647.3451 | 3591.5492 | 3508.6371 | 3232.307 | 3029.0871 | 3004.1226 | 3047.0735 | 3024.9342 | 2990.6794 | 3020.1772 | 2939.6969 | 2897.5311 | 2718.9664 | 2525.9011 | 2592.1555 | 2630.4737 | 2607.3144 | 2629.176 | 2715.3492 | 2788.1098 | 2743.251 | 2644.8678 | 2606.4896 | 2501.6674 | 2535.3106 | 2588.1954 | 2629.3813 | 2571.8446 | 2552.0636 | 2571.6091 | 2529.0279 | 2571.6021 | 2555.5927 | 2528.6255 | 2564.708 | 2552.7525 | 2528.9043 | 2775.6245 | 2819.0105 | 2868.0423 | 2896.1986 | 2982.8932 | 3111.7024 | 3190.7179 | 3260.3672 | 3375.0168 | 3439.9954 | 3479.7472 | 3587.8815
PRC (No RDF) | 3707.3993 | 3699.3871 | 3615.0793 | 3339.3853 | 3139.8432 | 3087.2417 | 3142.0283 | 3113.7547 | 3090.7816 | 3117.2288 | 3027.6669 | 2987.6022 | 2803.4698 | 2672.4363 | 2718.4422 | 2764.7686 | 2735.8131 | 2741.4822 | 2843.8132 | 2921.915 | 2883.8992 | 2789.6916 | 2727.4792 | 2614.4276 | 2645.7075 | 2691.6504 | 2755.8995 | 2697.3205 | 2662.2643 | 2684.183 | 2645.6078 | 2676.7503 | 2665.376 | 2642.1307 | 2675.594 | 2672.45 | 2654.0928 | 2894.837 | 2937.4778 | 3006.3105 | 3034.8226 | 3108.4955 | 3254.1196 | 3334.0498 | 3396.7001 | 3500.2169 | 3581.3982 | 3623.5397 | 3729.5765
-PRC Actual (Calculated) determined using 0.98 RDF as in Real-Time.
-PRC calculated using a maximum 1% discount; effectively replacing any 0.98 RDF with a 0.99 RDF.
-PRC (No RDF) eliminates any discount from the HSL in the PRC equations for each individual unit.

## Slide 9: Low PRC Intervals (<3,00MW)
Chart: Count of 5-min Intervals Where PRC < 3,000MW
| 14:00 | 14:05 | 14:10 | 14:15 | 14:20 | 14:25 | 14:30 | 14:35 | 14:40 | 14:45 | 14:50 | 14:55 | 15:00 | 15:05 | 15:10 | 15:15 | 15:20 | 15:25 | 15:30 | 15:35 | 15:40 | 15:45 | 15:50 | 15:55 | 16:00 | 16:05 | 16:10 | 16:15 | 16:20 | 16:25 | 16:30 | 16:35 | 16:40 | 16:45 | 16:50 | 16:55 | 17:00 | 17:05 | 17:10 | 17:15 | 17:20 | 17:25 | 17:30 | 17:35 | 17:40 | 17:45 | 17:50 | 17:55 | 18:00
count | 1 | 1 | 1 | 1 | 2 | 2 | 3 | 3 | 3 | 4 | 3 | 3 | 6 | 6 | 6 | 8 | 7 | 8 | 9 | 7 | 7 | 11 | 11 | 9 | 12 | 11 | 13 | 15 | 14 | 14 | 15 | 14 | 11 | 10 | 13 | 13 | 7 | 3 | 4 | 2 | 1 | 2 | 2 | 1 | 0 | 0 | 0 | 0 | 0
299 sampled intervals where PRC < 3,000 MW between HE15 and HE18.

## Slide 10: Difference Between Actual PRC and PRC with 1% RDF (<3,00MW)
Chart: Lowest PRC Intervals (<3,00MW) with RDF of 0.99
| 14:00 | 14:05 | 14:10 | 14:15 | 14:20 | 14:25 | 14:30 | 14:35 | 14:40 | 14:45 | 14:50 | 14:55 | 15:00 | 15:05 | 15:10 | 15:15 | 15:20 | 15:25 | 15:30 | 15:35 | 15:40 | 15:45 | 15:50 | 15:55 | 16:00 | 16:05 | 16:10 | 16:15 | 16:20 | 16:25 | 16:30 | 16:35 | 16:40 | 16:45 | 16:50 | 16:55 | 17:00 | 17:05 | 17:10 | 17:15 | 17:20 | 17:25 | 17:30 | 17:35 | 17:40 | 17:45 | 17:50 | 17:55 | 18:00
 | 214.5277 | 155.2484 | 134.7518 | 153.2105 | 156.0751 | 156.6495 | 126.9969 | 146.2705 | 153.6636 | 133.0721 | 121.9099 | 126.4371 | 133.7463 | 141.8887 | 130.0981 | 140.0872 | 128.1039 | 125.1936 | 113.1796 | 132.3106 | 133.4739 | 123.5039 | 132.0393 | 110.1802 | 116.3774 | 116.2681 | 129.6693 | 130.7647 | 117.1299 | 122.7636 | 113.2847 | 114.0574 | 118.881 | 126.5233 | 118.2094 | 124.4236 | 126.8289 | 138.5144 | 128.339 | 154.342 | 170.8014 | 157.8959 | 182.0784 | 175.3374 | 0 | 0 | 0 | 0 | 0
 | 214.5277 | 155.2484 | 134.7518 | 153.2105 | 205.1345 | 170.0583 | 184.6645 | 179.7044 | 186.611 | 197.9518 | 184.7104 | 173.8198 | 177.9455 | 166.6123 | 181.3933 | 185.0577 | 181.1302 | 188.1497 | 175.2785 | 163.4513 | 194.258 | 203.3081 | 198.5809 | 182.3075 | 184.1729 | 200.0308 | 194.7697 | 202.044 | 201.381 | 192.0948 | 207.8017 | 208.4722 | 175.9567 | 205.2367 | 183.1697 | 187.2626 | 173.6369 | 151.7836 | 216.1485 | 168.5727 | 170.8014 | 165.2167 | 188.5477 | 175.3374 | 0 | 0 | 0 | 0 | 0
 | 214.5277 | 155.2484 | 134.7518 | 153.2105 | 154.8172 | 156.3057 | 125.37 | 146.1211 | 153.5188 | 130.8116 | 120.5686 | 125.236 | 131.4923 | 141.5266 | 128.882 | 139.5572 | 126.85 | 121.9392 | 111.6642 | 131.3756 | 130.1379 | 119.9641 | 131.9186 | 106.1891 | 114.9742 | 112.0391 | 129.063 | 127.7868 | 114.0074 | 119.5283 | 109.5272 | 111.8709 | 118.7687 | 125.582 | 116.8499 | 123.5878 | 125.5323 | 138.1151 | 126.6452 | 153.9772 | 170.8014 | 157.7082 | 181.9125 | 175.3374 | 0 | 0 | 0 | 0 | 0
 | 214.5277 | 155.2484 | 134.7518 | 153.2105 | 203.8765 | 169.7145 | 183.3267 | 178.1746 | 185.1012 | 197.2491 | 182.8446 | 172.5916 | 177.1219 | 166.3599 | 178.8268 | 182.8162 | 180.9732 | 187.2451 | 174.7977 | 162.0848 | 190.5356 | 202.8939 | 197.5395 | 181.0174 | 183.3464 | 199.1284 | 193.9458 | 196.7224 | 198.2135 | 191.7441 | 207.7453 | 205.0556 | 175.7126 | 200.7358 | 183.043 | 185.8736 | 173.4468 | 151.4995 | 211.3007 | 168.2078 | 170.8014 | 165.029 | 188.3819 | 175.3374 | 0 | 0 | 0 | 0 | 0
-Average 159 MW Increase in PRC
-98th Percentile: 204 MW Increase or Less
-95th Percentile: 197 MW Increase or Less

## Slide 11: Difference Between Actual PRC and PRC with no RDF (<3,00MW)
Chart: Lowest PRC Intervals (<3,00MW) with RDF of 1 (No RDF)
| 14:00 | 14:05 | 14:10 | 14:15 | 14:20 | 14:25 | 14:30 | 14:35 | 14:40 | 14:45 | 14:50 | 14:55 | 15:00 | 15:05 | 15:10 | 15:15 | 15:20 | 15:25 | 15:30 | 15:35 | 15:40 | 15:45 | 15:50 | 15:55 | 16:00 | 16:05 | 16:10 | 16:15 | 16:20 | 16:25 | 16:30 | 16:35 | 16:40 | 16:45 | 16:50 | 16:55 | 17:00 | 17:05 | 17:10 | 17:15 | 17:20 | 17:25 | 17:30 | 17:35 | 17:40 | 17:45 | 17:50 | 17:55 | 18:00
 | 277.7195 | 281.7254 | 261.906 | 291.8892 | 299.9392 | 254.3596 | 217.6356 | 258.6966 | 275.7517 | 230.377 | 230.4267 | 215.075 | 224.4593 | 194.6322 | 181.8407 | 193.7368 | 187.2095 | 183.5814 | 177.2439 | 234.3053 | 208.7232 | 157.5315 | 163.0109 | 179.4333 | 162.9952 | 161.3894 | 155.7786 | 155.0076 | 168.1816 | 166.5579 | 175.5498 | 175.0848 | 172.8377 | 176.111 | 164.0699 | 182.109 | 168.286 | 265.4006 | 222.9378 | 304.151 | 309.4254 | 173.0378 | 199.1376 | 193.4652 | 0 | 0 | 0 | 0 | 0
 | 277.7195 | 281.7254 | 261.906 | 291.8892 | 315.8906 | 300.4652 | 301.7375 | 284.8548 | 289.4705 | 309.7013 | 272.6803 | 284.8977 | 312.488 | 305.1564 | 346.1444 | 343.1193 | 330.4696 | 344.5477 | 322.8627 | 299.0498 | 326.6195 | 316.5679 | 314.2844 | 323.7642 | 325.9188 | 354.3876 | 355.2987 | 360.8979 | 363.7991 | 341.3836 | 376.4697 | 380.3123 | 273.609 | 261.3235 | 341.3308 | 298.2855 | 318.7312 | 293.5245 | 297.5872 | 306.8409 | 309.4254 | 283.3106 | 324.3297 | 193.4652 | 0 | 0 | 0 | 0 | 0
 | 277.7195 | 281.7254 | 261.906 | 291.8892 | 299.5302 | 253.1774 | 214.3733 | 258.1793 | 275.1748 | 225.137 | 229.1729 | 212.5057 | 219.8596 | 187.4257 | 173.2339 | 184.55 | 184.7456 | 180.8309 | 174.3479 | 230.6848 | 206.3282 | 149.8133 | 160.2512 | 179.4265 | 160.9831 | 153.9138 | 144.9806 | 151.9852 | 165.337 | 163.3854 | 171.7433 | 172.1954 | 170.0461 | 175.1809 | 159.3899 | 181.8458 | 165.8089 | 265.3138 | 220.933 | 304.082 | 309.4254 | 170.2102 | 195.9275 | 193.4652 | 0 | 0 | 0 | 0 | 0
 | 277.7195 | 281.7254 | 261.906 | 291.8892 | 315.4816 | 299.283 | 300.6316 | 284.0383 | 289.3327 | 308.6691 | 271.7588 | 283.8474 | 309.662 | 305.0556 | 338.0319 | 341.1946 | 328.8129 | 337.892 | 321.4758 | 299.0391 | 324.0612 | 312.9558 | 313.6432 | 318.3516 | 325.3235 | 339.5418 | 341.8029 | 337.7295 | 340.7254 | 319.9731 | 339.9594 | 343.8527 | 271.6065 | 261.251 | 319.3837 | 295.1816 | 315.4107 | 292.2007 | 295.3453 | 306.772 | 309.4254 | 280.4831 | 321.1197 | 193.4652 | 0 | 0 | 0 | 0 | 0
-Average 256 MW Increase in PRC
-98th Percentile: 345 MW Increase or Less
-95th Percentile: 324 MW Increase or Less
Notes: No samples 17:40 and later

## Slide 12: Lowest PRC Intervals (<3,00MW) with RDF Increase
RDF Increase Impact on PRC Intervals < 3,000 MW |  | 
 | PRC (1% RDF) MW | PRC (2% RDF) MW
Average |  | 
All (HE15 - HE18) | 159 | 256
HE15 - HE16 | 157 | 260
HE17 - HE18 | 158 | 234
98th Percentile |  | 
All (HE15 - HE18) | 204 | 345
HE15 - HE16 | 202 | 335
HE17 - HE18 | 205 | 355
95th Percentile |  | 
All (HE15 - HE18) | 197 | 324
HE15 - HE16 | 194 | 324
HE17 - HE18 | 197 | 325

## Slide 13: ERCOT Temp –Weighted Weather zone temp – 4 Hour Block

## Slide 14: Ancillary Service Methodology Changes
  Using this analysis, ERCOT recommends procuring a additional 200 MW of RRS during HE 15 through HE 18 (4 hour block) when there is higher likelihood of RDF being less than 1 across all the weather zones for all hours within a block. (This assumes up to 200 MW of RRS adjustment for 1% RDF)
  This increases RRS procurement for HE 15 through HE 18 in July, and August of 2016

## Slide 15: Current Vs Proposed RRS

## Slide 16: Current Vs Proposed RRS

## Slide 17: Questions and Recommendations

## Slide 18: ERCOT Temperature – Weighted Average Temp of Weather zone

## Slide 19: ERCOT Temperature – Weighted Average Temp of Weather zone