## Slide 1
Annual UFLS Survey with TSP/DSP
March, 2016

## Slide 2: UFLS Survey Requirement
Each year ERCOT coordinates and conducts an annual survey with the TSPs and DSPs to ensure that the required automatic under-frequency load shed circuits are configured to provide the appropriate load relief in an under-frequency event as required by table below from Operating Guides 2.6.1(1) Requirements for Under-Frequency Load Shedding:
Operating Guide 2.6.1 (2) With the assistance of applicable Transmission Service Providers (TSPs), ERCOT will, prior to the peak each year, survey each Distribution Service Provider’s (DSP’s) compliance with the automatic Load shedding steps above, and report its findings to the Technical Advisory Committee (TAC). For minimum compliance, DSPs are obligated to meet the prescribed percent values at all times.

## Slide 3: Plans for the 2016 UFLS Survey Requirement
Below is a list of dates and activities reflecting the timeline and coordination of this survey:
03/24/2016 - ERCOT announcement of survey timeline and effort to OWG
04/01/2016 - ERCOT email notification sent by Client Services to TSP/DSP Authorized Representatives
05/12/2016 @ 11:00 AM- Date and time of the Survey
06/12/2016 - Survey results due back to ERCOT
July/September - Results compiled and being reported to OWG/ROS/TAC
For 2016, ERCOT requests the completion of both portions of spreadsheets, which requires DSP/TSP station-level data similar to surveys provided in 2013.