## Slide 1
Market Update
QSE Managers Working Group
Jeff Gilbertson
ERCOT Market Analysis
3/23/2016

## Slide 2: Supplemental Ancillary Services Market (SASM) Update
As shown in SASM Aggregate AS Offer reports, $0 MCPCs are set by Non-Controllable Load Resources

## Slide 3: SASM Timeline Proposal
Protocols require time between SASM Notification and beginning of first awarded hour to be >= 2 hours
X
X+30 min
X+35 min
X+45 min
X+60 min
Start of Awarded Hour
Notify Market
Determine AS amount?
Execute SASM
Award Notification
COP Updated
7:00
7:30
7:35
7:45
9:00
HE10
8:00 COP Deadline for HE10
15 min to update COP
1 hour 15 min to prepare Resource

## Slide 4: SASM Timeline Proposal
Proposed to decrease this requirement to >= 1.5 hours
No COP update, and minor timeline change
X
X+30 min
X+40 min
X+60 min
Start of Awarded Hour
Determine AS amount and Notify Market
Execute SASM
Award Notification
COP Updated
7:30
8:00
COP and AS Offer Deadline for HE10
8:10
9:00
HE10
50 min to prepare Resource