Date:	March 31, 2016

To:	Technical Advisory Committee (TAC) Representatives

From:	Amanda Frazier, Protocol Revision Subcommittee (PRS) Chair

Subject: Nodal Protocol Revision Requests (NPRRs) and System Change Requests (SCRs)

##### Issue: ##### Consideration of the following NPRRs recommended for approval by PRS: - NPRR741, Clarifications to TPE and EAL Credit Exposure Calculations [ERCOT] - NPRR744, RUC Trigger for the Reliability Deployment Price Adder and Alignment with RUC Settlement [ERCOT] - NPRR745, Change ERS Availability from an Hourly to 15-minute Interval Evaluation plus Other Minor Changes [ERCOT] - NPRR746, Adjustments Due to Negative Load [ERCOT] - NPRR748, Revisions associated with COM-002-4 and Other Clarifications Associated with Dispatch Instructions [ERCOT]

##### Background/History: Unless otherwise noted: (i) all Market Segments were present for each vote and (ii) ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision request and do not believe it requires changes to credit monitoring activity or the calculation of liability. Revision Requests Recommended for Approval - NPRR741, Clarifications to TPE and EAL Credit Exposure Calculations [ERCOT] Proposed Effective Date: May 1, 2016 (for clarification-only revisions); Upon system implementation - Priority 2016; Rank 1555 ERCOT Impact Analysis: Between $15k and $30k; no impacts to ERCOT staffing; impacts to Credit Monitoring and Management (CMM); no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR clarifies various credit formulas and revises the Minimum Current Exposure (MCE) formula to reduce the amount of collateral required to be posted by a Counter-Party when the Counter-Party is credit positive in the Day-Ahead Market (DAM). PRS Decision: On 2/11/16, PRS unanimously voted to recommend approval of NPRR741 as amended by the 1/20/16 Credit WG comments. On 3/10/16, PRS unanimously voted to endorse and forward to TAC the 2/11/16 PRS Report as amended by the 2/24/16 Reliant comments and the Revised Impact Analysis for NPRR741 with a recommended priority of 2016 and a rank of 1555. Credit WG Review: See 1/20/16 Credit WG comments - NPRR744, RUC Trigger for the Reliability Deployment Price Adder and Alignment with RUC Settlement [ERCOT] Proposed Effective Date: Upon system implementation - Priority 2016; Rank 1610 ERCOT Impact Analysis: Between $200k and $250k; no impacts to ERCOT staffing; impacts to Market Management System (MMS), Market Information System (MIS), Enterprise Information Services (EIS), Settlements and Billing (S&B), and Commercial Systems Integration (CSI); no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR proposes to use a telemetered snapshot at the start of each Reliability Unit Commitment (RUC) block as a trigger for the adder created by NPRR626, Reliability Deployment Price Adder. In support of this change to the Reliability Deployment Price Adder, this NPRR also changes the process for opting out of RUC Settlement, regardless of the timing of the notification of the RUC, which provides an alternative to the RUC Settlement opt out method approved in NPRR416, Creation of the RUC Resource Buyback Provision, as modified by NPRR679, ONOPTOUT for RUC Given After the Adjustment Period. Clarifications to the definition of RUC Buy-Back Hour are also included. PRS Decision: On 2/11/16, PRS voted to recommend approval of NPRR744 as submitted. There was one abstention from the Investor Owned Utility (IOU) Market Segment. On 3/10/16, PRS unanimously voted to endorse and forward to TAC the 2/11/16 PRS Report as amended by the 3/8/16 ERCOT comments and the Impact Analysis for NPRR744 with a recommended priority of 2016 and rank of 1610. - NPRR745, Change ERS Availability from an Hourly to 15-minute Interval Evaluation plus Other Minor Changes [ERCOT] Proposed Effective Date: Upon system implementation ERCOT Impact Analysis: Less than $10k (O&M); no impacts to ERCOT staffing; impacts to Emergency Response Service (ERS) System; ERCOT business processes will be updated; ERCOT grid operations and practices will be updated. Revision Description: This NPRR proposes numerous minor changes to ERS including changes to the Resource identification process, changes to outdated ERS nomenclature, changes to deadline for QSEs to submit notice of ERS Load unavailability deadline from five Business Days to three calendar days, changes to deadline for Qualified Scheduling Entities (QSEs) to revise planned maintenance or self-test schedules for ERS Generators from five Business Days to three calendar days, changes the testing exemption for an ERS Resource that successfully completes a test or meets its performance obligations during an ERS deployment event from 365 days to 330 days to provide ERCOT with flexibility to schedule and complete tests within a one year maximum time period, and specifies metering options for sites with Distributed Renewable Generation (DRG). PRS Decision: On 2/11/16, PRS voted to recommend approval of NPRR745 as amended by the 2/4/16 WMS comments. There was one opposing vote from the Independent Power Marketer (IPM) Market Segment. On 3/10/16, PRS voted to endorse and forward to TAC the 2/11/16 PRS Report and Impact Analysis for NPRR745. There was one opposing vote from the IPM Market Segment. - NPRR746, Adjustments Due to Negative Load [ERCOT] Proposed Effective Date: Upon system implementation - Priority 2016; Rank 1620 ERCOT Impact Analysis: Between $35k and $45k; no impacts to ERCOT staffing; impacts to S&B; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR proposes modifications to address certain undesirable outcomes that follow from assigning one or more QSEs a negative Load or negative Load Ratio Share (LRS). PRS Decision: On 2/11/16, PRS unanimously voted to recommend approval of NPRR746 as submitted. On 3/10/16, PRS unanimously voted to endorse and forward to TAC the 2/11/16 PRS Report and the Impact Analysis for NPRR746 with a recommended priority of 2016 and rank of 1620. - NPRR748, Revisions associated with COM-002-4 and Other Clarifications Associated with Dispatch Instructions [ERCOT] Proposed Effective Date: May 1, 2016 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR aligns with North American Electric Reliability Corporation (NERC) Standard COM-002-4, Operating Personnel Communications Protocols, and provides language clarification for Dispatch Instructions and procedures. PRS Decision: On 2/11/16, PRS voted to recommend approval of NPRR748 as amended by the 2/4/16 STEC comments. There was one opposing vote from the Independent Generator Market Segment. On 3/10/16, PRS unanimously voted to endorse and forward to TAC the 2/11/16 PRS Report and the Impact Analysis for NPRR748. Revision Requests Rejected None Revision Requests Withdrawn - NPRR711, Increase the Interval Data Recorder Meter Mandatory Install Requirement from 700 kW/kVA to 1.5 MW/MVA [IDR Meter Protocol Requirement Threshold Workshop] Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at the April 14, 2016 PRS Meeting - NPRR709, Revisions to Alternative Dispute Resolution Procedure [ERCOT] - NPRR752, Clarification of Revision Request Process [ERCOT] - SCR788, Addition of Integral ACE Feedback to GTBD Calculation [PDCWG] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - NPRR562, Subsynchronous Resonance [ERCOT] - NPRR638, Revisions to Certain Price Components of EAL [ERCOT] - NPRR667, Ancillary Service Redesign [ ERCOT] - NPRR685, Change Criteria for Resource Opportunity Outages [Calpine] - NPRR696, Price Correction Process Following a SCED Failure [Reliant] - NPRR697, Disclosure of Protected Information for Research and Coordination Purposes [ERCOT] - NPRR738, ERS Performance Calculations During TDSP Outages [MP2 Energy] - NPRR747, Revision of Voltage Control Requirements [ERCOT] - NPRR751, Clarifications for Distributed Generation Resources [Sun Power/GDF Suez] - NPRR753, Allow AMS Data Submittal Process for TDSP-Read Non-Modeled Generators [ERCOT] - NPRR754, Revise Load Distribution Factors Report Posting Frequency [ERCOT] - NPRR755, Agent-Only QSE Registration [ERCOT] - NPRR756, Enhanced Ancillary Services [Freeport LNG] - NPRR757, Distributed Generation Reporting Improvement [Shell] - SCR785, Update RTL calculation to include Real-Time Reserve Price Adder based components [ERCOT] New Revision Requests Scheduled for Consideration at the April 14, 2016 PRS Meeting - NPRR758, Improved Transparency for Outages Potentially Having a High Economic Impact [ERCOT] - NPRR759, Segmentation of the Total New Capacity Estimate in the ERCOT CDR [PLWG] - NPRR760, Calculation of Exposure Variables For Days With No Activity [DC Energy] - NPRR761, As-Built Clarification to NPRR515, Day-Ahead Market Self-Commitment of Generation Resources [ERCOT] - NPRR762, Removal of Language Related to Responsive Reserve Provided by DC Ties [ERCOT] - SCR789, Update NMMS Topology Processor to PSSE 34 Capability [ERCOT] - SCR790, Wind Resource Power Production and Forecast Transparency [DC Energy] These Revision Requests and supporting materials are posted on the ERCOT website at the following link: http://www.ercot.com/mktrules/issues/nprr http://www.ercot.com/mktrules/issues/scr