## Slide 1
Wholesale Market Subcommittee (WMS)
Jeremy Carpenter
2016 WMS Chair
Technical Advisory Committee (TAC) Meeting Report
ERCOT Public
MARCH 31ST, 2016 TAC MEETING
Notes: <number>

## Slide 2: Meeting Schedule
Last WMS meeting
  March 2nd, 2016
Next WMS meeting
  April 6th, 2016
MARCH 31ST, 2016 TAC MEETING
Notes: <number>

## Slide 3: WMS Votes
2016 SAWG Leadership
  Endorsed (Unanimously)
MARCH 31ST, 2016 TAC MEETING
Notes: <number>

## Slide 4: TAC Assignment Updates
High RT Price Event – 2/23
  Six active constraints affecting prices
  High regulation component affecting GTBD
    SCR 788 in process to better incorporate appropriate regulation feedback
High DAM RRS Price Event – 2/18
  RRS = $125/MWh
  Energy = $.40/MWh
  Lack of online resources offering RRS into DAM
    Optimization evaluates cost of starting additional resource versus purchasing from expensive resources
    Additional data will be presented at the April WMS meeting
MARCH 31ST, 2016 TAC MEETING

## Slide 5: TAC Assignment Updates (cont’d)
High SASM Frequency and Prices
  Majority of SASMs are due to Forced Outages
  High prices reflect a lack of SASM offers in RT
    Concern with leaving DAM offers active for SASM
    Education of QSE Operators as to timeline of notification and submitting offers
    ERCOT exploring changing submission timeline
  Participation in Reconfiguration SASM
    System changes done in the middle of last year to address issues with settlement
    Zero participation since the system change
    Education of QSE Operators needed about resolution of Initial system/settlement issues
MARCH 31ST, 2016 TAC MEETING