## Slide 1
<number>
Profiling Working Group
Update to COPS
April 5, 2016
Jim Lee (AEP) – Chair Sheri Wiegand (TXU) – Vice Chair
Notes: <number>

## Slide 2
NPRR & LPGRR Updates are Finalized!
<number>
Summary of NPRR changes:
Advanced Meters are included under Interval Data Recorders (IDRs), along with the IDR Meters, for which Load Profiles are developed.
Removal of language and references to:
  Load Profiles for Time of Use (TOU) Metering (no longer applicable.)
  Samples and Sampling Load research samples, sample maintenance, sampling responsibilities. (ERCOT has confirmed the sampling process, as defined currently, is no longer utilized for the maintenance of Load Profiles.)
Updating the following processes:
  Adjustments to Load Profile development
  Load Profile assignment
  Validation testing of Load Profile assignments
Clarity around IDR Meter mandatory installation requirements and optional removal eligibility
General organization and streamlining of content.

## Slide 3
<number>
Summary of LPGRR changes:
Updating and streamlining:
  Definitions & Acronyms
  Responsibilities of the Profiling Working Group
  Methodologies used to establish/review profile changes
  Changes to Load Profiling models
  Changes to accessing Load Profiling materials
  Evaluation and changes to Weather Zones
  Creating Load Profile IDs
  Changes to Annual Validation
  Requests for Load Profile segment changes
  kVA to kW conversion
  Standardizing DG Reporting within Appendix D, Load Profile Decision Tree (new report template/format & codifying instruction)
NPRR & LPGRR Updates are Finalized!

## Slide 4
<number>
New template for TDSPs:
Standard DG Report Revisions

## Slide 5
<number>
Standard DG Report Revisions

## Slide 6
<number>
Summary of LPGRR changes (cont’d):
2. Language regarding the following areas has been removed due to duplicity with the current Association of Edison Illuminating Companies (AEIC) Load Research Manual:
  Guidelines for the development of Load Profiles
  Procedures for comparing Load Profile Models to Load Research data
  Load Research Samples – no longer used for the maintenance of load samples
  Supplemental Load Profiling
  Appendix C – Measures for Assessing Differences between Load Profiles
3. Language regarding the following areas has been removed due to being no longer applicable in the current ERCOT market structure:
  Time-of-Use metering
  List-based Load Profile Segment requests
  Metering specifically used for Load Profiling purposes
NPRR & LPGRR Updates are Finalized!

## Slide 7
NPRR & LPGRR Drafts & Approval Timelines
<number>
NPRR, Section 18 | Happy path: 5/12: PRS for initial review 6/16: PRS for IA 6/30: TAC review 8/9: BOD review (9/1 effective date)
LPGRR, Comprehensive LPG Review | Happy path: 5/25: PWG for initial review 6/29: PWG for IA 7/13: COPS Initial & IA review 7/28: TAC review (8/1 effective date)

## Slide 8
<number>
COPS Voting Item: COPMGRR042

## Slide 9
Annual Validation Proposed Changes
<number>

## Slide 10
<number>
PWG held discussions to evaluate steps ERCOT can take for Compliance reporting related to data submittal requirements in Protocols.
Since annual activities such as Annual Validation and Weather Sensitivity Responsiveness are clearly written in Protocols, it was agreed that any violations would fall under the normal Protocol violation reporting process.
Protocol Compliance Reporting Decision

## Slide 11
<number>
Next PWG meeting date: May 25th , 9:30am start time (In-person METCenter)
***April 27th meeting cancelled***
Agenda items:
Develop “comparison” document for LPGRR & NPRR
http://www.ercot.com/committees/board/tac/cops/pwg/

## Slide 12
<number>