## Slide 1: PLWG Update to ROS
By
Charles DeWitt
March 7, 2016

## Slide 2: ROS Assignments
Review generation resources that are limited by transmission (resulting from similar efforts with Panhandle CREZ)
  An ERCOT presentation at the February PLWG meeting concluded:
      “At this time there is not a significant generation getaway issue in ERCOT so it may not be worth pursuing”
  PLWG members requested time to review material presented over the past two years.
  Some PLWG member think there is value in performing an annual study.
  PLWG will prepare a presentation for the May ROS meeting an request that the matter be considered closed.

## Slide 3: ROS Assignments
Review load scaling methodologies used in Planning Models/Recommendation to ROS re appropriateness of methodologies
  PGRR-042 filed by ERCOT in February 2015.
  PLWG tabled due to ongoing litigation in September 2015.
  PGRR remains tabled.

## Slide 4: ROS Assignments
Stability Issues Identified during FIS Process/Impact on Generic Transmission Constraints
  Collected input from PLWG Participants including:
    Possible changes to timeline needed.
    Can an FIS be used to move forward with system improvements needed to exit an SPS or GTC subject to a $ threshold?
    Can FIS study results be used to set operational limits?
    Should an operational study based on as-built parameters be required before bringing a new unit into service?
  Jeff Billo taking input and formulate approaches including:
    Changes to timeline

## Slide 5: ROS Assignments
SSWG case modeling of Generators with incomplete RARF
  ERCOT staff presented concepts
  Reviewing requirements of DWG and SPWG
  Maintaining case synchronization
    Data sufficient for SSWG may not be for DWG
  ERCOT staff working to present a Draft PGRR to PLWG

## Slide 6: PGRR-046 Addition of Geomagnetically Induced Current (GIC) Model Building Requirements
Reviewed PGRR
PGDTF Chair recommended PGRR be tabled pending comments
PLWG Tabled until next meeting.

## Slide 7: Other Items
Issues List – PLWG maintaining an issues list on main web page.
  Records activity
  Parking lot for issues identified during meetings
Impact of outages on congestion analysis
  ERCOT presentation
  Information only
  No action
NPRR-759 PLWG recommended CDR changes
  TIEC suggested change that would add another reserve margin calc.
  Rob Lane will bring possible solution to PLWG for possible comment.
Schedule conflicts may move April meeting to ½ day with RPG Meeting.