## Slide 1: OWG Update to ROS
S. Looney, Luminant
April 7, 2016

## Slide 2: NPRR and NOGRR Review
150NOGRR, Alignment with NPRR747, Revision of Voltage Control Requirements
  Presentation given to OWG by Stephen Solis in an effort to move this NOGRR along. Three options were presented and Option 2 seemed to be the favorite.
  Stephen is going to create a separate NPRR/NOGRR and bring back to OWG.
  Motion was tabled awaiting additional comments and the new Revision Requests.

## Slide 3: NPRR and NOGRR Review
152NOGRR, Restore Synchrony between Contingency Planning for Minimum Level of Responsive Reserve Service and Real Time Contingency Analysis
  This NOGRR was again discussed and had several opinions. ERCOT remains neutral and OWG did not reach a consensus to either endorse or reject the language. The decision was made to send to ROS.

## Slide 4: NPRR and NOGRR Review
153NOGRR, Maintenance of Duplicate EEA Language via Alignment NOGRR Process
On 3/24/16, OWG was in consensus to endorse and forward to ROS the 2/18/16 OWG Report and the Impact Analysis for NOGRR153.
154NOGRR, Alignment with NPRR755 and Requirements for ERCOT WAN Installation and Exchange of Resource-Specific XML Data On 3/24/16, OWG was in consensus to recommend approval of NOGRR154 as amended by the 3/14/16 ERCOT comments.

## Slide 5: NPRR and NOGRR Review
155NOGRR,Voltage Ride-Through Requirements Clarification.---On 3/24/16, ERCOT staff reviewed NOGRR155 and explained its purpose. Participants expressed the concern that, as currently worded, NOGRR155 is too prescriptive in certain areas and requested additional time to file comments. NOGRR155 was tabled for one month.

## Slide 6: NPRR and NOGRR Review
747NPRR Revision of Voltage Control Requirements –
  Refer to NOGRR150
  TSP concerns with timing and response to voltage instructions when directing to QSEs.
  QSEs concerned with compliance with VAR-002 standard requiring GOP to monitor voltage control.
  ERCOT was requested to review AEP comments.
  Request for opinion of TRE.
  Tabled by OWG.