| SCR Number | 790 | SCR Title | Wind Resource Power Production and Forecast Transparency |
| --- | --- | --- | --- |

| Date | April 8, 2016 |
| --- | --- |

| Submitter’s Information |  |
| --- | --- |
| Name | Sandip Sharma |
| E-mail Address | Sandip.Sharma@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-4298 |
| Cell Number | 817-371-7773 |
| Market Segment | Not applicable |

Comments

ERCOT reviewed the additional granular reporting requirement proposed by System Change Request (SCR) 790, Wind Resource Power Production and Forecast Transparency, and in principle agrees with the proposal.  However, ERCOT would like to provide a breakdown for each of the existing wind regions (North, South, West, Coast, and Panhandle), including the proposed breakdown of “West_North” into a standalone “West” Load Zone and a standalone “North” Load Zone. This breakdown should cover all the existing wind regions with Wind-powered Generation Resources (WGRs) and existing Load Zones with wind resources.

For a breakdown of the exact wind regions by county, see the link below to the July 9, 2015 ROS meeting page.

http://www.ercot.com/content/wcm/key_documents_lists/67021/05._ERCOT_Wind_and_Solar_Regions.pptx

Revised Cover Page Language

None

Revised Business Case for Proposed System Change

Issue:

Today the reporting of the wind power production and forecast is provided at the system-wide level along with additional aggregations for the South/Houston and North/West Load Zones.  As wind penetration continues to expand within the Texas Panhandle-area, it is increasingly important to have enhanced visibility into the production amount and forecast of wind power.  The proposed level of transparency would enhance Market Participants’ ability to assess wind power transfers and the related impact to market prices.

Resolution:

ERCOT will provide a break-down for each of the existing wind regions (North, South, West, Coast, and Panhandle) including the proposed break-down of “West_North” into standalone “West” Load Zone and standalone “North” Load Zone.  This break-down will cover all the existing wind regions with Wind Generation Resources (WGRs) and existing Load Zones with WGRs.