## Slide 1: Full Interconnection Study Initiatives (Draft)
PGRR_A, NPRR_A
PGRR_B
PGRR_C, NOGRR_C
Revise confidentiality provisions for FIS Studies
Require ERCOT to perform quarterly operational stability study
Revise Planning Guide Section 6.9 to address modeling issue with incomplete information
TSPs and IEs to resolve identified instability through generator control revisions if possible
If not possible require TSPs to implement transmission improvement if less than $X or SPS/RAS
Require ERCOT to develop GTC exit strategy
ERCOT to submit by end of May
Include all generation coming online in that quarter
ERCOT to submit by end of June
Add similar modeling requirement for Network Operations Model
Submission TBD
Define deadline cutoffs for data submission and study completion for new generation projects