## Slide 2: General Scaling Review Process
Project ready for final ERCOT review
Tier 1 Project?
Was scaling required?
Perform Source/Sink Study to determine participation on overloaded lines
Done
Is impact significant?
Is impact justifiable?
Add section to report explaining impact and reason for justification
Add section to report showing impact and assumption
Adjust scaling to balance out impacts and rerun study
No
Yes
Yes
No
Yes
Yes
No
No