| NOGRR Number | 149 | NOGRR Title | Revision to Definition of Transmission Operator |
| --- | --- | --- | --- |
| Date |  | April 26, 2016 |  |
| Decision Being Appealed |  | Reliability and Operations Subcommittee (ROS) Decision to Reject NOGRR149 - 3/3/16 ROS Report |  |
| Date of Decision |  | March 3, 2016 |  |
| Submitter’s Information |  |  |  |
| Name |  | Alan Bern on behalf of the Reliability and Operations Subcommittee (ROS) |  |
| E-mail Address |  | Alan.bern@oncor.com |  |
| Company |  | Oncor |  |
| Phone Number |  | 214-743-6839 |  |
| Cell Number |  | 972-345-5539 |  |
| Market Segment |  | Not applicable |  |

Appeal Position Statement

The Reliability and Operations Subcommittee (ROS) submits for review the following important points as the basis for its rejection of NOGRR149:

- Gerry Nunan with Schneider Engineering presented NOGRR149 to the Operations Working Group (OWG).  There was no consensus at OWG, and NOGRR 149 was presented for consideration at the March 3, 2016 ROS meeting.

- Gerry Nunan Requested ROS recommend approval of NOGRR149 at the March 3, 2016 ROS meeting.  The following issues were discussed:

  - Added 600 MW analysis after presentation to OWG,

  - ERCOT said 53 entities could be exempted, but only six don’t have designated TO.

- At the March 3, 2016 ROS meeting, a motion to reject NOGRR 149 carried (with four abstentions).

- Support for rejection of NOGRR149 was based on following issues:

  - Fairness related to Load shed (Adding higher percentages to existing TOs and exempting some customers from ever participating in manual Load shed events),

  - Market operations & emergency operations can be slippery slope when exempting based on size and costs,

  - Some self-serve entities are fairly large.  Questions and unknowns about inequities, rapid growth and future consequences.